## Nuclear Energy: Investments, New Technologies and the Future of the Sector

Styliani Gavrilou

The present dissertation was prepared for the purposes of the Master of Science in Energy: Strategy, Law and Economics Programme provided by the University of Piraeus

Words: 21.715

Supervising Professor: Athanasios Platias

The intellectual work fulfilled and submitted based on the delivered master thesis is exclusive property of mine personally. Appropriate credit has been given in this diploma thesis regarding any information and material included in it that have been derived from other sources. I am also fully aware that any misrepresentation in connection with this declaration may at any time result in immediate revocation of the degree title.

[Signature]

Table of Contents

Introduction

Background: Nuclear Energy

- Definition and SWOT Analysis

- History

- Accidents

- Public Perception & Scientific Outlook

- Current Deployment of Nuclear Power Plants; Designs, Aging and Construction

- Nuclear Powered Vessels

- Space Nuclear System (SNS)

Chapter 1: Technological Advancements

- Generation IV Reactors

- Collaborative Initiatives

- Fast Neutron Reactor (FNR)

- Sodium-Cooled Fast Reactor (SFR)

- Very-High-Temperature Reactor System (VHTR)

- Supercritical-Water-Cooled Reactor System (SCWR)

- Lead-Cooled Fast Reactor System (LFR)

- Gas-Cooled Fast Reactor System (GFR)

- Molten Salt Reactor System (MSR)

- Small Modular Reactors (SMRs)

- Microreactors

- Nuclear Fusion

Chapter 2: Investments in Nuclear

- Historical Overview of Investments through Case Studies

- Financing Nuclear Projects

- Current Investments in Nuclear Technologies

- Risks and Rewards of Nuclear Investments

Chapter 3: The Future of Nuclear Energy

- Policies & Global Energy Strategies

- Challenges

- Resurgence or Decline?

Conclusive Remarks

Glossary of abbreviations

ABWR	Advanced Boiling Water Reactor

AGR		Advanced Gas-cooled Reactor

BWR		Boiling Water Reactor

CANDU	Canada Deuterium Uranium

EPR		European Pressurized Water Reactor

ESBWR	Economic Simplified Boiling Water Reactor

FBR		Fast Breeder Reactor

FNR		Fast Neutron Reactor

FR		Fast Reactor

GFR		Gas-Cooled Fast Reactor

GIF		Generation IV International Forum

GNEP		Global Nuclear Energy Partnership

HLM		Heavy Liquid Metal

HLW		High-Level Waste

HWR		Heavy Water Reactor

IAEA		International Atomic Energy Agency

IFNEC		International Framework for Nuclear Energy Cooperation

INPRO	International Project on Innovative Nuclear Reactors and Fuel Cycles

iPWR		integral Pressurized Water Reactor

LFR		Lead-Cooled Fast Reactor

LMFBR	Liquid Metal Fast Breeder Reactor

LOCA		Loss-of-coolant Accident

LWR		Light Water Reactor

MOSART	Molten Salt Actinide Recycler and Transmuter

MSFR		Molten Salt Fast Reactor

MSR		Molten Salt Reactor

NB 		Nuclear Battery

NEA		Nuclear Energy Agency

NPP		Nuclear Power Plant

PHWR		Pressurized Heavy Water Reactor

PWR		Pressurized Water Reactor

RBMK		Реактор Болъшой Мощности Каналъный (High Power Channel-type Reactor)

RHU		Radioisotope Heat Unit

ROT		Reactor Outlet Temperatures

RPS		Radioisotope Power System

RTG		Radioisotope Thermoelectric Generator

R&D		Research and Development

SCW		Supercritical Water

SCWR		Supercritical-Water-Cooled Reactor

SFR		Sodium-Cooled Fast Reactor

SMR		Small Modular Reactor

SNS		Space Nuclear System

SWOT		Strengths, Weaknesses, Opportunities, Threats

UNOOSA	United Nations Office for Outer Space Affairs

VHTR		Very-High-Temperature Reactor

Introduction

Humanity, faced with an unavoidable climate crisis and the inevitable “ending” of the fossil fuel age, as proclaimed by world leaders following the conclusion of the 28th United Nations Climate Change Conference (hereinafter referred to as COP28) held in Dubai, has to swiftly and effectively address its past and current activities. Pursuant to the Anthropocene-centred theory, said human actions have set a “catastrophic” climate change in motion through the emission of excessive quantities of anthropogenic carbon dioxide to the atmosphere. International agreements, national commitments and political pledges to manage the environmental degradation and prevent increases of the planetary temperatures entail enforcing changes to both the ecologically questionable practices of the industrial sector as well as individual habits; establishing principles of sustainable development and growth, adopting practices of ecological economic expansion, turning to alternate energy sources to stabilize the carbon dioxide that has concentrated in the atmosphere and minimizing future emissions to correspond to the rate of absorption of the “natural sinks”.

Energy, due to its significance in international relations and State wealth, constitutes a key factor to global economic growth. Considering energy dependence has also been linked to a State’s national security vulnerability, elevating energy from a common tradable good to a possible strategic asset would not be an unreasonable remark. Thus, in order for nations to decrease external supply disruptions and ensure stable and secure energy supply, sufficient to satisfy domestic needs of consumption, current national energy policies gravitate towards the diversification of available energy resources. Renewable energy sources, in particular, are standing at the forefront of the energy transition with many countries serving as examples of successful application of geothermal, wind, hydraulic, biomass and solar power. Cost-effectiveness, abundance of supply and sustainable footprint are just some of the characteristics related to renewables, nonetheless the often disregarded limitations, such as the concern on their ability to satisfy global energy demands, the lack of efficiency in the conversion process and their vulnerability to world climate patterns setting an trend of unstable, disruptive inputs to the grid, categorizes renewable sources as a questionable panacea in relation to their reliability to cover the mounting global energy needs sufficiently.

Completing the assembly of primary energy sources, with the exception of fossil fuels (coal, oil and gas), nuclear energy, an independent, carbon dioxide neutral form of power, provides stable input to the grid created through fission reactions, essentially exploiting the properties of the nucleus. Opinions vary greatly on the matter of the nuclear power’s contribution to climate change, as opposing the individuals claiming the technology’s future potential stand the ones who promulgate an impending phase-out. Considering the relatively recent decision of the European Commission to include nuclear power plants in the “list of environmentally sustainable economic activities” and the “greenwashing” accusations, the declaration of many nations in COP28 to expand their nuclear capacity in order to correspond to their decarbonisation goals lacks the element of surprise. Additionally, the expectations attached to technological breakthroughs in the nuclear industry, such as Small Modular Reactors (SMRs) and nuclear fusion, have painted a promising future for nuclear power, where its most alarming setbacks, like the cost, safety concerns and fission by-products, do not constitute a hindrance to the commission of new nuclear projects.

The present paper conforms to three thematic polestars. These structural pillars serve as an Atlas, framing the subsections and simultaneously operating as standalones, they aim to explore the trends associated with developed nuclear technologies that have already entered or have yet to enter the stage of mass production and utilization. The investments connected to the nuclear sector will also be discussed with a clear distinction as to the past and present financing models adopted by States, the origin of said funds, the current investment trends in nuclear technologies along with the risks and rewards associated to investments in the sector. Lastly, taking all the aforementioned findings into consideration, the future of the nuclear industry will be addressed with a clear focus on the nuclear energy policies and strategies of State actors, the ever-present challenges that hinder deployment and the contemporary scenarios of renaissance and sunsetting of nuclear power. An analysis which strives to answer the question of whether governments uphold their passive disposition or are less ambivalent towards nuclear, whether the public’s perception of nuclear energy is indeed catalytic to capacity increase and how shifting global dynamics, technological advancements and environmental concerns influence the future trajectory of the nuclear power generation industry.

Nuclear Energy

Definition and Swot Analysis

Nuclear energy is one of the by-products of the process correlated to nuclear reactors. A nuclear power plant operates as a heat producer, which through a “controlled” fission chain reaction, to wit the dichotomy of atoms in the reactor’s core, energy is released in the form of heat (thermal power). The conversion of thermal power to electricity, similarly to the energy process associated with coal-fired power plants, is achieved by the utilization of turbines, which circulate following the generation of steam, when the heat of the reactor is transferred to the plant’s coolant.

The nuclear fission process, which is, as already mentioned, essential for the generation of thermal energy in the reactor’s core, involves the separation of a heavy atomic nucleus into lighter fragments. The kinetic energy gained by the fission fragments through the split is converted to thermal energy, which relocates to the surrounding medium. The energy released if compared to the energy produced by a chemical reaction is overwhelming, considering that the emission of the same amount of energy to fossil fuel combustion processes requires the input of a mere fragment of fuel volume in a nuclear fission system.

As to the fuel enclosed in the reactor’s core, the process leading to its use in the nuclear power plant as well as the strategies referring to the spent fuel’s management, storage, reprocessing and/or disposal are comprehensively referenced to as the steps of the nuclear fuel cycle. The front-end of the cycle typically includes all the necessary uranium preparation processes, which can be summarized for each distinct procedure as mining, milling, enrichment and fuel fabrication. The back-end of the nuclear fuel cycle concerns the management of the used nuclear fuel that has been extracted from the core of the reactor. There are two global strategies as to the handling of spent fuel; the open cycle, which acknowledges used nuclear fuel as waste, and the closed cycle, which opts for reprocessing.

In order to place nuclear energy in the global power arena and develop an erudite perspective on the industry’s dynamic regarding benefits and drawbacks, the employment of a tool commonly deployed by businesses for strategic planning, the SWOT matrix, could provide insight on the Strengths, Weaknesses, Opportunities and Threats associated with the nuclear power sector. Specifically, strengths and weaknesses depict internal aspects of an organization either tangible or nonphysical; strengths correspond to assets, while weaknesses have a negative connotation and typically address hindrances of the company’s regular operations. Opportunities and threats, on the other hand, describe external forces related to the marketplace, with opportunities being features facilitating a business’ prosperity and threats acting as foreign inhibitors of operations.

As the present SWOT analysis does not refer to a specific nuclear energy installation, but rather solely focuses on the process of electricity output by civil nuclear reactors, any factors concerning the site, reactor design and generation, host country, national environmental and energy policies and regulations, domestic nuclear legislation, market competition, company capital, reputation and clientele are excluded and not taken into consideration.

Among the strengths of nuclear energy generation the following must not be excluded; the absence of greenhouse gas emissions during operations, the continuous, stable and uninterrupted supply to the grid, the low fuel volume combined with high energy output performance, the assurance of energy security for a percentage of the consumption of the host country, the independence from other power resources, the option of spent fuel reprocessing technologies and uranium and plutonium recycling,  the relatively small levels of generated waste material boosted by the industry’s strategic application of principles for disposable waste minimization, the nuclear wastes’ constant radioactivity decreases due to decay, the systems and regimes in place corresponding to emergency preparedness and response in case of an incident, the nuclear safety culture promoting passive safety measures, the low mortality levels compared to other sources of power generation, the sustained stability and effective governance of the crucial uranium producers, the modest operational costs, the precaution culture of the sector, the low probability of incidents and minimal accident rate, the compulsory insurance and strict liability regime based on international treaties, the limited land acquisition compared to renewable technologies, the feasibility of life extension addendums to weathered reactors and the adaptability of this established technology on a substantial scale which enables the production of vast quantities of electricity and uranium’s characteristic as a prolific raw mineral within the earth’s crust.

The weaknesses, on the other hand, are mostly related to the extended construction periods typically accompanied by delays, the exorbitant capital investments for infrastructure erection and decommissioning, the uranium mining emissions and energy consumptive refinement, the technical complexity of the installations, the hazardous radioactive waste, the extensive damage caused by a singular nuclear disaster, the minor mistakes leading to serious incidents, the prolonged duration of the investment, the expertise of the labour force and the thermal pollution of water sources.

Opportunities are mostly identified in the governmental resolutions of several States to expand their nuclear capacity or diversify their energy sources through the construction of nuclear power installations, the current energy transition era accompanied by international and national policies and pledges to phase out hydrocarbons, the development and acceptance of deep geological repositories as a safe form of radioactive waste disposal, the mounting energy demand around the globe and the international initiatives addressing the role of nuclear power as a future clean power system. Finally, threats primarily include the security risks, the negative public perception towards nuclear applications, the complex bureaucratic licensing processes, the global fiscal constraints, the social prevail of perceived knowledge and the proliferation dangers.

History

The introduction of nuclear science and technologies to the global arena was stained by fear. Panic over the exploitation of the atom’s enigma by Adolf Hitler’s fascistic military agenda led to fervent actions that could serve as a “counter-threat” project, initially designed to dissuade Nazi Germany from pursuing “the bomb”. On December of 1942 self-sustaining nuclear chain reaction was successfully attained via the inaugural nuclear experiment, formally acknowledged as the Chicago Pile-1 (CP-1), which led to the formation of the Manhattan Project. American industry’s swift solution to the enrichment of uranium and plutonium resulted in, less than three years from the assembly of Oppenheimer’s scientific team at Los Alamos, to the detonation of two atomic bombs; “Little Boy” in Hiroshima on August 6th 1945 and “Fat Man” over Nagasaki a mere three days later.

Considering that the 1950s decade was marked as a period of fervid research and vigorous development in the nuclear energy field, a landmark of its importance, notwithstanding the catastrophic events of Japan’s bombing, remains the famous speech “Atoms for Peace” delivered before the United Nations General Assembly by U.S. President Dwight D. Eisenhower.  Still recovering from the effects of the world’s first atomic explosions, the alarming rise in atomic weapon manufacture by many powerful States and its imminent development by other nations fuelled the oration of the U.S. president which in turn welcomed a transition for atomic science and introduced the idea for the genesis of an international independent organization focused on nuclear technology and its applications (the International Atomic Energy Agency). The herald of the IAEA’s establishment was intrinsically integrated to the security threats’ mitigation and the benefit harvesting endeavour of a cooperation agenda relating to nuclear energy technologies.

Even though the development progression from military centred functions to commercial power generation was stalled by the Cold War and arms race, to wit periods escorted by nuclear weapon testing, the U.S. impetus effectively highlighted the energy related concerns of the early 1950s. The first nuclear reactor that successfully generated electricity was the small Experimental Breeder Reactor I in Idaho’s Argonne National Laboratory. That 1951 breakthrough of the United States was followed by the first domestic market launch for nuclear in 1964. Despite its apparent cost and construction hurdles in the U.S. in the latter part of the 1960s decade, nuclear power was also adopted commercially during the following years by France, Germany, Russia and the United Kingdom, with the Soviet RBMK being the first commercially designed plant to be connected to the grid in 1954.

Rapid escalation of development, however, occurred much later, during the 1970s, when the cumulative amount of nuclear power plants quadrupled within 15 years. Historical events demonstrate that in 1973-when consolidated global energy strategies faced the first oil crisis, as a result of an Arab oil embargo- and the years that followed, multinational corporations were globally trading nuclear technologies, nuclear power consumptions patterns accelerated, the U.S. reached its highest point in nuclear power plant orders, the U.S. domestic electricity share accounted to nuclear reactors noted a 16 percent increase with a simultaneous drop in oil shares, France’s nuclear power capacity experienced an unprecedented growth with other European nations emulating the former State’s pattern, while collectively Japan, Europe and the United States of America endeavoured to diversify their energy supplies through the partial substitution of petroleum in their energy mix by nuclear power.

During the last part of the 1970s decade, despite the launch of numerous nuclear power programmes in several countries across that ten-year cycle, the incapacitation of the optimism that had characterized nuclear in the previous decades, the promises it had yet to deliver, the Three Mile Island accident, the genesis of global environmentalism, the discovery of natural gas in the North Sea, the dissemination of neoliberal ideas, the Iranian revolution which triggered the second oil crisis, the OECD countries’ strategy of coal consumption as an answer to the petroleum disruptions and mounting proliferation concerns, among other factors, were already contributing to a nuclear deceleration.

That stagnation filtered into the next decade, which indicated the lack of fresh orders for installations and the cancellation of several projects around the globe. Coupled with the public’s opposition to nuclear reactors which, following the Chernobyl accident, imitated the trends of the 1950s, despite the efforts of national governments to either curtail to the social consciousness the extent of the repercussions or refrain from adopting assertive corrective measures, the late 1980s were burdened with the onset of a follow-up shock wave for the nuclear industry, from which a reversal to reactor start-up sequence did not transpire.

The early 1990s faced a consumption decline, while the universal direction with regard to nuclear power could be summarized through the observation of the decommissioning decision for an unemployed, functional and expensive civil nuclear reactor, the Shoreham power plant in New York. Despite the engineering modifications that substantially lowered the risk of severe accidents during regular operational procedures and enhanced plant performance, the marketplace for nuclear reactors, previously dominating the industrialized West, shifted towards Asia. The extent of nuclear power deceleration was also witnessed through the minimal capacity growth recorded until the early 2000s.

Be that as it may, nuclear power’s saving grace during the 1990s and 2000s was exposed by the environmental trepidations associated with fossil fuel combustion and the volatility in the pricing of hydrocarbons. Simultaneously, just before the dawn of the 21st century, the initiation of the Generation IV nuclear reactors’ program was announced by the United States Department of Energy as a response to sustainability, safety and economic concerns relating to nuclear power. Until 2010, many countries, even among the developed world, had expressed intentions of adopting nuclear power initiatives or expanding their nuclear power capacity, with Finland being the first European country to commission a new plant sited at Olkiluoto.

The following decade, while the world, with the inclusion of the nuclear industry, was struggling to recover from the shockwave of the 2008 economic crisis, the 2011 accident in 4 units of the Fukushima Daiichi nuclear power plant, triggered by the earthquake-bred tsunami that hit the eastern coastal area of Japan, ravaged public acceptance of nuclear power, disrupted the Japanese energy mix, greatly influenced public perception on nuclear energy’s safety and prompted several States to reconsider the termination of their nuclear programs, with a limited number, however, resolving to “pulling the plug”.

Despite the Fukushima Daiichi disaster, the next years do not evince large-scale plans for decommissioning, as numerically by 2015 the construction of seventy reactors was underway, while two years later the comprehensive amount of operational nuclear plants was calculated to 449 with the ones under construction being almost as many as two years earlier. By the end of the decade, Asia, namely China and South Korea, were leading the industry’s development of new projects. Whereas, on European grounds, the execution of the Paris Agreement and the subsequent legal and environmental necessity for greenhouse gas emissions reduction had forced countries that had previously elected to the phasing out of nuclear power to alter their domestic energy strategies.

The early 2020s indicate similar ambitions; legally binding obligations combined with energy security considerations promote investments in nuclear builds.  In the European energy arena, as it was construed in 2023, thirteen of the E.U. Member States remained hosts of civil nuclear power reactors.  Regardless of the fact that global energy strategies have changed significantly over a small timeline due to the energy crisis and the decarbonisation efforts, the low production cost of operational reactors and the economic rate of decommissioning, European nations’ advocacy over nuclear energy stands ambiguous. Nevertheless, both low and high case scenarios for global nuclear capacity projections in the next decades show increases compared to growth estimations quantified in previous reviews.

Accidents

Nuclear accidents, despite the impression imprinted to the social perception, have been utilized by the industry as guides to improve safety, enhance designs, eliminate risks, update regulation, develop best practices and optimize emergency response systems and measures. The probability of occurrence of a nuclear incident varies across literature assessments. In 1990 the IAEA in cooperation with the Nuclear Energy Agency of the OECD established the INES (International Nuclear and Radiological Event Scale). INES rates events, excluding military applications, associated with radiation sources and non-intentional releases, with a supplementary outlook to collapses of safety measures. The seven tier classification suggests the impactful significance of the incident to the public, the environment, the radiation and control measures at place as well as the “defence in depth” principle. Major and serious nuclear accidents are reserved for levels seven and six respectively, with Chernobyl (level 7), Fukushima Daiichi (level 7) and Mayak (level 6) being the ones with the highest ranking. In the following paragraphs the Three Mile Island and Windscale accidents will be, also, examined as they constitute the only other events categorized in a level greater that incidents of the fourth tier.

The first incidents in nuclear facilities to raise concerns of radioactive contamination of the surrounding environment occurred during 1957. The chronological leader, the “Kyshtym Accident”, was the product of a cooling system failure, which resulted in the explosion, due to radioactive decay, of metal tank numbered fourteen located in the long-term storage facility of radioactive waste at the Mayak Production Association nuclear complex in Siberia. The facility was burdened with the production of tritium, plutonium and plutonium warhead components as well as the fabrication of highly enriched uranium. The accident of September 29th 1957 was not officially disclosed by the Soviet Union until 1989. The report provided to the IAEA that year claimed that the levels of environmental contamination due to radiation were so severe that evacuation of populations within a 105 kilometre radius was required in the two weeks following the chemical explosion. Even though the accident was granted level 6 in the INES, later studies and reports claim that the event should be included in the tier reserved for Chernobyl and Fukushima Daiichi.

The second accident of 1957 transpired in Sellafield, at the Cumbrian Coast of Britain, just a few days later on October 10th. The Windscale Works facility’s activities centred on the production of plutonium. The fire that broke out in the pile No. 1, of the two Windscale “Piles”, during the process of a controlled Wigner energy release from the core was the result of excessive heat. After several attempts to decrease temperature, the flames were contained but not extinguished, which led to the application of great volumes of water at the core of the overheated reactor. The radioactive emissions of the pyre surpassed the southern part of Great Britain reaching Belgium, then Frankfurt and a few days later Norway, with concentrations of depositions being higher in England. While external radiation hazards were excluded, rendering evacuation processes redundant, assessments of lactose samples in approximate areas indicated a significant level of radioactivity in milk, which resulted in milk consumption restrictions and the disposal of three million litres of the same liquid originating from a surrounding 500 km2 zone.

The Three Mile Island crisis, on the other hand, occurred 22 years later, over five thousand kilometres to the West. In central Pennsylvania the accident, that is perceived to have sealed the fate of nuclear power in the U.S., concerned the second unit (TMI-2) of a two Pressurized Water Reactor plant. Due to the unintentional insertion of water in the instrument air system, the pumps allocating water closed down due to lack of pressure, subsequently to the shutting down of the valves cleansing water. The main turbine stopped working and the emergency backup pumps feeding water into the system started operating. However, owing to routine maintenance labour during the previous days, the valves of the emergency pumps had been shut down and not reinstated. As a result to the feedwater interruption, the primary system’s efficient heat removal operation dwindled, which led to an increase in pressure. Automatic protection measures were activated, the control rods descended into the reactor core ceasing the operation of the reactor. Despite the elimination of further heat emergence through operation, fuel decay continued to raise the core’s temperature. A pressure relief valve unlatched, allowing the steam to escape, but upon decrease of the pressure the system failed to close said valve and alert the operators. The enclosed water in the reactor evaporated completely leading to the partial melting of the core. Due to the chemical reaction of zirconium and water, a common fusion during reactor heat spikes, hydrogen gas emerged. The gas collected in the upper regions of the reactor, resulting in the formation of a hydrogen bubble. A hydrogen explosion led to the release of radioactive gases into the reactor building which were then ventilated to the air outside the building through the exhaust system. Serendipitously, solely noble gases escaped the filter equipped emissions control system.

No fatalities or injuries were recorded among the labour force and the local civilians. The release of radioactivity to the environment was nominal, with the noble gases xenon and iodine being the main radionuclides emitted to the atmosphere via the exhaust system. Radiation doses to the people residing within proximity to the plant site were also negligible. Despite those facts, poor assessment of the risk, led to an evacuation recommendation for immediate communities, which in turn impelled tens of thousands of individuals in the vicinity to abandon their homes.

As an accident that required over a decade to eliminate contamination with a tallied clean-up value of a billion dollars, the Three Mile Island incident faced scepticism since, even though the lack of severance of the accident was accepted by experts, the error sequence was unjustifiable considering the expected magnitude of the hazard and subsequent damage. Conflicting signals were even exchanged as to the evacuation necessity of populations near the plant, given that just 48 hours from the initial oversight, inconsistency in communication had firstly encouraged the Pennsylvania Emergency Management Agency to follow evacuation proceedings, a recommendation which was later relinquished through another discourse that rejected the activation of such protective measures. Subsequently, the overall credibility of the TMI operator suffered significantly due to the inadequate management of the accident.

Seven years later, on April 26th, in Eastern Europe, on the north-western part of Ukraine, 20 kilometres south of the Belarus border the Chernobyl Nuclear Power Plant, which consisted of four pressurized water reactors, carries the weight of being the site of the most horrific industrial accident of the 20th century, with the most widespread impact. The second nuclear incident within the transcontinental entity of the Soviet Union was initiated through an experiment on a reactor that had been completed just 3 years prior, reactor number four, aiming to examine the safety of the reactor during a power outage in the plant’s main electricity supply. Despite the operator’s attempt to shut down the reactor before reaching a critical state, the reactor’s instability could not be eschewed. An uncontrolled increase in power levels (nuclear excursion) caused by the insertion of the control rods in the reactor led to the vaporization of the reactors water coolant. The power surge escalated, which combined with fuel fragmentation and pressure rise, impelled the chain reaction that ultimately triggered a series of steam explosions that devastated both the facility building and the reactor, including the latter’s lid. Several fires were initiated, the first of which were under control by nightfall.  Even so, the combustive inferno that surged due to the graphite and fuel incandescence prevailed for 10 days unleashing significant amounts of various radionuclides to the environment. In aggregate, the explosions precipitated the emission of 50 million curies of radiation.

The explosions released considerable amount of irradiated material, with approximately 25 percent of the fissionable substances being released into the atmosphere during the first 24 hours. Two people employed in the nuclear station were also among the casualties of the explosions. Substantial information, addressing a serious radiological hazard, was provided to the general public of the former U.S.S.R. almost 48 hours following the explosions and subsequent efforts of civilian evacuations in the immediate town of Pripyat and the communities adjacent to the plant were carried out. The combined total of the evacuees was estimated to approximately 130,000 people. Nevertheless, nuclear debris in the form of plume had already been discovered in Sweden and Finland. Specifically, even though ground contamination was heavily concentrated in Ukraine, Belarus and the Western U.S.S.R., ground deposition of radionuclides expanded, in lower levels, to Europe by virtue of the dominant weather patterns. As a result of the accident, the food supply chain, namely milk and water, was contaminated with radioiodines, which induced restrictions on the distribution of locally sourced rations, but not quickly enough to prevent substantial harm. It should be noted that the accident’s long term effects are also of significance, such as the upsurge in pediatric thyroid cancer in Ukraine and Belarus due to the iodine-131 releases or the discharge of plutonium-239, the tenacious presence of which in the environment is justified by its half-life of 24.000 years. As to the fatality rate of the nuclear incident, 32 deaths of facility employees and fire-fighters were recorded directly as a result and during the efforts to contain the disaster, while 143 persons were inflicted with acute radiation syndrome with 31 of those dying in the months that followed.

The Chernobyl nuclear accident was an amalgamation of human errors, with six violations of safety protocols being reported by the Soviet Union, and design malfunctions certainly contributing to the tragedy. Experts have also claimed that the Soviet operators were “in over their head” as to the physics of a nuclear reactor. The criticism extends to the absence of a regulatory framework, the evasiveness, prevarication and procrastination of the former U.S.S.R. concerning the efficient communication of the incident to the global community, the unsound nature of the performed safety test, the contradictions and blaming illustrated by the reports that followed, the absence of radiation counters and specifically a concrete enclosure around the reactor to contain radiation leaks, the lack of emergency preparedness of the nuclear industry and the enduring silence of the leaders of the Soviet Union. The accident itself has not only been the subject of reports, articles and studies of its time, but also of documentaries, movies, interviews, memoirs, investigations and novels created during the years that followed, marking the tragedy at the Chernobyl Power Complex as a “contemporary scare story”, the impact of which is particularly pronounced within the realm of mental health.

The most recent accident in the history of the nuclear industry occurred more than a decade ago instigated by a sea agitation approximately 80 kilometres east of Japan in the Pacific Ocean. The 9.0 magnitude underwater earthquake (Tōhoku Earthquake) of March 11th 2011, one of the most sizable globally since the 1900s, initiated a colossal tsunami that wreaked havoc along the coast line and claimed the lives of 15.854 individuals.  At 15:38 hours the tsunami hit the Fukushima Daiichi Nuclear Power Plant at a 14-meter height overpowering the coastal defences of the power facility. Only three of the six units of the facility were operational at the time and as soon as the earthquake reached the site the reactors were automatically deactivated through the insertion of control rods to the core.

The imperative issue, however, concentrated on cooling the reactors through the main cooling systems, a process that could not be completed due to the destruction of the diesel generators by the tsunami. The battery apparatus in every reactor that was installed as an electrical supply substitute during a potential station blackout, was damaged in all three units with 1 and 2 failing instantly, while 3 remained operational for thirty hours. During the following three days, coolant capability was lost, due to the battery loss combined with pump failure, thus rendering the heat of the fission products’ radioactive decay uncontrollable, which subsequently caused a partial meltdown of the fuel assemblies and damage of the core material. As a desperate attempt to provide cooling portable diesel generators were engaged to fuel the emergency gear. Through the pumping of seawater infused with boron, to act as a neutron moderator, the submergence of the fuel rods was undertaken to decrease temperature, despite the plausible corrosion and function concerns. Similarly to other incidents analysed above, through the chemical reaction between zirconium and H2O, great amounts of flammable hydrogen gas (oxy-hydrogen) were formed that, after the fourth daybreak of the tsunami, triggered three explosions in installations 1, 3 and 4, leading to damages in the reactors’ buildings.

Radiation was initially released in great amounts even prior to the oxy-hydrogen explosions, as the pressure in the main vessel, created through the steam of the evaporated coolant, produced leakage slots. Leading up to the radiation and radioactive material releases in the environment by virtue of the explosions in the three units, even the attempt of pressure relief via venting by the facility staff of the primary canisters resulted in intentional emission of radiation. The emanations elicited by fuel melting contained radioactive isotopes, krypton and xenon, along with the chemical elements of caesium, iodine and tellurium. Nevertheless, the predominant portion of the released radionuclides, approximately 80 percent, was distributed across the Pacific Ocean. According to TEPCO’s report 100,000 tons of water were significantly contaminated, a volume of which was unintentionally discharged to the Pacific during the early phases of the accident. Concentrations of caesium-137 and iodine-131, that exceeded the limitation values and peaked in the days following the accident, were detected in food supplies in regions proximate to Fukushima, but also Tokyo, leading to restrictions in consumption. Including on-site staff, over 200.000 individuals, within a 20 kilometre radius, were displaced due to the disaster in the plant.

The events in Japan’s Fukushima Daiichi Power plant promoted a substantive investigation on a global level regarding the safety of nuclear plants to external forces, with the discoveries ascertaining the susceptibility of several nuclear reactors to exogenous occurrences, to wit threats.  The crisis also highlighted the potential problems of constructing nuclear reactors in such close proximity. Similarly to the Chernobyl disaster, the events that transpired during the nuclear crisis in Fukushima induced an erroneous perception of risk that escalated to a pressing societal issue, with psychological and mental complications to the people that experienced radiation exposure. It should be noted that relocation-driven anxiety was the catalyst for the death of more than 2.000 individuals, while the evacuation processes led to casualties among the infirm and elderly population. Another parallel between the two nuclear calamities lies in an ostensible case of “hubris”, which in the Fukushima emergency manifested in the prior decision of the Japanese Nuclear Regulatory Commission to omit the possibility of a Station Blackout. The contrast to the Chernobyl tragedy, on the other hand, exists in the low levels of radiation exposure among the populous, the swift and effective response to food contamination, the lack of casualties recorded due to acute radiation syndrome, the inferiority of the environmental impact and contamination, the smaller number of affected civilians, the absence of immediate exposure of the reactor core to the atmosphere and the enhanced dissemination of public safety information.

Public Perception & Scientific Outlook

The scope of the energy transition era currently underway is a comprehensive overhaul of the energy system. The attainment, however, of public approval is imperative for the effective integration of energy technologies within society, as subdued endorsement could constitute an impediment or even a permanent standstill for an energy program. Based on this ascertainment, the concept of energy transition extends to the realm of societal perceptions and individual behaviours on energy matters, rather than encompassing solely the technological and economic metamorphosis. After all, public discourse’s paramount importance exists in its service as a platform for the articulation of interests, demands, values and necessities of diverse social entities. Despite the frequently notable disparity between expert scientific evaluations and public perceptions, a bridge that as proven by several studies cannot be traversed through education, public opinion is far from ignorant or irrational. Acknowledgement of the fact that attitudes toward energy systems vary tremendously among States is also significant, along with the comprehension of the exhibition of distinct patterns contingent upon the energy source and its respective applications.

With regard to the topic of nuclear technology, its deployment faces unfavourable public perception even in markets where great penetration has been achieved. Notwithstanding the rebound and subsequent growth in nuclear support experienced during the decades of 1990 and 2000, nuclear power has consistently faced societal wrath following a major nuclear accident, as the public trend of risk overestimation is intrinsically linked to atomic power. Even protests were incorporated in the anti-nuclear portfolio following the accident at the Fukushima Daiichi Power Plant in 2011, which also promoted the frequent conduction of public opinion polls on nuclear energy production. Most importantly, however, the events in Japan laid the foundation for an unprecedented global fettle of mass panic regarding the implications of a prospective nuclear emergency.

The determinants impacting the societal embrace of nuclear power have been the subject of several analyses. Among the “superficial psychological factors”, the perceived advantages and risks of atomic energy utilization straightforwardly affect the degree of its social acceptance. Those include in the perceived benefits arena; the reduction of power costs and greenhouse gas emissions as well as the promotion of economic growth and prosperity in local life quality, thus demonstrating a positive correlation with public acceptance. On the grounds of perceived risks the correlation with societal acceptance is negative and, despite their low occurrence rate, encompasses nuclear accidents, which have pushed the public sentiment toward the design of a declining slope as to society’s approval of nuclear technology.

Regarding the other category of psychological determinants (“deep psychological factors”), Yue Guo’s & Tao Ren’s study suggests that it entails the elements of knowledge, trust and emotion. Knowledge, regardless of a portion of reviews claiming that it can serve as a key to improve social sentiment towards nuclear power, is a highly disputed determinant as contemporary analyses have highlighted the varied metrics of knowledge, to wit perceived and assessed, that could yield different outcomes in the association between knowledge and risk assessments. As to the element of emotion, the “theory of affect heuristic” supports the idea of individuals primarily relying upon their instincts to evaluate negative events, while other scholars suggest that laypeople’s reluctance to embrace nuclear energy stems from their negative emotional associations with the technology. Finally, the social trust placed on scientists, companies and regulatory institutions can influence immensely the societal lens on perceived benefits and risks, with news outlets and State entities being also included as mavens in nuclear correlated subjects.

Therefore, as carriers of social trust, the views of the scientific community are detrimental on the subject of energy as a whole. However, the perspectives of scientists are not uniform as to the topic of nuclear power. Barke and Jenkins-Smith, despite the risk rate differences they observed across several scientific fields, concluded that the scientific community tended to perceive a diminished number of risks compared to a cohort representative of the general populous. Another study, conducted by Sjöberg and Drottz-Sjöberg, also noted that a nuclear expert perspective is far more optimistic regarding the technology’s safety than the opinion of an engineer graduate, an assessment that gravitates toward more extensive mitigation of adverse risks in groups that possess profound nuclear expertise. As to determinants shaping the opinions of scientists toward nuclear energy, Harris et al.’s study accentuated two as the foremost influential factors; trust in the nuclear power sector and the perceived favourable outcomes associated with the heightened utilization of atomic energy, both of which are among the elements comprising the determinants of public acceptance.

Generally, the ascent and decline of nuclear power entail inherent hazards that resonate with deeply ingrained social-cultural beliefs and myths, perpetuated by the multitude of narratives surrounding nuclear related incidents. The stigma attached to nuclear technology is routed to its perception as problematic or unacceptable by a significant portion of the population that comprehend atomic applications within a military-warfare framework or following the impacts of an accident, marking the radiation affected environment and local populous as “polluted”. Nevertheless, a pragmatic view of nuclear energy generation does not constitute an unrealistic scenario, as many individuals in developed States reside in convenient proximity to nuclear power installations, while a reported rise in social acceptance of the nuclear industry’s operations in electricity generation amid the political pledges of COP28 presage a potential hesitant change of tide in favour of the technology.

Current deployment of Nuclear Power Plants; Designs, Aging and Construction

As of May 2025, there are 440 operational nuclear power reactors across 32 States with the inclusion of Taiwan, while approximately 61 reactors in 17 countries are under construction, with the biggest part of the development concentrated in the East. 120 nuclear reactors are included in approved or funded programs, with proposals of such power plants being over double the amount, at 300. These numbers, however, could likely multiple if the 22 nations that expressed their intention to triple global generation capacity for nuclear energy by the midpoint of the century practically satisfy their pledges.

As to the 440 reactors feeding electricity to the grid, it should be noted that a great portion of the current fleet of plants was constructed during the 1970s and 1980s, a fact that serves as a reminder of their operational lifespan designated by their design. Considering the estimated operational period for a nuclear reactor has drastically altered over the years, as in the dawn of the nuclear age the designers deemed 20 years of operation favourable, calculations place the life limit of contemporary reactors to 80 years. Additionally, even some individual installations of the current fleet have gained or applied for license renewals to operate for more that their original license-specified operating limit of 40 years, as research indicates that extending the operational lifetime of grid connected reactors would not hinder expected performance standards, thus allowing them to enter Long-Term Operation (LTO) periods.

The notion of “aging reactors” has been recently posed as an international point of safety concerns that require guarantees for the efficient continuation of day-to-day reactor operations. Periodic Safety Reviews (PSRs) are conducted at Nuclear Power Plants with the objective of demonstrating the effectiveness of asset management programs in handling the aging of reactor equipment, specifically of those Structures, Systems and Components crucial for the safety of the reactor. The assessment of the impact of aging on equipment reliability is imperative to ensure compliance with plant safety standards. The opposing part of the literature retorts that, considering the modernity of nuclear technology and the fact that most reactors did not retire due to technical problems but rather economic reasons, estimating the anticipated operational duration of a reactor is an arduous attempt. Nevertheless, that argument seems weak when license extensions necessitate several alterations and supplemental conditions.

Despite the opinions that condemn the concept of aging plants and the license renewals, by 2050 approximately fifty percent of the operational fleet will have entered at least the initial decommissioning stage. Overall, roughly 200 commercial power plants worldwide, including experimental and pilot reactors, that their continuing operation was economically unjustifiable, have entered various stages of retirement from operation, while from that amount 25 reactors have completed all shutdown processes and were effectively decommissioned by immediate dismantling, safe enclosure or entombment.

Presently, the majority of Nuclear Power Plants (NPPs) comprise light water reactors, predominantly of the GEN II Pressurized Water Reactor design, as the robustness and reliability of the design adhere to the highest standards of nuclear safety, while Large Generation III NPPs are readily available for commercial deployment, with numerous countries actively pursuing their construction and subsequent connection to the national grid. It should be noted that the Pressurized Water Reactor design was initially developed for the benefit of the U.S. Navy as part of the Argonne National Laboratory and the Bettis Atomic Power Laboratory program. The success of the project, with the USS Nautilus, provided the grounds for the construction of the Shippingport Power Plant. As to the rest NPP types currently deployed, the second most popular nuclear reactor design being Boiling Water Reactors (BWRs), followed by, in order of deployment prevalence, Pressurized Heavy Water Reactors, Graphite-moderated Water Cooled Reactors (RBMKs), Gas Cooled Reactors and Sodium Fast Neutron Reactors (SFRs).

In the western part of the hemisphere, the average duration for reactor construction spans 10 years, whereas in the Asian Continent it is notably shorter at 6 years. That places the global average construction time to 6-8 years. The actual duration of construction process is contingent  upon the complexity of the design and the extent of prior experience with the specific technology employed. However, those numbers do not necessarily take into account all the preliminary phases of the construction process, like the site selection, planning, environmental assessments, licensing etc., which are also arduous and time-consuming procedures. Construction costs and schedule overruns are relatively prevalent in the industry, occurring even in countries with extensive experience in nuclear energy deployment, like France (Flamanville 3). Hence, both the construction budget and timeline, determined by their absolute figures and associated uncertainties, have emerged as pivotal determinants impeding the establishment of additional NPPs in recent times.

Nuclear Powered Vessels

As any other energy production system, nuclear power reactors are not solely engineered to supply electricity to the continental network of civil land applications, like cities, households, offices and businesses. After all, the advantages offered through the utilization of nuclear reactors in Mobile Nuclear Power Plants (MNPPs), such as the mitigation of harmful emissions released into the atmosphere, augmenting cargo capacity,  enhanced flexibility in vessel design due to reduced volume and increased operational dependability in comparison to conventional fuel motors cannot be ignored.

Historically, the deployment of naval power plants characterizes military undertakings, as energy stemming from nuclear applications is suitable for vessels requiring extended periods at sea without the need of finding a port or a tanker for refuelling purposes or for robust submarine propulsion systems. The most extensive operational expertise in nuclear power plant management has been observed within the realm of nuclear naval propulsion, notably on aircraft carriers and submarines, as it maintains the confidential nature of naval operations and submarine activities. The technology and expertise associated with the commercial nuclear industry disparate to nuclear proficiency in maritime operations via some unique features, despite their energy conversion similarities. Namely, naval reactors employ uranium-zirconium, uranium-aluminum and metal ceramic fuels, to wit high burn-up fuels as feedstock, while onshore reactors mainly utilize uranium dioxide. Currently, over 200 naval nuclear reactors are generating power for more than 160 vessels, with most of them being submarines.

Namely, nuclear submarines were introduced to the U.S. Navy, following the inception of their 1948 nuclear propulsion program, through the submarine Nautilus (SSN-571). The characteristics of nuclear-powered submarines that distinct them from land-based nuclear reactors include their exceptionally high power density, ensuring a favourable ration of power to volume, coupled with extended core lifespan to enhance economic and operational efficiency. Additionally, compared to conventionally fuelled submarines, a mobile nuclear reactor ensures that the absence of oxygen will not be an obstacle to long distance travel alluding, at least theoretically, to unlimited submersion duration and range, a factor that guarantees no surface wave resistance that would subsequently decrease the high velocity of the vessel. Thus, it is unsurprising that by 1989 approximately 400 nuclear submarines were already employed or being constructed worldwide.

As already mentioned, nuclear powered ships generate and employ “greener” energy than diesel combustion engines, considering no greenhouse gases are emitted through the process of nuclear fission. Military ships powered through nuclear reactors are employed by several nations, such as France, Russia, Great Britain, India, China and the United States, while numerous other countries have performed studies on fission-driven vessels. The first civilian atomic-powered surface vessel globally was the icebreaker Lenin, with a displacement of 20.000 deadweight tons (DWT). As of the details provided by 2023, Russia is the sole nation engaged in the construction and operation of fission-powered icebreakers, some of them being assembled since the Soviet era to facilitate shipping along the Northern Sea Route and to support Russian Arctic outposts.

Regarding merchant ships employing nuclear energy as a fuel, solely four have been developed through governmental funds with no ambitions to assume commercial undertakings, mainly due to high capital cost. That being said, the interest in the adoption of nuclear fission as the main power propellant in commercial vessels has reignited, considering that shipping activities, catering to 95 percent of international trade, contribute significantly to the concentration of atmospheric CO2. Thus, prompted by the decarbonisation insistence, the deployment and mass production of zero-emission ships would be a substantial step toward the mitigation of the current climate crisis, but as of 2024 the solitary operational nuclear-powered merchant vessel is the NS Sevmorput, a container carrier constructed by Russia, notably diminutive in comparison to the majority of container ships fuelled by conventional fossil fuels and prone to mechanical failures.

The fundamental denominator of naval prowess, however, discerned by their economic value, magnitude and design complexity, are considered to be aircraft carriers. Globally, the first aircraft carrier to employ nuclear energy was the USS Enterprise that was deployed in November of 1961. The Enterprise (CVN-65), a naval force employing eight reactors, was not the only nuclear powered aircraft carrier of the U.S. Navy placed in service, as in the 1960s the construction of 10 Nimitz-class aircraft carriers, with two reactors per vessel, followed the Enterprise’s example, affirming their place as the greatest warships globally, and will be slowly entering the first decommissioning stages in 2026, since the U.S. Navy’s plans foretell their replacement by the next generation of fission-driven aircraft carriers, the Gerald R Ford Class. The only other country that also opted for a nuclear powered vessel serving as an aircraft carrier and intends, according to the decisions of its Naval Group, to continue the tradition with a next-generation nuclear-powered ship is France, with R91 Charles de Gaulle that was completed in 2001 and is projected to be retired in 2038. Ambitions, however, regarding fission-powered aircraft carriers are not contained to the aforementioned States, with the China’s PLAN (People’s Liberation Army Navy) aiming to exert its domination in the region through imitation of the US paradigm.

Space Nuclear System (SNS)

Space Nuclear Systems (SNSs) denote mechanisms that employ radioisotopes or a nuclear reactor to generate power, provide heat or facilitate propulsion in an outer space framework. The United Nations Office for Outer Space Affairs (UNOOSA) acknowledges that the utilisation of nuclear fission is a suitable or even a crucial option for certain extraterrestrial missions due to its particular properties, which enable the confrontation of challenges. The Transit 4A, was the first navigational satellite powered by radioactive material, a small radioisotope thermoelectric generator (RTG), to be launched to extraterrestrial orbit for use by ships and aircrafts in 1961 by the United States.

Following the success of the launch in the 1960s, several missions and satellites employing RTGs and RHUs by a number of Space Agencies were successfully launched to outer space and beyond, thanks to RPSs lifespan, self-sufficiency, flexibility to deliver energy, reliability as a long-live source of power and overall capacity to surpass mission requirements. Compact fission reactors for observation satellites were also developed during the same decade and effectively deployed, with the most known case being of the Soviet developed TOPAZ reactor, while experimental rocket designs integrating various forms of nuclear power or propulsion are deemed to be the next step on space exploration.

However, challenges relating to the scarce amount of manmade plutonium-238, the restricted amount of radioisotopes applicable to SNSs, the imperative need to protect from gamma radiation emissions, previous experiences of accidents involving nuclear reactors in space, the low power levels generated by RTGs, proliferation concerns, maximizing the energy extraction rate and thermal exchange considerations have fuelled further research and development efforts by national Space Agencies as the conviction that nuclear power remains the ideal choice for deep space exploration persists.

Technological Advancements

The benefits associated with nuclear power have been the catalyst for the establishment of a number of research and development programs, from the propulsion of military aircrafts through nuclear fission to space nuclear technology. The global atomic energy community is actively engaged in the exploration and advancement of sophisticated nuclear power technology, focused at addressing the economic, safety and environmental challenges inherent in the nuclear energy progression. As a response to the current climate quandary, advanced nuclear energy technology has expanded the range of application scenarios for nuclear energy with minimal greenhouse gas emissions, while simultaneously reinforcing the imperatives of nuclear safety and sustainable development demands.

Generation IV (GEN-IV)

The technological developments in the nuclear industry are, at least in part, reflected in the upgrades of the reactor energy systems that do not necessarily affect the fundamental aspects of the design, but rather address economic, safety, environmental and proliferation deterrence goals set by the sector. Thus, reactor design concepts can be and are commonly discerned by their generation classification, with five generations being introduced as of 2024, to wit Generation I, II, III, III+ and IV that display ambiguous identification characteristics from one category to the next.

As disclosed by the title, Generation I was the initiator in the fission reactor epoch that spanned from approximately 1950 to 1965 and included experimental and prototype nuclear reactors, among which were the U.S. Shippingport, Magnox of the United Kingdom and UNGG (Uranium Naturel Graphite Gaz) in France, the operations of all of which have long been suspended. The last GEN-I nuclear reactor to permanently shut down was the Pressurized Heavy Water Reactor Karachi-1 (CANDU-137) in Pakistan in 2021. The major problem with GEN-I was the absence of safety mechanisms, passive or active, mainly due to the leap from military deployment to commercial power generation, as they were basically enlarged iterations of the naval power plants.

The second generation of nuclear reactors (GEN-II), in their majority designed according to the Light Water Reactor (LWR) blueprint, constitute a class of commercial power plants that are still being constructed around the world and separate themselves from their primogenitors through the addition of safety devices, adhering to nuclear safety regulations, and their strictly commercial deployment.  That being said, the second generation’s optimization was not limited to its enhanced safety features, but rather included the element of competitiveness with a small reduction in the production cost, the addition of pre-emptive measures to decrease potential radiological impacts, the consciousness as to the long-term deterioration of the installations, the improvement of the energy availability and core management of the plant. GEN-II reactors were constructed with an estimated operational lifespan of forty years, the models that were readily available being CPR 1000 and VVER 400. Some examples of GEN-II plants that are still operational as of March of 2024 are the Cernavodă NPP in Romania, the Fangjiashan NPP and Ningde units 1-4 in China, the Temelin NPP in the Czech Republic, the two units of the Loviisa NPP in Finland, the Browns Ferry NPP in Alabama and the Balakovo NPP in Russia.

Generation III (GEN-III) NPPs, initially introduced during the 1990s, essentially integrated the lessons learned from the accidents in the Three Mile Island and the Chernobyl facilities, representing advancements upon GEN-II NPPs that incorporated refined design enhancements. Among the characteristics of the GEN-III reactor designs the augmented thermal efficacy, the shrinkage of construction timetables, the lower core damage frequencies reducing the likelihood of severe accidents, the longevity of the installation that is calculated to 60 years, the simplicity and robustness of the structure, the risk minimization to avoid potential hazards that could cause significant damage, the honing of fuel efficiency, the facilitation of operation activities, the passive safety features and the utilization of recycled fuel “revolutionized” the class of reactors led by the Westinghouse AP-600. In addition, the standardization with regard to the GEN-III’s design facilitated the licensing and inspection procedures in a greater degree compared to the previous generations’ designs.

During the late 1990s, the development of another advanced generation was initiated, as ameliorations in the safety features of the GEN-III designs was deemed necessary, after the first GEN-III plants entered deployment. In that respect the “evolutionary” GEN-III+ designs incorporated more advanced and simple passive or inherent safety systems than GEN-III that exploit natural forces to mitigate an accident’s impacts and even enabled a 35% decline in greenhouse gas emissions compared to previous reactor technologies, while concurrently endeavouring to address core challenges related to cost, constructability, fuel consumption and waste production. Through the integration of the former fleet’s operating experiences and technological innovations, the objectives associated with GEN-III+ models include improved economics, performance upgrades, extended operational lifespan, mitigation of external hazards, greater competitiveness and overall enhancement of safety features.

The designs prevailing in the third generation of nuclear plants are distinguished on a primary stage by their Megawatts of electric capacity in two categories; large and medium. The Advanced Boiling Water Reactor (ABWR), the AP1000, the European Pressurized Water Reactor (EPR), the CAP1400, the APR1400, the HPR1000, the VVER-1200,  the AES-92, the Economic Simplified Boiling Water Reactor (ESBWR), the ACPR-1000, the KERENA are several of the models introduced globally as GEN-III/III+ pressurized nuclear energy technologies. Among the operational fleet is the Barakah NPP of the United Arab Emirates, the Fangchenggang NPP in western China, the Novovoronezh II 2 NPP in Russia and the Saeul NPP in South Korea.

Notwithstanding the promises of the third generation, the facts contradicted the objectives with quality issues remaining and transitioning to off-site modular construction, while cost overruns and the inability to stay on schedule due to delays also persisted, despite the design alterations, leading even to the abandonment of projects. Combined with the demanding problem regarding the management of the highly radioactive residues produced by nuclear power generation and the failure to successfully culminate a global “nuclear renaissance”, the proposition of a new, more sophisticated class of reactors by the nuclear sector was not unforeseen.

The fourth generation (GEN-IV) of nuclear reactors is presented as a nuclear alternative that has yet to surpass the research and development stage, with the anticipation of implementation by 2030. The new class of reactors promises to eliminate the obstacles encountered with the previous generations through the radical re-conceptualisation of the old reactor models. The GEN-IV Nuclear Energy Systems is introduced alongside the commitment of green electricity generation with no intermittency of supply to the grid, while simultaneously ensuring supremacy in safety, sustainability, economies of scale, proliferation tolerance and waste management and production reduction. Another theory that fosters the scenario of a drastically different class of reactors exists within the concept of depletion of the Earth’s uranium resources. Namely, in the event of significant expansion of global nuclear capacity, the abundance of uranium in the terrestrial crust would no longer be a constant denominator assuring stakeholders of guaranteed uranium supply throughout the operational lifespan of the reactor.

Gen-iv Collaborative Initiatives

In an effort to spearhead collaborative endeavours among the world’s foremost nuclear technology nations for the research and development of the next generation of nuclear energy systems, the Generation IV International Forum (GIF) was launched in 2001 by the United States Department of Energy, assembling 13 States along with the European Atomic Energy Community (EURATOM). The GIF Member States are exploring avenues that facilitate the reduction of the costs associated with nuclear energy through the examination of simplified designs tailored to new market opportunities that also aim to supply not solely electricity but even heat, hybrid and flexible energy networks with enhanced thermal efficiencies. As part of GIF’s activities, 100 models and concepts of nuclear systems were considered and appraised by 100 experts from 10 Member States, with six of them being deemed laudable to be promoted for development and landing as submissions in the Generation IV Technology Roadmap.

Cooperation among the signature members of the GIF’s charter for the development of these state-of-the-art models is considered crucial, reflecting upon the disparities in the required breakthrough technologies, the cost of the innovation and the development specific expertise and installations. The importance of collective endeavours is reinforced by two other initiatives which charter a roadmap for groundbreaking nuclear technology, the International Project on Innovative Nuclear Reactors and Fuel Cycles (INPRO) and the Global Nuclear Energy Partnership (GNEP). Elaborately, the INPRO first phase entails the identification (Phase 1A) and subsequent validation and optimization (Phase 1B) of the Basic Principles, User Requirements and Criteria that the advanced nuclear systems must satisfy within five frameworks, with the simultaneous cultivation of an assessment methodology (INPRO Methodology). The GNEP, on the other hand, which was later reinvented as the International Framework for Nuclear Energy Cooperation (IFNEC), serves as a collaborative platform between state-participants that explores mutually advantageous strategies for the advancement of nuclear power’s peaceful utilization along with the deterrence of employing advanced nuclear fuel cycle technologies for proliferation purposes.

Fast Neutron Reactor (FNR)

The concept of fast neutron fission technology has been present since the 1950s, as the development of approximately 20 fast neutron reactor models has been successfully achieved globally since then. Indeed, the first nuclear reactor that effectively produced power, the EBR-I was an FNR with a coolant of liquid sodium. Considering that several nations have already launched programmes for the study of advanced fast neutron reactors, the contemporary recognition of fast reactor technology, especially in conjunction with closed fuel cycles, underscores its considerable potential in the ongoing evolution of nuclear power as an integral part of the future world energy matrix. Fast Reactors’ (FRs) thanks to their distinctive attributes, support ambitions that place them in a pivotal role for the satisfaction of future escalating energy demands and ever-shifting needs worldwide. In fact, the acknowledgement that three of the six generation IV models that have been elected and promoted for additional development are fast reactors, while another design belonging to the class IV energy systems can be constructed as a fast reactor, discloses the significance attributed to fast reactor models under the framework of GIF.

FNRs, also referred to as Fast Breeder Reactors (FBRs), can be considered as representative of one among two types of fission reactors and are distinguished from their, far more familiar due to their construction rate, thermal reactor counterparts by the kind of nuclear reaction in their fuel that ultimately leads to nuclear fission. For the chain reaction to be preserved, fast reactors employ neutrons of great velocity, which eliminates the need for the existence of a moderator. The importance of such innovative technology lies with its comparative advantage, to wit sustainability. Namely, they are 60 to 70% more efficient with regards to their natural uranium consumption and safer considering the metallic quality of both their fuel and liquid coolant enable their effective control. FNRs are also able to harvest a considerable amount of energy from depleted nuclear fuel, by repurposing over 90% of spent fuel from a PWR, simultaneously eliminating long-lived actinides retrieved from used fuel and, if designed as FBRs, they are capable of “breeding” more plutonium than the volume of uranium and plutonium supplied. As nuclear power plants employ a greater volume of water for the dissipation of waste heat per unit of power generated compared to any other thermoelectric plant, the utilization of sodium, due to its effective heat transfer properties, retention of fission substances, small pumping power and system pressure requirements, as coolant regulating core temperature in FNRs, eliminates the need for the consumption of excessive amounts of water in NPPs.

Nevertheless, notwithstanding their prospects as furnaces of highly radioactive waste, the multi-recycling benefits, the HLW disposal cost reductions and the maturity of the technology owing to over 400 reactor-years of expertise in sodium-cooled FRs, constructing FNRs is subject to significant challenges, while their operational costs are higher than those of thermal reactors. Also, liquid sodium’s advantages as a coolant co-exist with challenges, such as its reactive nature when combined with air and water, sodium’s characteristic as a mild neutron absorber and decelerator, its optical transparency and its property of becoming active when undergoing irradiation. Even though these unfavourable elements of sodium do not overshadow the positive aspects of its use as a coolant, the employment of lead, lead-bismuth eutectic, other liquid metals and salts or even gas coolants (like helium), which would supplant sodium, has been suggested as alternative options for the FRs’ decay heat removal systems.

Sodium-Cooled Fast Reactor (SFR)

As already discussed, the SFR, owing to several years of research, development and operating expertise, with the Russian Federation as a leader, is presented in the guise of the most propitious model among the advanced GEN-IV nuclear systems. In fact, the expert-developed Generation IV Technology Roadmap of the GIF recognizes SFRs as “a promising technology to perform in particular the missions of sustainability, actinide management and electricity production if enhanced economics for the system could be realized”. Thus, the requirement of additional augmentation, which would result in the satisfaction of all the elemental stipulations posed by the INPRO Methodology, has been identified in two general fields, safety and economics. Several nations have established a technical know-how for SFR technology through past experimental and/or prototype reactor projects led by governmental entities that can now be utilized as a research and development baseline for a pioneering generation of SFR models.

Representing viable options for the SFR, three conceptual designs are under consideration; a modular system ranging from 50 to 150 megawatts (MWe), a pool-type model spanning from 300 to 1500 MWe and a loop-type plant with a capacity between 600 and 1500 MWe. Contrary to a PWR, in the core of a SFR the fuel assemblies are designed in a closed configuration, where hexagonal wrapper tubes are encircling fuel rods, while the overall component structure tends to be delicate due to the thinness of the encasing materials. In the context of the power conversion equipment of the SFR, the designated working liquid substances, located in the third circuit of the reactor, comprise nitrogen, water/steam and supercritical carbon dioxide. As to the combustible substances exploited in the core’s fuel assemblies, the main fuel of SFRs is MOX, but for an enhanced breeding rate other fuels such as metallic, carbide and nitride can be employed. Evinced by the design’s name, SFRs belong in the FNR category of nuclear systems and employ molten sodium as coolant of choice both in the primary circuit nearest to the core and in the intermediate cycle between the core and the electricity generation system, without the addition of a moderating mechanism or pressurization on account of sodium’s great boiling threshold and high heat conduction. The severe chemical reactions that alert to concerns of safety and could potentially arise due to said reactive metal’s leakage from the sealed coolant system and its subsequent mix with oxygen and water include explosions creating shock waves of energy and gas bubbles, sodium fires, gaseous hydrogen and corrosive soda.

Very-High-Temperature Reactor System (VHTR)

The VHTR is an advanced model corresponding to radical enhancements of high-temperature gas-cooled reactors, a design the development of which was initiated during the 1960s and reached commercial viability in the middle of the 1980s decade, even though proposals for such a construction where circulating since 1945. Pursuing high-temperature technologies is based upon the realization that elevated temperatures result in an increased supply of megawatts to the grid or a broader array of industrial customers. Thus, contrary to LWRs, several industrial procedures are sufficiently facilitated by the decade-consistent high reactor outlet temperatures (ROT) of approximately 750oC provided through a high temperature reactor’s employment, a thermic state that the VHTR concept aims to successfully surpass and sustain. Namely, any reactor model that demonstrates a coolant outlet temperature of 1000 degrees or higher is considered to be attached to the VHTR term. Also, compared to the reactors of the previous generations, the VHTR system has two benefits associated with the coolant’s high temperature upon exiting the core of the reactor, which allows for enhanced thermal efficiency (over 50%), that translates to significant power conversion capability, and its property as process heat and steam to be used in cogeneration methods, such as clean hydrogen production, sea water desalination and household heating.

The design base of a VHTR’s core is that of the former models of Generation III+. Specifically, two concepts have been developed for the VHTR core’s fuel arrangements, with extensive shared foundation of technological, systemic and component-based elements; a prismatic block and a pebble-bed design, both of which have been previously encountered in the Japanese HTTR and the Chinese HTR-10 respectively. The VHTR system, despite being within the thermal neutron spectrum of reactors, does not include water as a moderator nor as a coolant, like the LWR models, but is rather supported by a graphite-moderated system and a gas-based coolant in the form of helium. The graphite possesses significant thermal inertia and exhibits the capacity of excess heat absorption, irrespective of the fuel element’s temperature surge, while its recyclable properties add further benefit to its usage. Helium, on the other hand, has minimal neutron absorption rate, remaining low in radioactivity, and sustains its gas form during operational processes. A safety feature of the design relates to the circumvention of incidents involving an increase in temperature, in which case the VHTR core’s power output responds by proportionally decreasing (negative temperature reactivity coefficient). The VHTR system is also designed to accommodate different combinations of nuclear fuel materials in its core, with the most popular being Uranium dioxide (UO2), along with its versatile characteristics regarding energy conversion. However, recyclability is not an option when it comes to the tristructural-isotropic (TRISO) particles serving as fuel.

Supercritical-Water-Cooled Reactor System (SCWR)

The notion of employing supercritical pressure water (SCW) as coolant and integrating it as a characteristic of water-cooled reactor designs is not innovative, but rather traces its origins to the 1960s. The SCWR’s operational level surpasses the thermodynamic critical state of pure water, to wit 374 degrees Celsius and 22.1 megapascals (MPa), which subsequently enters a supercritical phase, where its properties and structure alter drastically making it act as a “green” solvent as well as a base or acid catalyst.  The SCWR constitutes the exclusive concept within the framework of GIF employing water as refrigerant, which automatically makes said system the natural, advanced successor of the currently deployed water-cooled reactor fleet.

The five concepts that have been introduced regarding the design of the SCWR system are the supercritical water-cooled fast neutron reactor, the supercritical water-cooled thermal neutron reactor, the supercritical water-cooled mixed neutron spectrum reactor, the supercritical water-cooled pebble bed reactor and the supercritical heavy-water-cooled reactor. The aforementioned concepts can be grouped in two categories; pressure vessels and pressure tube models. The SCWR model’s conception aligns with the trends observed in coal power plants with the ultimate goal of alleviating part of the economic hurdle of current LWRs. The prospective benefits of the SCWR design entail greater thermal efficiency compared to LWR, reaching even 45%, simplicity of the plant construction and design, smaller volume of the plant itself, cost-effectiveness, minimization of cost and improved economics. The evaluation of multiple design alternatives that consider even the deployment of advanced fuel cycles other than thermal and fast spectra aim for sustainability, security and safety enhancements as well as non-proliferation schemes. Nevertheless, to effectively reach the aimed results, challenges relating to the complexity of the fuel assembly in the SCWR’s core required by the high temperature output should be initially resolved.

Lead-Cooled Fast Reactor System (LFR)

Similarly to previously examined reactor models, the reactor principles of an LFR can be encountered as far back as the 1950s in the U.S.S.R.’s blueprints for submarine propulsion that led to the successful deployment of 15 reactor cores that generated power for eight decades. Those early reactors require great design alterations and research to encapsulate the contemporary LFR system suggestions and resolve the formers technical shortcomings, however they simultaneously provide for amassed experience on the relative engineering tenets. In total there are three choices of LFR systems that have garnered the primary attention of the research and development endeavours with the configuration of GIF; the ELFR with a high capacity of 600 MWe, the BREST-OD-300 featuring half of the ELFR’s capacity and the SSTAR (Small Secure Transportable Autonomous Reactor) that loyal to its name provides an output of less than 100 MWe, but has the benefit of transportability.

A characteristic presumed to be associated with the selection of the LFR design by a number of national energy departments and highlighted by the literature, as the source of the concept’s “attractiveness”, is the improved intrinsic and passive safety features. Those aforementioned elements originate from the employment of pure, molten lead, a heavy liquid metal (HLM), or a fusion of lead with other chemical elements, most commonly bismuth, as refrigerant. Owing to the metal’s properties, to wit the extremely elevated boiling and melting point (1749 and 327 degrees Celsius respectively), the lack of chemical reactivity with air and water, the operational peak close to atmospheric pressure and the exceptional neutronic traits (such as minimal moderation and absorption), the shielding against gamma radiation, said enhanced safety is accompanied by the prospect of streamlining the system. As other designs operating within the fast neutron spectrum, equipped with a closed cycle, the LFR concept can operate as a recycling option for utilized uranium or thorium fuel assemblies, effectively burning spent fuel actinides or breeding fissile material through thorium.

Many experimental projects conducted in installations around the globe have been established for the purpose of investigating phenomena of components interaction within an LFR system and subsequently validating them. Despite the system’s apparent “attractiveness”, there are several obstacles that need to be confronted early on relating to the possibility of structural material corrosion due to the chosen coolant jeopardizing the integrity of the structure, implementing regulating mechanisms for the oxygen density, preventing lead solidification, the heaviness of the refrigerant and the volume of polonium-210 generation, which because of its potent and radiotoxic nature can hinder operation and maintenance processes through the emission of heat in the coolant.

Gas-Cooled Fast Reactor System (GFR)

Prior to the re-examination of the GFR concept in 2002, GFR designs, involving the development of helium-cooled breeder plants, were already under scrutiny from the 1960s to the 1980s both in the U.S. and the European Continent by the title GCFR (Gas-Cooled Fast Breeder Reactor). The development of the former is described as an “incremental extension of the LMFBR (Liquid Metal Fast Breeder Reactor) program” through a 1979 report of the General Atomic Company due to the data contribution of the LMFBR program to the design of the GCFR core. However, the evolution of the acronym was not the only adjustment as the objectives and the chosen blueprints within the GIF agenda embed significant modifications to the reactor designs compared to the early 1980s reactor variations. Notably, the concept, as acknowledged by GIF, presents stunted levels of technical maturity compared to the other five GEN-IV systems. In a joined project between France, Slovakia, Hungary, the Czech Republic and Poland, the first experimental gas-cooled fast reactor demonstrator, known as ALLEGRO, explores the technology behind helium-cooled fast reactor systems and examines the chosen ceramic fuel.

In particular, the GFR system is presented as an alternative option with a more extended lifespan or a complementarity to the SFR. It could be even stated that the GFR concept endeavours to bridge a gap between reactor technologies through the effective combination of the latter into a single nuclear power producing system. As any other analysed reactor within the fast-neutron spectrum with the addition of a closed fuel cycle, the GFR system decreases the volume of highly radioactive waste requiring delicate management, enhances the utilization of fissile material and doubles as a burner for uranium thorium or plutonium. Similarly to the VHTR, the GFR model employs helium as the selected gas-refrigerant for its unmoderated core, but it can also enlist even air, supercritical CO2 or dissociating gases. Furthermore, despite adopting the fuel recycling procedures of the SFR and demanding separate research on core arrangement and safety tactics, it still relies heavily on the structural, material, elemental and energy transmutational technologies developed for the VHTR concept. Compliant to said synergy, another characteristic associated with the GFR is the design’s high core outlet temperature, ranging between 800 to 850 degrees Celsius.

As to the challenges linked to the development of the GFR, the obtainment of materials that enable the soundness of the structure against elevated temperatures, high power density and the damage caused by fast-neutrons, the development of an appropriate ceramic fuel form and fuel cladding that can contain fission substance emission and core-cooling capacity, the elaboration on a passive decay heat removal system, the qualification of components, such as heat barriers and valves, tested regarding thermal transmission and pressure decrease, and the fabrication material of the pressure vessel have kept the date for an engineering demonstration of the GFR over a decade away, with a number of studies, experiments and tests awaiting to be conducted prior to the introduction of a safe and functional GFR plant.

Molten Salt Reactor System (MSR)

Comparable to previously examined reactor concepts, the MSR is acquainted with research and development projects established several decades prior to its adoption by the GIF roadmap in the early 2000s, considering that for over 25 years, starting from 1950, the United States run a program centred around MSR development, which resulted in two functional, demonstration reactors. Oak Ridge National Laboratory’s (ORNL) Molten Salt Reactor Experiment (MSRE), which was operational from 1965, when it reached criticality, to 1969 was a small, experimental prototype reactor, based on the former Aircraft Reactor Experiment, constructed by the U.S. government as an alternative option to the conventional, at the time, fast breeder nuclear power plants with a liquid metal refrigerant and more specifically the SFR.

Notwithstanding the MSRs’ similarities to other reactor designs, there are two separate, broad groups in which MSRs are categorized. The first category contains reactors with solid fissile material as fuel and molten fluoride salt as primary coolant, while its counterpart concerns reactors functioning though fuel salt enhanced with fissile and fertile fuel for both cooling and power production, that excludes the solid fuel disposal and fabrication stages from the equation. The MSR concept falls under either the fast, thermal or epithermal neutron spectra and can theoretically accommodate a plethora of fuels, with the most popular choice being thorium, which will entail the breeding of uranium-233 or plutonium.

Currently, a multitude of MSR design variations are undergoing development globally, with the prospect of implementation in the next couple of decades. Nevertheless, since the early 2000s, the interest and the subsequent development efforts are concentrated on the combination of the MSR’s basic engineering principles with the advantages furnished by the fast neutron reactor technology, as fast-neutron MSRs require a reduced quantity of fissile material compared to other reactors, are free from radiation damage constraints on achievable fuel burn-up and the need of extra capacity to control the reactor’s reactivity level, have the ability to inherently decrease reactivity and prevent accidents, eliminate the stage of fuel fabrication and management and their fuel composition entails consistency and homogeneity, which results in stable operation. Within the GIF framework, there are two design concepts of fast-neutron MSRs that have garnered the attention of research and development endeavours; the MSFR (molten salt fast reactor) with a capacity of 1400 MWe and a liquid circulating thorium-molten-salt fuel, and the 1000 MWe Russian MOSART (Molten Salt Actinide Recycler and Transmuter) also equipped with a fluid energy source that, faithful to its title, focuses on the recycling of actinides. One more model, the potential of which is under examination, is the MCFR (Molten Chloride Salt Fast Reactor) with an energy output of approximately 1000 MWe featuring an extremely hard fast neutron spectrum that eliminates the necessity to segregate fissile material from the ambient flowing salt fuel. Lastly, FHR (Fluoride Salt-Cooled High-Temperature Reactor) is another promising design in the near-thermal neutron spectrum that employs solid low-enriched uranium as fuel and a molten fluoride salt refrigerant.

Small Modular Reactors (SMR)

The rate of worldwide attention towards advanced medium and small or modular nuclear reactors displays a constant ascension, as the demand to substitute old fossil fuel sources and plants, but also fulfil the demand for adaptable electricity generation across a diverse selection of users and applications, becomes more persistent. As a popular new-generation reactor concept, the SMR’s attained “fan-base” among the nuclear industry’s shareholding parties is reflected by the great number of designs and concepts, exceeding 80, which are currently at different stages of development. The sub-categories in which those concepts can be further divided, based on reactor design principles, include light water reactors, molten salt reactors, gas-cooled reactors and liquid metal cooled reactors. The term “SMR” encompasses every type of reactor adhering to the relevant features, however the term “AMR” (Advanced Modular Reactor) is also employed when referring to a design lacking light water technology. It should be also noted that the SMR concept utilizes nuclear fission, like conventional NPPs, while not strictly adhering to land-based installations, as designs have been developed for microreactors as well as both on-shore and off-shore deployment in marine applications.

Not surprisingly, other than demonstration reactors under construction, such as the CAREM in Argentina, SMR-based reactor designs have already been connected to the grid, like the Russian Akademik Lomonosov with two KLT-40S designs, the Chinese unit 1 of Shidao Bay and the HTR-PM model of the Shidaowan NPP. The assurances connected to the SMR system encompass the standardization and modularization of nuclear reactor technology through the radical construction of a great percentage of the reactor’s units, also referred to as modules, and assembly thereof in a manufacturing installation, thus reducing both the primary capital investment and the construction timeframe adding a competitive edge to the economic efficiency of the sector, as it moves from the economies of scale concept associated to conventional NPPs to the economies of serial production.

The IAEA acknowledges reactor designs as “small” when their capacity’s base point is 10 MWe and does not exceed 300 MWe or alternatively when the model’s electrical output capability amounts to approximately a third of the generating capacity of traditional NPPs. The features that the majority of those recommended early models partake in and distinguish them from conventional large NPPs are their deliberately smaller size, cogeneration suitability and application flexibility, the decreased reactor power output that enables core cooling through a passive natural circulation system, longer hot-leg rise length facilitating gravitational flow and enhancing heat transfer efficiency, dense containment structure, steam generator and pressurizer incorporated in the vessel and lack of extended piping outside the structure which reduces the likelihood of Loss-of-Coolant Accidents (LOCAs). Subsequently, the advantages of SMR technology include extended reach to remote, off-grid locations, transportability of modules, higher reactor production volumes, decreased project size compared to traditional “megaprojects”, reduced greenhouse gas emissions, enhanced safety and security functions through underground construction and placement, extended refuelling schedules, greater refrigerant inventory and larger thermal transfer area courtesy of the enlarged vessel and its extended surface, obstruction of radiation unintentional discharges, financing flexibility (unit-by-unit), structural simplicity, less employees to address security concerns, reduced maintenance expenditure, potential shrinkage of water consumption, favourable features of used fuel from certain designs, proliferation hindrances, elevated seismic and crisis prevention, potential integration to hybrid energy systems as well as site adaptability combined with lesser land impacts.

As previously mentioned, research and development programs have expanded to a wide range of SMR types, one of them being the integral, scalable Pressurized Water Reactor (iPWR) that incorporates the reactor vessel with the primary circuit as one of its internal rather than traditional external components. A design merging the iPWR principles is presented by NuScale Power, LLC which in turn was heavily influenced by Oregon State University’s MASLWR (Multi-Application Small Light Water Reactor). Also an influence, within the realm of iPRWs, for the development of an SMR model was the AP1000 of Westinghouse Electric Company that in 2011 presented the WSMR branding an electric capacity of over 225 MWe. Even more recently, the company announced a “readily employable SMR solution” through the AP300 SMR. Another SMR architecture, worth noting, is the mPower, an integral, advanced modular reactor integrating existing LWR technology, introduced in 2009 by Babcock & Wilcox, which is based on the blueprint of the maritime nuclear reactor powering the merchant ship “Otto Han”.

Obstacles relating to SMR deployment which have been illuminated by studies and reports cover policy uncertainty due to market externalities, investment hesitation, business viability and profitability concerns, site suitability, considerations regarding the licensing procedures, inadaptability of current legal frameworks, unprecedented technological risks due to their entrepreneurial and untested components, negative public perception, absence of environmental impact assessments, effectively acquiring a reasonable levelized cost of electricity (LCOE), refuelling and waste disposal uncertainties, ensuring market demand and practically proving their superiority to conventional NPPs with regards to construction, safety and cost. In fact, the latest point may be most difficult to appear convincing as some nuclear engineers and comparative data on energy sources raise well-founded doubts about this economies of mass production endeavour becoming more economically competitive than the traditional NPPs’ economies of scale model. Optimists, however, are still certain of cost decreases following the first “round” of SMR builds.

Microreactors

The term generally refers to a small, factory produced, transportable SMR design variation with a maximum generating capacity of 20 MWe. Emerging microreactor technology attracts vendor interest by combining the benefits associated with SMRs with its mobility potential, time to deployment and power quality features that would generate electricity and heat for a plethora of industrial applications in cases of infrastructure disruptions, impervious-to-supply-energy locations, military facilities, emergency processes, disaster-struck areas and humanitarian operations. For instance, a group of nuclear microreactors includes Nuclear Batteries (NB), which are portable, “standardized, plug-and-play” microreactors that adhere to a more versatile array of applications than the current operational fleet of nuclear or renewable power plants. Some studies have even expressed and examined the potential of microreactors for maritime propulsion. As to transportation concepts for microreactors, transit options centred around motorway and railway hauling or transportation means like aircrafts, trucks, spacecrafts and maritime vessels have also been theoretically presented and discussed.

This innovative and disruptive decentralized thermal and electrical source encapsulates several modifications, compared to conventional LWRs, relating to refrigerant, fuel, material and reflectors. Despite microreactor technology’s differences to large NPP models, it employs similar operational principles, which can then be categorized by the chosen coolant, fuel, moderator, components and overall blueprint of the selected design, such as the Light Water Reactor concept. However, contrary to traditional NPPs, advanced microreactor technology entails restricted availability of fuel, waste management difficulties, proliferation risks and safety implications, competition concerns, development uncertainties and regulatory stalemates, particularly in the framework of licensing.

Nuclear Fusion

In the last couple of years, nuclear fusion has been constantly accompanied by an impactful, frequently negatively-defined, yet controversial-with regards to its meaning- term; “sustainability”. A definition for the aforementioned term can be originally located in the Brundtland Report of 1987, while a variant interpretation suggests that humanity should strive for maintenance or even, in certain regions around the globe, improvement of the human existence standard, all the while simultaneously abiding by the planet’s ability to support a specific population size. Endorsed by those definitions, nuclear fusion superficially seems to fulfil the demands shadowing the term through its “effectively limitless” availability of raw material for fuel and non-radioactive by-products. However, is nuclear fusion pragmatically the “holy grail of energy”?

Nuclear fusion refers to the reaction between or combination of light atomic nuclei, under significant pressure and temperature, into a heavier nucleus for the purpose of energy generation. The process that researchers endeavour to replicate is similar to the reactions encountered in the core of the sun or the stars, a discovery that came to light in the 1930s by scientist Hans Bethe and has been studied in the framework of star core physics since the 1920s. Succinctly, the strong gravitational pull in a star’s core enables the fuse between ordinary nuclei of hydrogen which then formulate into an isotope titled deuterium. That primary fusion will set motion to a chain reaction during which the deuterium merges with another hydrogen atom, creating helium, that subsequently clashes with helium that was similarly generated. Essentially, the reaction observed in the centre of the sun involves the conversion of four protons into a helium-4 nucleus escorted by two neutrons.

The concept is, thus, not unprecedented, but rather constitutes a reanimation of the last decade as research related to nuclear fusion has been underway since the 1950s. The most promising developments in the field at the time were related to the Soviet Union’s novel device, the “Tokamak”, a design that spread like wildfire following the comprehension of its efficacy by the nuclear fusion community in the 1970s. In order to mimic the process, at least two positively charged nuclei must be forced, through the utilization of energy, in close enough proximity to each other, against their natural disposition routed in repulsive electrostatic force. Prerequisite of the process constitutes surpassing the coulomb barrier which prevents the entrance to the area where the reaction or collision of the nuclei can occur. It should be noted that, in order to multiply the reaction rate and avoid, for economic reasons, the conversion process of protons to neutrons, as observed in the core of the stars, the easier route for terrestrial applications involves the employment of hydrogen isotopes, with the most efficient, for the purposes of fusion, being deuterium and tritium.

According the IAEA over 50 states worldwide are actively pursuing technological research in the fields of nuclear fusion and plasma physics, while a report from the same agency indicates that 157 fusion devices are being constructed, have been planned or are already operating globally as of 2024. Current development efforts mainly focus on the Deuterium-Tritium fuel cycle, however aneutronic fusion fuels are also regarded as optimistic alternatives for fusion energy generation. The designs of the projects can be divided either into three categories, according to their plasma confinement method, to Magnetic Confinement Fusion (MCF), Inertial Confinement Fusion (ICF) and Magnetized Target Fusion (MTF) or in four configuration groups; stellarators and heliotrons, laser or inertial, tokamaks and alternative concepts.

The challenges for fusion, however, extend further than a “simple” addition of the necessary protons and neutrons. For one, establishing a stabilized plasma state redundant of instabilities, preventing and mitigating such problems, ensuring confinement and developing the appropriate durable materials can be complicated processes. With puzzling questions emerging from nuclear physics and, amongst others, encompassing extraction schemes, achieving higher energy reactor output than input, investigating decay heat removal and sudden temperature changes with knowledge gaps even extending to magnetic energy discharges, accident probabilities relating to component failure, impacts of external events and especially seismic activity render the placement of nuclear fusion in the commercial sphere a herculean task.

Investments

The 11% share of nuclear energy in the global electricity arena of 2020 is a promising, but not a significant percentage in the power market. A probable cause could be located within the financial realm of the sector which highlights the supremacy of nuclear power on investment intensity among energy resources. According to the projections revised and published by the IAEA, the States’ outlook on nuclear power globally has dramatically altered since the grim look observed during the 2020’s analysis. Certainly, the Agency is not the sole advocate of this belief considering mainstream media have even painted the next decades as a new era of “Nuclear Renaissance” based on the state pledges of COP28.

While investor interest steadily magnifies and analysts are fairly confident on the nuclear energy’s ability to satisfy a country’s carbon-emission agenda and demands for clean, affordable and reliable power production, the European Union confirms that within the institution’s framework prevention of carbon emission escalation cannot be achieved by subtracting nuclear power from the energy mix. Despite that admission, according to the literature and the obvious drop in nuclear power’s share in global electricity generation in the past two decades, investments in nuclear R&D have not been consistent through the years. That fact could be attributed to the unpredictability of the regulatory framework which in turn impacts corporate investment flow, as companies, especially with current environmentally centred policies, tend to doubt the effectiveness of those national or regional resolutions. Nevertheless, in order to gain a more comprehensive understanding of nuclear energy investment fluctuations the following section overlooks past trends and incidents that affected fund allocations with regards to the nuclear sector.

Historical Overview Of Investments through Case Studies

The differentiation between investments in NPPs and investments in other sources of energy production lies with the extended completion period of the infrastructure, the capital intensive and technically complex characteristics of the constructions along with their long payoff period. Traditionally, the funds for the investments in nuclear power plants originated from government financing, as the publicly polarized nature of the plants accompanied by the management of their waste could only be solved through political channels and the private capital was either deemed insufficient or seemed unwilling to engage with such long-term, risky and expensive investments, the costs of which seemed to continuously rise. Furthermore, considering the general interests of a State, and more specifically the ones affecting its national security, the avidity of a sovereign nation’s government to assume the risk and costs associated with nuclear is not surprising in the face of power supply’s security. However, that approach to financing nuclear energy projects, through publicly owned or dominated companies, slowly changed via the advent of project finance techniques and the liberalization and privatization of the energy markets.

Admittedly, the 2000s decade, as indicated by the French ‘Exceltium’, can testify to the emergence of a number of new models for the financing of nuclear infrastructure that leverage capital markets worldwide to diversify their sources of financing and distribute financial costs and risks across a wider pool of investors of different identities and origins. Some of these models include corporate, project finance as well as a hybrid scheme and signified a step forward from the interest stagnation for nuclear of the late 1980s into a decade (2010s) that investments in nuclear were also targeted towards the extension of the existing reactors’ lifespan through maintenance and upgrades. As for investments in new builds in the 2010s, that small number of constructions was mainly focused towards the East (Japan, Korea, China, India, Russia, South Korea), as Europe was claiming a nuclear hiatus, indicating a more preserved stance geared towards climate mitigation through carbon-reducing energy policies and minimal investing in nuclear, contrary to previous years, mainly due to the aftermath of the Fukushima Daiichi accident. However, the optimal way to observe that transition is through State case studies that realistically reflect financing and construction trends as well as acceleration and stagnation patterns.

Having already experienced the first of two oil shocks in 1973, France launched its nuclear programme, Messmer’s Plan, in the year 1974, opting thus to diversify the country’s state-owned energy generation and supply system and allocate a significant amount of funds on civil nuclear power. In the period between 2005 and 2010 a consortium of industrial investors and banks in France formed the ‘Exceltium’ with the purpose of negotiating a low priced energy-supply contract with the EDF (Électricité de France SA) through the active financing of its new plant builds. A similar corporate model of financing (Mankala) had been adopted in Finland since the 1970s. Initially tied to hydropower projects, the Mankalas were structured as limited liability companies (LLCs) with a focus on covering costs and distributing the output to their multiple shareholders.

As for costs, according to the economic analysis of Grübler the French fleet of NPPs did not encounter a stable or, as probably hoped, lower construction cost for the newer units, considering the overall plant manufacturing more than tripled after the ‘90s despite the favourable elements associated with the new structures. Despite the presumption that nuclear reactors would benefit from economies of scale, the new plants’ complexity resulted in larger investment requirements per MWe. Nevertheless, by 1999 the construction of more than 500 reactors had been concluded worldwide, with 56 of them belonging to the French EDF fleet, that until today, without new additions to the grid, provide most of the country’s low-carbon electricity.

The United Kingdom’s construction trends regarding nuclear reactors followed a similar pattern to the one led by France from a chronological perspective. Specifically, between 1956 and 1995 the U.K., utilizing three different reactor designs, constructed 41 nuclear reactors as an aggregate from which only 9 are currently operating, all of which were build, to a percentage, on public funding and were, until the acquisition of British Energy by EDF Energy in 2009, under state ownership. Other actions followed by the British government at the time to boost investor interest included the auctioning by the Nuclear Decommissioning Authority of suitable sites for new nuclear capacity. Nevertheless, the sites’ acquisition under the Horizon joint venture between German utilities RWE and EOn did not result in the development of new NPPs.

Looking towards the West, the United States, along with France, championed nuclear energy research and development, with notable fluctuations, for over 4 decades. Specifically, the U.S. Federal government from 1961 to 2008 allocated 61 billion dollars in nuclear energy research and development, an amount which was the highest among energy-centred investment projects. In total 112 reactors were constructed within U.S. borders, a number that declined in 1998 and 2022 due to demands of decommissioning for the old installations and the unfavourable grounds for the construction of new plants. For three decades, to wit the 1960s until the 1980s, utility companies subject to regulatory oversight shouldered the overrun construction costs of the NPPs under construction by transferring the extra charges to consumers. However, sole public financing of the NPPs was not an option as observed by the actions of nations that endeavoured to provide incentives for the private sector to invest in new NPPs. The United States solution to this problem came through the Energy Policy Act of 2005 which granted subsidies and guarantees curtailing electricity costs.

Notably, U.S.A’s northern neighbour, Canada, despite, having developed its own nuclear reactor design that forwent the process of uranium enrichment, the CANDU, since the 1950s, and having the advantage of being amongst the biggest producers of uranium, faced the same stagnation observed in other countries from 2005 onwards. While most recent decades were focused on the refurbishment of existing nuclear plants, nuclear energy has been and still remains a major power input in the Canadian energy mix, a fact that dates back to 1988, when it was generating 15% of Canada’s power consumption needs.

Finally, it should be noted that during the “boom” of nuclear power in the 1970s many construction plans for new nuclear reactors were abandoned, sometimes even after the construction had already been initiated, resulting in several stranded assets. Indicatively, solely in the United States, among the 100 cancelled nuclear projects almost half were in different stages of construction before being abandoned.

Financing Nuclear Projects

To initiate the process of securing financing for a new nuclear project, there are a number of components that must be distinctly articulated; comprehensive global and technical-economic analyses must provide the justification for the necessity and argue the opportunity for the launch of such a project within the existing power system, validation of the project’s value along with assurances of commitment to the objectives of the investment are equally significant, substantiating the feasibility and economic sustainability through scrupulous economic reports and handing guarantees regarding the raw material and fuel supply throughout the construction and operation period, a successful demonstration of project execution through similar technical endeavours, assessing budget allocations, development funds, possible available surpluses, financing options and ensuring the capability and reliability of the project promoter.

Epigrammatically, the financing models utilized in NPP funding are categorized in four wider groups, which are often combined to fulfil the financial needs of a certain project; government financing, corporate finance, cooperative models and project finance. In the corporate finance model every resolution of the private legal entity reflects upon its financial status and assets, while government financing does not relate to the private capital, but rather entails socially costly public funds. When it comes to Project Finance a legally and financially independent company, the Special Purpose Vehicle, is in charge of the project, with the financial responsibility and risk of the project’s sponsors, which are essentially its creators, being limited as lenders (private investors and banks). Said lenders are provided collateral in the form of guarantees or assets, leading to a hybrid of sharing the business risk and funding. The cooperative or hybrid method in financing has been also gaining considerable traction as it combines elements of other financing models.

Notably, the primary elements of NPP financing, notwithstanding their domestic or international origin, are equity and debt. To frame it appropriately, equity financing involves the purchase of equity stakes of the venture by either internal or external investors leading to the increase of capital for the project sponsors that need not be repaid like debt, which is solely externally sourced and follows the project’s creation.

Subsequently, the ideal financing route for NPPs is considered to involve large financially stable entities with strong credit history that dominate the entire supply chain of power production. NPP vendors and contractors involved in the construction of the installations could, to a certain degree, carry a part of the construction financing by choosing a FPTK (Fixed Price Turnkey) contract thus displacing a portion of the risk or adding contract performance clauses. These options, however, are not practically feasible due to the limited risk capacity of the contractors.

Conspicuously, the financing of new builds in the nuclear sector is not facilitated by nuclear law, with Sainati, Locatelli and Smith claiming that it heavily leans upon safety and security rather than economic development as a result of the major nuclear accidents. Thus the lack of evolution of atomic legislation, contrary to the trends in energy law, renders its financing revenues lacklustre. A statement that is also emphasized by the fact that large multilateral and regional development banks, such as the World Bank and its affiliates, do not provide financing for nuclear projects, excluding them from accessing financing programs with the inclusion of loans offered by the International Finance Corporation (IFC) and its associated banks.

Current Investments in Nuclear Technologies

As a potential solution to the economy decarbonization plans worldwide, the promotion of investments in nuclear new builds has significantly accelerated. Developed and developing States, even emerging economies, have sought out the private sector for investments in nuclear projects through the utilization of project finance models and, as of 2025, according to the Power Reactor Information System (PRIS) of the IAEA, the number of reactors that are under construction rose to 61 in 15 countries, with a total net power capacity of 63,831 MW.

In 2017 the United Kingdom was appraising a budget investment of 100 million pounds in SMR installations, while now the government is almost doubling that amount-196 million pounds-in grants to Urenco for the construction of an installation specializing in the enrichment of uranium. The EDF, on the other hand, is considering investing to the five operating British plants a cumulative amount of 1,3 billion pounds to sustain existing levels of energy supply. As for investment incentives, a new financing model, the Regulated Asset Base (RAB), was proposed (The Nuclear Energy Financing Bill) in 2021 to attract a wider pool of private investors towards nuclear new builds due to its successful past implementation in different infrastructure projects.

The Canadian government has also opted to invest in Small Modular Reactors by allocating, in 2022, through the National Resources Canada’s Enabling Small Modular Reactors Program a cumulative amount of 29.6 million Canadian dollars on R&D towards the commercialization of innovative SMRs that will displace fossil fuel powered sources of electricity. Another 13.6 million were provided in 2024 to nine SMR research projects based in Canada,  while the CIB (Canda Infrastructure Bank) realised a capital of 970-million dollars for the promotion of the first Canadian SMR at OPG’s (Ontario Power Generation) Darlington site. As to other nuclear energy investments, the national Ministry of Energy and Natural Resources proceeded to a 50 million Canadian dollar investment for the expansion of the Bruce Power Nuclear Power plant, while the BWX Technologies, Inc., committed to the additional growth of their nuclear manufacturing plant in Cambridge, dedicated the amount of 80 million dollars in funds for their facility expansion.

Following a similar strategy, Europe’s biggest nuclear supporter branding 56 active nuclear reactors, France, faced with the inevitable decommissioning of a significant part of its nuclear fleet, elected through its France 2030 investment plan to allocate one billion euros to the development of SMRs. Furthermore, following the approval of the French parliament in 2023, the nuclear investment plan of the government put forth a funding of 52 billion euros for the construction of six PWRs in three different locations. However, the struggles that have been faced in the construction and financing of the new plants in Flamanville have not facilitated incentivization of investments in new nuclear capacity.

Across the Atlantic, with two new GEN III+ reactors reaching criticality in 2023 and 2024, the United States closed the 30-year circle of nuclear construction dormancy. The global leader in nuclear power production, as of October 2024, has launched the application process for funding in the deployment of GEN III+ SMRs in the amount of 900 million dollars. President Trump’s administration has embarked on a journey that chases the quadruple extension of the country’s current nuclear capacity by 2050, through an 80 billion dollar deal with Westinghouse. The ambition of the government is mirrored by the private sector through investment agreements that focus on clean energy sources, outside the scope of renewables, based on nuclear technology solutions. The facilitation of new builds in the U.S. continues to be promoted by financial incentives, one of which is the extension of the production tax credit of the Energy Policy Act of 2005 to nuclear capacity added to the grid after 2021.

Looking towards the East, the Peoples Republic of China has already initiated the construction of 29 reactors that will be added to its existing 59-reactor fleet, while it is also the first country to commercially operate a GEN IV reactor (Huaneng Shandong Shidao Bay Nuclear Power Plant), the technology for the development of which is mostly credited to national R&D endeavors. In the Chinese energy agenda, nuclear power capacity, despite its current small percentage (5% of total power generated), is set to be tripled, considering that until 2035 the government has proposed through the 14th Five-Year Plan the construction of 150 additional nuclear reactors in a tight time-frame, with almost a fifth of which currently in different stages of construction.

Ambitious plans have also been set by the government of China’s neighbor, India, as intentions to deploy one reactor annually based on the country’s commitment to reach net zero emissions by 2070, are enabled by Russia’s assistance. Already boasting 22 traditional nuclear reactors, India has strategically turned its attention towards the construction of small and modular reactors providing incentives for SMR development to the private sector. Taking into account that nuclear capacity in the country doubled within a decade, estimations indicate a possible tripling of the existing power capacity by 2032.

Another global nuclear leader, along with China, that should be discussed for inclusion and comprehension purposes, is Russia. Looking towards a traditional and SMR reactor interplay, the Eurasian country is intending to increase its current nuclear capacity by 1,25 percent until 2042, a draft proposal that has been set under public consultation since September of 2024. Russia’s leading nuclear company and expert, Rosatom, is aiming for a 70 to 80% increase in nuclear power share by the end of the century heavily supported by the fast reactor with a closed fuel cycle concept, despite a small decrease in its output in the previous year. Nevertheless, the most crucial point in the Russian nuclear policy mixes with its political agenda and involves the construction of nuclear reactors in other countries and as of 2024, Russia’s Rosatom is the main constructor of 7 nuclear power plants located in 6 different States around the world; Turkey, Egypt, Iran, India, China and Bangladesh.

In the fusion arena, funding was calculated to 6.2 billion dollars up until 2023. For the aforementioned year in particular, according to the Fusion Industry Association’s fourth annual report, an over 50 percent increase in public funding was observed compared to the 2022 numbers. That augmentation in the commercial fusion budgets remains prominent, despite being more lingering-paced, for 2024, as of which total investment is calculated to over 7.1 billion dollars. Strictly limiting the examination framework within national borders, the government of the United States granted an amount of funding that surpassed all previous allocations, with a spending bill through a new Fusion Energy Strategy 2024 that was accompanied by several other initiatives including a funding opportunity of 180 million dollars for Fusion Innovative Research Engines (FIRE) Collaboratives. Germany, on the other hand, launched through its Federal Ministry of Education and Research a new fusion-oriented project-funding programme to advance the viability of a commercial fusion reactor, which would ultimately lead to the construction of a fusion power plant by 2040. A similar approach is observed in the United Kingdom, where the Fusion Futures Programme promises public investments by 2027 that will reach 650 million in new nuclear fusion research and development, a number that does not shy away from the 826 million pounds already invested in fusion research.

With regards to the new players in the nuclear field, Turkey, Bangladesh and Egypt are currently constructing their first commercial nuclear power reactor, while other countries that have recently opted to diversify their energy source through integrating nuclear in the energy mix include Belarus with two reactors connected to the grid in 2020 and 2023 and the United Arab Emirates with four nuclear reactors reaching criticality each consecutive year from 2020.

Risk and Rewards of Nuclear Investments

Risk is an inextricable part of an investment portfolio. It indicates the likelihood of an event occurrence accompanied by the significance of said event. The risks that humans tend to stray from are the ones which entail large consequences, but even those are acceptable when the probability is low or very low. As an emergent phenomenon, risk can also be measured. However, calculating the risk associated with an investment is never a straightforward process as it usually entails numerical depictions through financial theory measures as well as an advanced level of comprehension of financial market mechanisms. Reward, on the other hand, is located at the other end of the spectrum, as it reflects the possible benefit of taking action.

In the nuclear sector, a widely used measuring scheme in order to determine whether to proceed with investing or look for alternative projects is the Net Present Value (NPV). Essentially, in the NPV approach the expected costs are calculated along with the total present value of the anticipated income derived from the facility. Finally, the NPV derives from the divergence of the calculated figures. However, the NPV methods face limitations in the face of implicit assumptions as well as complexities and uncertainties inherent in large-scale, long-term investment projects like nuclear power plants. An answer to such a boundary could be found in an evaluation approach that deals with such uncertainties and was introduced in 1985 as the real options analysis (ROA). The ROA can extend the valuation of the NPV framework by integrating managerial flexibility to respond to different scenarios. Nevertheless, while widely used, the aforementioned approaches do not take precedence over other methods, like the Monte Carlo Simulation, but are rather utilized in conjunction with several other approaches in a case by case basis.

The above discussed models incorporate several risk factors, some of which are specific to the nuclear sector. In the topic of industry exclusive risks, an “endemic” issue revolves around the delays associated with the construction of nuclear projects which are inevitably accompanied by cost increases. The burden of such cost overruns is even more profound to investors due to the high up-front financing demanded by the project’s needs, thus shaping the financing risks as probably the most pressing when it comes to nuclear investments. Another, unique risk element to the nuclear sector, that challenges the composition of a concrete environmental assessment but also reflects on an economic front, is the severity of the consequences of nuclear reactor accidents. Despite advancements in safety, existing nuclear reactors inherently retain a residual risk of severe accidents and significant radioactive releases, and although next generation designs aim to further mitigate these risks, the possibility of a catastrophic event cannot be entirely eliminated. In the category of perceived risks, public awareness, fueled by stigmatization that has resulted in a NIMBY effect, places nuclear waste and proliferation on a major severity risk level, while the stringent regulatory regimes, both international and domestic, combined with fluctuating political landscapes constitute risks that decrease investor flexibility and dampen confidence in nuclear investments.

Benefits relating to nuclear investments should not be overlooked in the face of the relevant risks. Despite nuclear construction’s contribution to greenhouse gas emissions, it is generally accepted that CO2 emissions during reactor operations are not substantial, resulting to comparisons with emissions originating from renewables. The aforementioned argument is reinforced by the acknowledgement that, contrary to fossil fuel plants, nuclear stations do not release local pollutants which could be detrimental to the health of nearby populations. Furthermore, connecting a nuclear plant to an existing energy grid, other than diversification of electricity sources, entails the employment of a baseload, dependable power source that contributes a vital portion in the national energy mix, that is likely to securely generate and supply power for several decades due to the technology’s inherent longevity and durability.

The Future of Nuclear Energy

In the past many States opted to turn their backs to nuclear power through the decommissioning of their existing reactors due to political pressures fueled by the sensational nuclear accidents that terrorized and still do terrorize to some extent, public perception of atomic energy. Now, however, a new global challenge has emerged that elevates clean energy to an essential component for future development and progression; climate change. The act of generating power in this new playing field is accompanied by restrictions in greenhouse gas emissions, which is not feasible for traditional fossil fueled power plants. While States endeavor to navigate this transitional period regarding energy sources, nuclear power plants have been highlighted by research as a more ecologically friendly solution compared to conventional power production facilities. Thus, the underlying question is whether opting for a hybrid system through the inclusion of nuclear in a State’s energy mix is the answer to the political energy security concerns.

Policies & Global Energy Strategies

According to the International Energy Agency’s report “The Path to a New Era for Nuclear Energy”, atomic power is on a path of rebirth. A number of countries have strengthened their commitment to expanding nuclear power capacity by 2050, indicating a substantial transformation in global energy policy frameworks. Quantitatively, over 40 countries globally have set forth plans for nuclear capacity expansion with 70 gigawatts of additional output being currently under construction around the world. China has emerged as the global leader in nuclear energy expansion, with the highest number of reactors under construction-surpassing the combined total of the next six countries-and has consistently authorized the development of ten new reactors annually over the past two years.

This shift in national energy policy may be regarded as unexpected or unanticipated, especially considering the reaction to and subsequent actions of State actors in the dawn of the Fukushima nuclear accident. The stance towards nuclear has drastically changed with the dawning of the new decade. Examples of States that have delayed their plans for nuclear phase-out and have opted for life-time extensions of some of their reactors include Belgium. Other EU member States are finalizing their plans to reintroduce nuclear energy in their domestic energy mix, like Italy that after decades of anti-nuclear energy policy and a technological ban has formed a revival plan to strategically reinforce the country’s energy security and reach its decarbonization goals with significant financial savings. After over a decade of stagnation, Japan has declared its intention to reactivate numerous nuclear reactors that have remained offline since the Fukushima Daiichi nuclear incident with 11 of them already getting a restart approval from the regulator, while previously anti-nuclear Germany is grappling with a potential comeback of nuclear power in order to diversify the nation’s energy mix.

From the international or regional organizations perspective, the Nuclear Energy Agency’s (NEA) fifth Strategic Plan, which outlines the agency’s mission and goals between 2023 to 2028, acknowledges nuclear power as an important tool for climate change mitigation and a pillar for energy security. The plan of the organization also recognizes the notable shift of nuclear expertise, innovation and R&D from the public sector toward greater involvement by private entities. As to the International Atomic Energy Agency’s Medium Term Strategy, which outlines the period between 2024 and 2029, global nuclear capacity will rise in response to the expected increase in energy demand. In light of several countries’ engagement in nuclear science and applications, the report highlights the growing interest in long-term nuclear plant operation, advanced reactor technologies-including SMRs suited for medium scale grids-non-electric applications, hybrid nuclear-renewable systems, and closed fuel cycles that reflect nuclear power’s expanding role in the clean energy transition, while sustained R&D and increasing public and private investment are observed as tools of accelerating progress toward the future deployment of fusion energy. Also, the report of the IAEA does not abstain from mentioning the significant role that the advancement of nuclear law will play in the resolution of emerging challenges in the field.

In 2024, fourteen leading international financial institutions, including Bank of Amerika and Morgan Stanley, expressed formal support for nuclear energy during New York Climate Week, aligning with the COP28 goal of tripling global nuclear capacity by 2050. Additionally, after 15 years of hiatus, the European Investment Bank is actively engaging in nuclear fuel cycle investment following the execution of a 400 million euros loan agreement with Orano for the partial financing of the French Georges Besse II uranium enrichment facility’s expansion.

Global climate policy finally recognizes nuclear energy as an essential part of the solution to climate change. Opinions and actions reflect a major turning point regarding the prominence of nuclear power in achieving ambitious greenhouse gas emission reduction targets. Most importantly, the introduction of nuclear energy in the first Global Stocktake under the Paris Agreement indicates the global consensus that nuclear power is considered as one of the strategic tools to battle climate change.

Challenges

The Strategic Plan of the NEA highlights the demand for a regulatory framework reform that will streamline the licensing process for new nuclear power plants and adapt the existing regime to the technological advancements and the digitalization transformation. Additionally, it incorporates the absence of highly skilled and well-educated professionals to fulfill diverse functions within the nuclear industry and the formulation of strategies to facilitate more inclusive and comprehensive engagement with civil society among the challenges in the sector. The report, albeit briefly, touches upon public perception and its divergence, alluding to it as an issue requiring significant effort from the sector to be resolved. That view strengthens the argument that social perspectives on nuclear power greatly differ between States and have historically been significantly affected by the consequences of adverse events that were accompanied by death, human health implications and damages, thus resulting in the creation of societally-created obstacles and hesitation associated with NPP construction.

Another major point of concern for the industry revolves around costs. Financial viability of nuclear projects should be enhanced to promote investor confidence. The economic rational of a specific project can be significantly undermined due to budget overruns, demoting the construction from a worthwhile investment to a stranded asset as well as hidden costs, like decommissioning expenses. Some of the emerging nuclear technologies, like the microreactors, are projected to be more cost competitive in markets that traditional nuclear power plants would never contend in due to their cost accumulation. That being said, however, preconditions the streamlining of these new technological designs, which will in turn bring down manufacturing costs. Also, not to be disregarded, the development and utilization of dedicated infrastructure and technological systems for waste management and disposal facilities as well as the prolonged oversight and administration of said facilities entail considerable financial commitments.

Furthermore, nuclear fuel for fission reactors is neither inexhaustive nor, the raw materials, controlled by many. The current operating fleet consists of thermal reactors that utilize 0,7% of natural uranium, isotope uranium 235, to generate energy. Based on consumption statistics of 2021, identified uranium resources could provide fuel for the next 130 years. That calculations only took into account the operating plants at the time, rather than future scenarios for new additions to the grid. An expansion in installed nuclear power capacity must be accompanied by a corresponding growth in uranium mining capacity to ensure a stable and reliable fuel supply for nuclear reactors. That proportional increase, however, should take into consideration the new technological advancements in the industry, including SMRs that require smaller quantities of fuel than traditional plants as well as other primary sources like depleted uranium and plutonium.

Finally, another important parameter, closely relevant to the nuclear fuel cycle and the environmental concerns associated with the industry, that hinders nuclear capacity expansion and new plant construction, is the safe and effective management of spent fuel and high-level radioactive waste. To efficiently place matters into perspective, the management and disposal of radioactive waste are considered matters of national jurisdiction, necessitating that each State utilizing nuclear energy establish a clear strategy for handling the back-end elements of the nuclear fuel cycle. The available international strategies regarding the management of radioactive waste are disposal, storage and reprocessing. Despite the empirical evidence indicating that the nuclear industry does not have a “monopoly” in the generation of hazardous and toxic waste, the strict regulatory regime around the waste produced by the nuclear sector, and the comparably lesser amount of relevant waste generated, public perception and social concerns are disproportionate to the risk at hand as the majority of radioactive waste is subject to established management protocols and is currently being handled in accordance with regulated procedures. That observation, nevertheless, does not render the challenge of radioactive waste management less significant as several parameters should be taken into account, among which are the protection of the environment and human health as well as the minimal intergenerational impact.

Resurgence or Decline

Some papers have construed a solid case supporting the recent reinvigoration of nuclear power. That renewed, global interest is in line with the technological developments already discussed, and particularly the emergence of the new generation of reactors, GEN-IV, and the SMRs. Also, significant advancements in the efficiency and safety of existing nuclear power plants have been realized, resulting in the extension of their operational lifespans from 60 to 80 years in numerous countries. These enhancements not only improve the financial viability of existing assets but simultaneously support the long-term stability of energy supplies. Emerging technologies, on the other hand, such as machine learning and Artificial Intelligence are increasingly being integrated into the nuclear sector to ameliorate operational safety, plant management and efficiency, while international cooperation in the field has evolved considerably in response to shifting geopolitical dynamics and technological improvements. However, the most decisive factors in the current nuclear resurgence are considered to be climate change, sustainable development trends and, apparently, the unprecedented AI boom – skyrocketing electricity demand.

That being said, advanced nuclear technologies are still in the developmental stage and their future viability will largely depend on whether they can offer clear and significant benefits compared to alternative energy generation methods. Substantial uncertainty surrounds the financing, operational performance and cost of advanced nuclear reactors, compounded by unpredictable long-term market developments, particularly beyond 2030. Based on these factors coupled with the rise of renewable energy sources, some papers suggest that it seems unlikely for nuclear power to play a catalytic role in the current energy transition and emission reduction efforts as its decline patterns, traced to the prior two decades, indicate a steady decline. That recessive pattern will only be halted by politically and economically driven reasons in certain parts of the world, while in other territories existing reactors will solely be benefited through lifespan extensions.

Comprehensively, nuclear energy presents both significant benefits and inherent drawbacks stemming from its distinctive technological nature, with these aspects often existing in a trade-off relationship. As a result, the decision to embrace the risks associated with nuclear power in exchange for its advantages-or to seek alternatives-ultimately hinges on societal consensus and collective value judgements. This underscores that the primary considerations in determining the future of nuclear energy are not solely technical, but rather centered on public perception and acceptance, economic concerns, construction times and waste management.

Conclusive Remarks

It seems fitting to return, in conclusion, to the initial discussion of the introduction on COP28’s perspective on nuclear power, thereby bringing the analysis full circle with the outcomes of the most recent COP29. COP28 was characterized as a historical moment for nuclear energy as other than its “controversial” inclusion among the low-emission technologies, the acceleration of its deployment by 2050 also received the support of 22 States through the launch of a separate declaration to triple nuclear energy capacity. The Baku-based COP29 reinforced the political attitudes towards nuclear that had already started to shift since the previous COP. The recognition of the significance of the technology with regards to decarbonization by even more State actors-31 countries-, the AI centers’ electricity demands, the current geopolitical situation, and the practical commitments to nuclear capacity expansion and advanced nuclear technology adoption, as previously addressed, underscore the placement of nuclear power as an efficient, stable and low-carbon-generating solution to energy demands and a complement to renewable sources’ deployment.

Diverting from the realm of pledges towards tangible steps and implementation, recent developments indicate that “traditional” NPP construction has geographically moved towards the East, as the West attempts to lower reactor financing costs through economies of scale associated to factory mass-production of SMRs. Notably, the current wave of investment is largely concentrated in countries with established nuclear infrastructure. Even though the number of entirely new entrants to the nuclear domain remains modest, their presence is nevertheless significant and suggests a slow but meaningful expansion of global nuclear engagement.

At the research and development frontier, national and regional initiatives have recently intensified their focus on nuclear fusion, with many programs receiving substantial public funding. Although still at a very early stage in terms of commercial viability, fusion’s prominence in policy and funding agendas signals a long-term strategic vision for nuclear power’s role in future energy systems.

Within the sphere of financing, state support continues to constitute the cornerstone of nuclear support through the investment in the industry of major vertically integrated utilities that are state-owned, government-regulated or backed by sovereign entities. While the private capital’s involvement is boosted through emerging trends that are creating greater opportunities to enhance project economic efficiency, as new evolving financing models allow for better diversification of design risk-particularly important given the historically high and often uncertain investment costs.

Nonetheless, impediments to the acceleration of nuclear deployment are not limited to financing and cultural stigma. Challenges intrinsic to traditional nuclear “megaprojects”-particularly those related to financing-continue to deter potential investors, often leading to project deadlock. In response, the sector has increasingly turned to advanced nuclear technologies, marking a critical shift in strategic direction. Although many GEN-IV reactor designs are not novel in concept-having been originally proposed during the early phases of nuclear development-their contemporary implementation requires significant redesign. Current efforts concentrate on improving reactor efficiency, strengthening inherent safety mechanisms, minimizing accident risks, lowering both capital and operational costs and addressing persistent issues such as spent fuel management and anticipated scarcity. These objectives are pursued through innovations including closed fuel cycles, recycling strategies and the use of alternative fuels.

It is, therefore, evident that investment in nuclear energy remains heavily influenced by sector-specific risks-regulatory, financial and reputational-that continue to constrain private-sector engagement. This raises a broader and enduring question: to what extent does nuclear power remain a political decision? Amid the mounting pressure to meet decarbonization targets and rising energy demands, the global emphasis on sustainability goals and the increasing urgency of ensuring secure energy supply due to the geopolitical state of affairs and the new AI bubble of the tech companies, political will stands as a decisive factor in shaping the future of nuclear energy. Yet, the lasting legacy of past nuclear accidents persists as a major influence of public perception and policy design-highlighting the complex interplay between technological promise, societal acceptance and strategic governance in the future of nuclear energy. That being said, one certainty remains: net zero goals and electricity demands cannot be achieved through solely the increase of renewable energy capacity. And that fact is what ultimately places in the debate table nuclear 2.0.

Malko, M. V. (2002). The chernobyl reactor: design features and reasons for accident. Recent research activities about the Chernobyl NPP accident in Belarus, Ukraine and Russia, 11.

United Nations Climate Change (2023), “COP28 Agreement Signals ‘Beginning of the End’ of the Fossil Fuel Era”, https://unfccc.int/news/cop28-agreement-signals-beginning-of-the-end-of-the-fossil-fuel-era.

Satgar, V. (2018). The climate crisis and systemic alternatives. The Climate Crisis: South African and Global Democratic Eco-Socialist Alternatives, 1-28.

Jean-Baptiste, P., & Ducroux, R. (2003). Energy policy and climate change. Energy policy, 31(2), 155-166. See also Maipas, S., & Kavantzas, N. (2024). Climate Crisis: A Term Used to Avert an Environmental Health Medieval Era. Environmental Health Insights, 18, 11786302231224582. The term “natural sinks” refers to natural ecosystems, to wit land and oceans, that have been serving as regulators of anthropogenic greenhouse gas emissions since before the 18th century. See Jones, C. D., Ciais, P., Davis, S. J., Friedlingstein, P., Gasser, T., Peters, G. P., Wiltshire, A. et al., (2016). Simulating the Earth system response to negative emissions. Environmental Research Letters, 11(9), 095012.

Van De Graaf, T., & Sovacool, K. B. (2020), “Global Energy Politics”, Polity.

Dorian, J. P., Franssen, H. T., & Simbeck, D. R. (2006). Global challenges in energy. Energy policy, 34(15), 1984-1991.

Glaser, C. L. (2013). How oil influences US national security. International Security, 38(2), 112-146.

Ahmed, N., Sheikh, A. A., Mahboob, F., Ali, M. S. E., Jasińska, E., Jasiński, M., Burgio, A. et al. (2022). Energy diversification: a friend or foe to economic growth in Nordic countries? A novel energy diversification approach. Energies, 15(15), 5422.

Ibid. See also Herzog, A. V., Lipman, T. E., & Kammen, D. M. (2001). Renewable energy sources. Encyclopedia of life support systems (EOLSS). Forerunner Volume-‘Perspectives and overview of life support systems and sustainable development, 76.

Azarpour, A., Suhaimi, S., Zahedi, G., & Bahadori, A. (2013). A review on the drawbacks of renewable energy as a promising energy source of the future. Arabian Journal for Science and Engineering, 38, 317-328.

Fernández-Arias, P., Vergara, D., & Antón-Sancho, Á. (2023). Global Review of International Nuclear Waste Management. Energies, 16(17), 6215.

Gin, S., Abdelouas, A., Criscenti, L. J., Ebert, W. L., Ferrand, K., Geisler, T., ... & Vienna, J. D. (2013). An international initiative on long-term behavior of high-level nuclear waste glass. Materials Today, 16(6), 243-248.

Haider, Q. (2019). Nuclear fusion: holy grail of energy. In Nuclear Fusion-One Noble Goal and a Variety of Scientific and Technological Challenges. IntechOpen.

Markard, J., Bento, N., Kittner, N., & Nuñez-Jimenez, A. (2020). Destined for decline? Examining nuclear energy from a technological innovation systems perspective. Energy Research & Social Science, 67, 101512.

Strauss, M. (2022), “EU declares nuclear and gas to be green”, DW, www.dw.com/en/european-commission-declares-nuclear-and-gas-to-be-green/a-60614990.

Gross, J. (2023), “22 Countries Pledge to Triple Nuclear Capacity in Push to Cut Fossil Fuels”, The New York Times, www.nytimes.com/2023/12/02/climate/cop28-nuclear-power.html.

Dale, S. (2023), “Nuclear Small Modular Reactors (SMRs) 2023-2043”, IDTechEx, www.idtechex.com/en/research-report/nuclear-small-modular-reactors-smrs-2023-2043/934.

Paddison, L. (2023), “Scientists successfully replicate historic nuclear fusion breakthrough three times”, CNN, https://edition.cnn.com/2023/12/20/climate/nuclear-fusion-energy-breakthrough-replicate-climate/index.html.

Murray, R., & Holbert, K. E. (2014). Nuclear energy: An introduction to the concepts, systems, and applications of nuclear processes. Elsevier.

Sundaram, C. V., & Mannan, S. L. (1989). Nuclear fuels and development of nuclear fuel elements. Sadhana, 14, 21-57.

Wagemans, C. (1991). The nuclear fission process.

World Nuclear Association (n.d.), “How does a nuclear reactor work?”, https://world-nuclear.org/nuclear-essentials/how-does-a-nuclear-reactor-work.aspx.

Energy Education (n.d.), “Nuclear power plant”, https://energyeducation.ca/encyclopedia/Nuclear_power_plant.

The atomic nucleus (nuclide) lies at the central core of the atom, is comprised of nucleons, to wit protons and neutrons and contains the greatest portion of the atom’s mass. Carter, J. F., Sleeman, R., Hill, J. C., Idoine, F., & Titterton, E. L. (2005). Isotope ratio mass spectrometry as a tool for forensic investigation (examples from recent studies). Science & Justice, 45(3), 141-149.

Schunck, N., & Regnier, D. (2022). Theory of nuclear fission. Progress in Particle and Nuclear Physics, 125, 103963.

De Sanctis, E., Monti, S., & Ripani, M. (2016). Energy from nuclear fission. Undergraduate Lecture,© Springer International Publishing Switzerland.

Ibid.

The term “spent fuel” is employed to address used nuclear fuel, which can no longer sustain a nuclear chain reaction at economically feasible power levels. Usually following a 18 to 36 month operation period the fuel is retrieved from the reactor to be either reprocessed, through the extraction of the recyclable fissile material, or classified as high level waste and subsequently disposed. See Spector, L. S., & Shields, G. B. (1979). Nuclear Waste Disposal: An International Legal Perspective. Nw. J. Int'l L. & Bus., 1, 569 & World Nuclear Association (2021), “Nuclear Fuel Cycle Overview”, https://world-nuclear.org/information-library/nuclear-fuel-cycle/introduction/nuclear-fuel-cycle-overview.aspx (Accessed October 2023)

Rodríguez-Penalonga, L., & Moratilla Soria, B. Y. (2017). A review of the nuclear fuel cycle strategies and the spent nuclear fuel management technologies. Energies, 10(8), 1235.

Ibid.

Ibid.

Taebi, B., & Kloosterman, J. L. (2008). To recycle or not to recycle? An intergenerational approach to nuclear fuel cycles. Science and Engineering Ethics, 14, 177-200.

Namugenyi, C., Nimmagadda, S. L., & Reiners, T. (2019). Design of a SWOT analysis model and its evaluation in diverse digital business ecosystem contexts. Procedia Computer Science, 159, 1145-1154.

Ibid.

Leigh, D. (2009). SWOT analysis. Handbook of Improving Performance in the Workplace: Volumes 1‐3, 115-140.

Da Mata, J. F., Neto, R. O., & Mesquita, A. Z. (2017). Comparison of the performance, advantages and disadvantages of nuclear power generation compared to other clean sources of electricity.

De Sanctis, E., Monti, S., & Ripani, M. (2016), supra note 26.

Akyüz, E. (2017). Advantages and disadvantages of nuclear energy in Turkey: Public perception. Eurasian Journal of Environmental Research, 1(1), 1-11.

Fernández-Arias, P., Vergara, D., & Antón-Sancho, Á. (2023). Global Review of International Nuclear Waste Management. Energies, 16(17), 6215.

Ojovan, M. I. (2023). Nuclear waste disposal. Encyclopedia, 3(2), 419-429. See also Chapman, N., & Hooper, A. (2012). The disposal of radioactive wastes underground. Proceedings of the Geologists' Association, 123(1), 46-63.

IAEA (2014), Radiation Protection and Safety of Radiation Sources: International Basic Safety Standards; Safety Standards Series GSR Part 3; IAEA: Vienna, Austria.

Aytbaev, B., Grigoriev, D., Lavrenchuck, V., Mayhew, N. C. (2020), “Don’t let nuclear accidents scare you away from nuclear power”, Bulletin of the Atomic Scientists.

Kovacs, P., & Gordelier, S. (2009). Nuclear power and the public. NEA News, 27(1), 4-7. The producers alluded at are Canada and Australia.

Sovacool, B. K., Gilbert, A., & Nugent, D. (2014). Risk, innovation, electricity infrastructure and construction cost overruns: Testing six hypotheses. Energy, 74, 906-917.

Ishola, F. A., Olatunji, O. O., Ayo, O. O., Akinlabi, S. A., Adedeji, P. A., & Inegbenebor, A. O. (2019). Sustainable nuclear energy exploration in Nigeria–A SWOT analysis. Procedia Manufacturing, 35, 1165-1171.

Kessides, I. N. (2010). Nuclear power: Understanding the economic risks and uncertainties. Energy Policy, 38(8), 3849-3864.

World Nuclear Association (2022), “Safety of Nuclear Power Reactors”, https://world-nuclear.org/information-library/safety-and-security/safety-of-plants/safety-of-nuclear-power-reactors.aspx.

Faure, M. G., & Borre, T. V. (2008). Compensating nuclear damage: A comparative economic analysis of the US and international liability schemes. Wm. & Mary Envtl. L. & Pol'y Rev., 33, 219. The liability regime could be deemed as a threat from a nuclear operator’s perspective, who carries the full weight of legal liability.

Kessides, I. N. (2010), supra note 46.

Hardy, H. (2021). Nuclear Energy and Controversy: The Debate Over Its Future in Legislation. VOICESof usu, 59.

Kessides, I. N. (2010), supra note 46.

Hardy, H. (2021), supra note 47.The most standard form of feedstock for nuclear fuel is uranium.

Kessides, I. N. (2010), supra note 46.

Kasperski, T., & Storm, A. (2020). Eternal care: Nuclear waste as toxic legacy and future fantasy. Geschichte und Gesellschaft, 46(4), 682-705.

Saenko, V., Ivanov, V., Tsyb, A., Bogdanova, T., Tronko, M., Demidchik, Y., & Yamashita, S. (2011). The Chernobyl accident and its consequences. Clinical Oncology, 23(4), 234-243.

Ishola, F. A., Olatunji, O. O., Ayo, O. O., Akinlabi, S. A., Adedeji, P. A., & Inegbenebor, A. O. (2019), supra note 45.

Sovacool, B. K., Gilbert, A., & Nugent, D. (2014), supra note 44.

Markard, J., Bento, N., Kittner, N., & Nuñez-Jimenez, A. (2020), supra note 14.

Schneider, M., & Froggatt, A. (2014). The world nuclear industry status report. Elérhető: http://www. worldnuclearreport. org/IMG/pdf/201408mscworldnuclearreport2014-hr-v4. pdf (Elérés: 2014. 10. 29.).

GOV.UK (2024), “Biggest expansion of nuclear power for 70 years to create jobs, reduce bills and strengthen Britain’s energy security”, www.gov.uk/government/news/biggest-expansion-of-nuclear-power-for-70-years-to-create-jobs-reduce-bills-and-strengthen-britains-energy-security. See also Africanews (2023), “South Africa opts for nuclear power as part of measures to address electricity crisis”, www.africanews.com/2023/12/12/south-africa-opts-for-nuclear-power-as-part-of-measures-to-address-electricity-crisis/.

World Nuclear Association (2024), “Nuclear Power in the United Arab Emirates”, https://world-nuclear.org/information-library/country-profiles/countries-t-z/united-arab-emirates.aspx. See also World Nuclear Association (2023), “Emerging Nuclear Energy Countries”, https://world-nuclear.org/information-library/country-profiles/others/emerging-nuclear-energy-countries.aspx.

Pollin, R. (2023). Fossil Fuel Industry Phase-Out and Just Transition: Designing Policies to Protect Workers’ Living Standards. Journal of Human Development and Capabilities, 24(4), 539-568.

McCombie, C., Pentz, D. L., Kurzeme, M., & Miller, I. (2000). Deep geological repositories: A safe and secure solution to disposal of nuclear wastes. In ISRM International Symposium (pp. ISRM-IS). ISRM.

Agyekum, E. B., Ansah, M. N. S., & Afornu, K. B. (2020). Nuclear energy for sustainable development: SWOT analysis on Ghana’s nuclear agenda. Energy Reports, 6, 107-115.

NICE Future (n.d), “Bringing Nuclear into the Clean Energy Conversation: About the NICE Future Initiative”, www.nice-future.org/about.  (Accessed January 2024)

### Трухан, Е. В., Кобяк, О. Н. (2011), “ Английский язык для энергетиков”.

Aytbaev, B., Grigoriev, D., Lavrenchuck, V., Mayhew, N. C. (2020), supra note 42.

Хомич, В. С. (2021). Disadvantages of nuclear energy. The rigid licensing processes as described by international conventions, if examined from the general public’s perceptive, could be categorized as strength factors, providing an extra layer of safety to nuclear operations.

Arora, R. U., & Sarker, T. (2023). Financing for sustainable development goals (SDGs) in the era of COVID-19 and beyond. The European Journal of Development Research, 35(1), 1-19.

Zhu, W., Wei, J., & Zhao, D. (2016). Anti-nuclear behavioral intentions: The role of perceived knowledge, information processing, and risk perception. Energy Policy, 88, 168-177.

Schneider, M., & Froggatt, A. (2014), supra note 59.

Cirincione, J. (2007). Bomb scare: the history and future of nuclear weapons. Columbia University Press.

Ragheb, M. (2012). FIRST HUMAN MADE REACTOR AND BIRTH OF NUCLEAR AGE. energy, 8, 6.

Reed, T., & Stillman, D. (2010). The nuclear express: A political history of the bomb and its proliferation. Zenith press.

Char, N. L., & Csik, B. J. (1987). Nuclear power development: History and outlook. IAEA bulletin, 3, 1987.

Prăvălie, R., & Bandoc, G. (2018). Nuclear energy: Between global electricity demand, worldwide decarbonisation imperativeness, and planetary environmental implications. Journal of environmental management, 209, 81-92.

Merk, B., Litskevich, D., Whittle, K. R., Bankhead, M., Taylor, R. J., & Mathers, D. (2017). On a long term strategy for the success of nuclear power. Energies, 10(7), 867.

International Atomic Energy Agency (2023), “History”, www.iaea.org/about/overview/history (Accessed on January 2024). The International Atomic Energy Agency will be referred to hereinafter as IAEA.

Atomic Heritage Foundation (n.d.), “Eisenhower’s ‘Atoms for Peace’ Speech”, https://ahf.nuclearmuseum.org/ahf/key-documents/eisenhowers-atoms-peace-speech/ (Accessed on January 2024). See also Schock, R. N. (2003). Atoms for Peace After 50 Years: The New Challenges and Opportunities.

Hohenemser, C., Kasperson, R., & Kates, R. (1977). The Distrust of Nuclear Power: Nuclear power is assessed hypercritically because of its unique history, complexity, and safety management. Science, 196(4285), 25-34. See also Weinberg, A. M. (1976). Views: The Maturity and Future of Nuclear Energy: The most serious question now facing nuclear energy is its acceptance by the public. American Scientist, 64(1), 16-21.

Damian, M. (1992). Nuclear power: The ambiguous lessons of history. Energy policy, 20(7), 596-607. See also E.A.G. Robinson and G.H. Daniel, Actes de la Conference Internationale sur l'utilisation de I'energie atomique ~ des fins pacifiques (Proceedings of the International Conference on the Use of Atomic Energy for Peaceful Purposes), Geneva, 8--20 August 1955, Vol 1, United Nations, Geneva, 1956, pp 40-52.

Prăvălie, R., & Bandoc, G. (2018)., supra note 76. See also Sundaram, C. V., & Mannan, S. L. (1989). Nuclear fuels and development of nuclear fuel elements. Sadhana, 14, 21-57.

Damian, M. (1992), supra note 81.

Ibid.

Ibid.

Chater, J. (2005). A history of nuclear power. Focus on Nuclear Power Generation, 28.

Ibid. In totality approximately 80 nuclear power plants were operating during 1970, while in 1985 that number had increased to over 360 reactors.

Van De Graaf, T., & Sovacool, K. B. (2020), supra note 5.

Kirchhof, A. M., & Meyer, J. H. (2014). Global protest against nuclear power. Transfer and transnational exchange in the 1970s and 1980s. Historical Social Research/Historische Sozialforschung, 165-190.

Guidolin, M., & Guseo, R. (2012). A nuclear power renaissance?. Technological forecasting and social change, 79(9), 1746-1760

Chater, J. (2005), supra note 86.

Ibid.

Martin, B. (2007). Opposing nuclear power: past and present. Social alternatives, 26(2), 43-47.

Chater, J. (2005), supra note 86.

Van De Graaf, T., & Sovacool, K. B. (2020), supra note 5.

An underground nuclear test was conducted by India in 1974. See Chater, J. (2005), supra note 86.

Ibid.

Ibid.

Hogg, J. (2015). Cultures of nuclear resistance in 1980s Liverpool. Urban History, 42(4), 1-19. Phythian, M. (2001). CND's cold war. Contemporary British History, 15(3), 133-156. Johnes, M. (2011). Wales and the Cold War. Llafur, 10(4), 5-15.

Martin, S. A., & Wiliam, M. E. (2019). Politicising Chernobyl: Wales and Nuclear Power during the 1980s. Transactions of the Royal Historical Society, 29, 273-292.

Guidolin, M., & Guseo, R. (2012), supra note 90.

Ibid.

Nuttall, W. J. (2022). Nuclear renaissance: technologies and policies for the future of nuclear power. CRC Press. In 1990 Italy also disengaged from the grid its last operational civil nuclear reactor. See Adamantiades, A., & Kessides, I. (2009). Nuclear power for sustainable development: current status and future prospects. Energy Policy, 37(12), 5149-5166.

Trehan, N. K., & Saran, R. (2003, October). Nuclear power revival. In 2003 IEEE Nuclear Science Symposium. Conference Record (IEEE Cat. No. 03CH37515) (Vol. 5, pp. 3630-3633). IEEE.

Rogner, H. H., & Weisser, D. (2006). Nuclear Power: Global Trend and Outlook.

Stoett, P. (2003). Toward renewed legitimacy? Nuclear power, global warming, and security. Global Environmental Politics, 3(1), 99-116.

Ibid.

Adamantiades, A., & Kessides, I. (2009), supra note 103.

Lake, J. A., Bennett, R. G., & Kotek, J. F. (2002). Next-generation nuclear power. Scientific American, 286(1), 72-81.

Kessides, I. N. (2012). The future of the nuclear industry reconsidered: Risks, uncertainties, and continued promise. Energy Policy, 48, 185-208.

Fleishman, J. (2007). Egypt plans several nuclear power plants. Los Angeles Times, 30; Squassoni, S. (2009). Nuclear: Latin American Revival; Adamantiades, A., & Kessides, I. (2009), supra note 103.

Chater, J. (2005), supra note 86.

Markard, J., Bento, N., Kittner, N., & Nuñez-Jimenez, A. (2020), supra note 14.

Schneider, M., Frogatt, A. et al. (2013), “The World Nuclear Industry Status Report 2013”. Available at https://gala.gre.ac.uk/id/eprint/10140/1/%28ITEM_10140%29_steve_thomas_2013.pdf.

Huang, L., Zhou, Y., Han, Y., Hammitt, J. K., Bi, J., & Liu, Y. (2013). Effect of the Fukushima nuclear accident on the risk perception of residents near a nuclear power plant in China. Proceedings of the National Academy of Sciences, 110(49), 19742-19747.

Norio, O., Ye, T., Kajitani, Y., Shi, P., & Tatano, H. (2011). The 2011 eastern Japan great earthquake disaster: Overview and comments. International Journal of Disaster Risk Science, 2, 34-42.

Similarly to the Chernobyl incident. Ritchie, H. & Rosado, P. (2020), “Nuclear Energy”, OurWorldInData.org, Available at https://ourworldindata.org/nuclear-energy

Montgomery, S. L., & Graham Jr, T. (2017). Seeing the light: The case for nuclear power in the 21st century. Cambridge University Press.

Ibid.

Markard, J., Bento, N., Kittner, N., & Nuñez-Jimenez, A. (2020), supra note 14.

Montgomery, S. L., & Graham Jr, T. (2017), supra note 118.

Zimmermann, F., & Keles, D. (2023). State or market: Investments in new nuclear power plants in France and their domestic and cross-border effects. Energy Policy, 173, 113403.

Aszódi, A., Biró, B., Adorján, L., Dobos, Á. C., Illés, G., Tóth, N. K., ... & Zsiborás, Z. T. (2023). The effect of the future of nuclear energy on the decarbonization pathways and continuous supply of electricity in the European Union. Nuclear Engineering and Design, 415, 112688. Several countries have decided to temporise their nuclear decommissioning programs in favour of energy security and decarbonisation, also in light of the ongoing Russian-Ukrainian conflict.

Ibid.

Price, J., Keppo, I., & Dodds, P. E. (2023). The role of new nuclear power in the UK's net-zero emissions energy system. Energy, 262, 125450.

International Atomic Energy Agency (2023), “IAEA Annual Projections Rise Again as Countries Turn to Nuclear for Energy Security and Climate Action”, Vienna, www.iaea.org/newscenter/pressreleases/iaea-annual-projections-rise-again-as-countries-turn-to-nuclear-for-energy-security-and-climate-action.

Wheatley, S., Sovacool, B., & Sornette, D. (2017). Of disasters and dragon kings: a statistical analysis of nuclear power incidents and accidents. Risk analysis, 37(1), 99-115.

Ha-Duong, M., & Journé, V. (2014). Calculating nuclear accident probabilities from empirical frequencies. Environment Systems and Decisions, 34, 249-258.

International Atomic Energy Agency (n.d.), “International Nuclear and Radiological Event Scale (INES)”, available at: www.iaea.org/resources/databases/international-nuclear-and-radiological-event-scale. Accessed February 2024.

Ibid.

Ibid.

Statista Research Department (2011), “Nuclear accidents worldwide from 1957 to 2011, rated by INES scale”, available at www.statista.com/statistics/273002/the-biggest-nuclear-accidents-worldwide-rated-by-ines-scale/. Accessed February 2024.

Ibid.

Wakeford, R. (2017). A double diamond anniversary—Kyshtym and Windscale: the nuclear accidents of 1957. Journal of Radiological Protection, 37(3), E7.

Akleyev, A. V., Krestinina, L. Y., Degteva, M. O., & Tolstykh, E. I. (2017). Consequences of the radiation accident at the Mayak production association in 1957 (the’Kyshtym Accident’). Journal of Radiological Protection, 37(3), R19.

Bukharin, O. (2001). Downsizing Russia's nuclear warhead production infrastructure. The Nonproliferation Review, 8(1), 116-130.

Nikipelov, B. V., Romanov, G. N., Buldakov, L. A., Babaev, N. S., Kholina, Y. B., & Mikerin, E. I. (1989). Report on a radiological accident in the southern Urals on 29 September 1957 (No. IAEA-INFCIRC--368). International Atomic Energy Agency.

Wakeford, R. (2017), supra note 134.

Nikipelov, B. V., Romanov, G. N., Buldakov, L. A., Babaev, N. S., Kholina, Y. B., & Mikerin, E. I. (1989). A radiation accident in the Southern Urals in 1957. Soviet Atomic Energy, 67(2), 569-576 & United Nations Scientific Committee on the Effects of Atomic Radiation (UNSCEAR) (1993), “Sources and Effects of Ionizing Radiation UNSCEAR 1993 Report to the General Assembly with Scientific Annexes”, Annex B, Exposures from Man-made Sources of Radiation New York, United Nations pp 115–6.

Wakeford, R. (2017), supra note 134.

Jones, S. (2008). Windscale and Kyshtym: a double anniversary. Journal of Environmental Radioactivity, 99(1), 1-6. See also Arnold, L. (2016). Windscale 1957: anatomy of a nuclear accident. Springer.

Dunster, H. J., Howells, H., & Templeton, W. L. (2007). District surveys following the Windscale incident, October 1957. Journal of radiological protection, 27(3), 217.

Clarke, R. H. (1974). An analysis of the 1957 Windscale accident using the WEERIE code. Annals of Nuclear Science and Engineering, 1(2), 73-82.

Chamberlain, A. C. (1987). Comparisons of the emissions in the Windscale and Chernobyl accidents (No. AERE-M-3568). CM-P00068532. The process used for the release of Wigner energy presupposed the temporal increase of the core temperature prior to the initiation of the cooling procedure. See Harrison, R. M., & Hester, R. E. (Eds.). (2011),  Nuclear power and the environment (No. 32). Royal Society of Chemistry.

Dunster, H. J., Howells, H., & Templeton, W. L. (2007), supra note 142.

Clarke, R. H. (1974), supra note 143.

Ibid.

Jones, S. (2008), supra note 141.

Dunster, H. J., Howells, H., & Templeton, W. L. (2007), supra note 142.

Harrison, R. M., & Hester, R. E. (Eds.). (2011), supra note 144.

Hultman, N., & Koomey, J. (2013). Three Mile Island: The driver of US nuclear power’s decline?. Bulletin of the Atomic Scientists, 69(3), 63-70.

Collier, J. G., & Davies, L. M. (1980). The Accident at Three Mile Island. Heat Transfer Engineering, 1(3), 56-67.

Ibid.

Ibid.

Miller, K. L. (1994). The nuclear reactor accident at Three Mile Island. Radiographics, 14(1), 215-224.

Collier, J. G., & Davies, L. M. (1980), supra note 152.

Ibid. See also Miller, K. L. (1994), supra note 155.

Ibid.

Ibid.

Ibid.

Corey, G. R. (1979). A brief review of the accident at Three Mile Island. IAEA Bulletin, 21(5), 54-59.

Ragheb, M. (2001). Three Mile Island Accident.

Collier, J. G., & Davies, L. M. (1980), supra note 152. See also Miller, K. L. (1994), supra note 155.

Ibid.

Cable, S., Walsh, E. J., & Warland, R. H. (1987). Differential paths to political activism: Comparisons of four mobilization processes after the Three Mile Island accident. Soc. F., 66, 951.

Yamada, M. (2012). A brief review of environmental impacts and health effects from the accidents at the three mile islands, Chernobyl and Fukushima Daiichi Nuclear Power plants. Radiation Emergency Medicine, 1(1-2), 33-39.

Ibid.

Koerner, C. L. (2014). Media, fear, and nuclear energy: A case study. The Social Science Journal, 51(2), 240-249.

Walsh, E. J. (1983). Three Mile Island: meltdown of democracy?. Bulletin of the Atomic Scientists, 39(3), 57-60.

Ragheb, M. (2001), supra note 162.

Sandman, P. M. (2004). Three Mile Island—25 years later. Safety at Work, 7-11.

Lester, M. S. (1983). Public information during a nuclear power plant accident: lessons learned from Three Mile Island. Bulletin of the New York Academy of Medicine, 59(10), 1080.

Walsh, E. J. (1983), supra note 169.

The reactor design of the Chernobyl Power Complex is commonly referred to as RBMK (High Power Channel Reactor), which was first introduced in the Soviet Union in the 1970s. Owing to graphite being the reactor’s moderator, the design was otherwise known as Light Water Graphite Reactor (LWGR). For further information see World Nuclear Association (2022), “RBMK Reactors – Appendix to Nuclear Power Reactors”, available at world-nuclear.org/information-library/nuclear-fuel-cycle/nuclear-power-reactors/appendices/rbmk-reactors.aspx.

Saenko, V., Ivanov, V., Tsyb, A., Bogdanova, T., Tronko, M., Demidchik, Y., & Yamashita, S. (2011). The Chernobyl accident and its consequences. Clinical Oncology, 23(4), 234-243.

World Nuclear Association (2022), “Chernobyl Accident 1986”, available at https://world-nuclear.org/information-library/safety-and-security/safety-of-plants/chernobyl-accident.aspx.

Beresford, N. A., Fesenko, S., Konoplev, A., Skuterud, L., Smith, J. T., & Voigt, G. (2016). Thirty years after the Chernobyl accident: What lessons have we learnt?. Journal of environmental radioactivity, 157, 77-89.

World Nuclear Association (2022), supra note 176.

Ibid.

Yamada, M. (2012), supra note 166.

World Nuclear Association (2022), supra note 176.

Ibid. See also Dobraszczyk, P. (2010). Petrified ruin: Chernobyl, Pripyat and the death of the city. City, 14(4), 370-389 & Beresford, N. A., Fesenko, S., Konoplev, A., Skuterud, L., Smith, J. T., & Voigt, G. (2016), supra note 177.

Saenko, V., Ivanov, V., Tsyb, A., Bogdanova, T., Tronko, M., Demidchik, Y., & Yamashita, S. (2011), supra note 55. See also World Nuclear Association (2022), supra note 176.

Ibid. See also Tuttle, R. M., & Becker, D. V. (2000, April). The Chernobyl accident and its consequences: update at the millennium. In Seminars in nuclear medicine (Vol. 30, No. 2, pp. 133-140). WB Saunders.

Plokhy, S. (2018). Chernobyl: History of a tragedy. Penguin UK.

United Nations. Scientific Committee on the Effects of Atomic Radiation. (1988). Report. United Nations & Lewis, H. W. (1986). The Accident at the Chernobyl'Nuclear Power Plant and its Consequences: USSR State Committee on the Utilization of Atomic Energy. Environment: Science and Policy for Sustainable Development, 28(9), 25-27.

World Nuclear Association (2022), supra note 176.

Gorbachev, M. (2011). Chernobyl 25 years later: Many lessons learned. Bulletin of the Atomic Scientists, 67(2), 77-80. See also Tuttle, R. M., & Becker, D. V. (2000, April), supra note 184.

Ibid.

Bonte, F. J. (1988, January). Chernobyl retrospective. In Seminars in nuclear medicine (Vol. 18, No. 1, pp. 16-24). WB Saunders. See also Anspaugh, L. R., Catlin, R. J., & Goldman, M. (1988). The global impact of the Chernobyl reactor accident. Science, 242(4885), 1513-1519.

Drozdovitch, V., Bouville, A., Chobanova, N., Filistovic, V., Ilus, T., Kovacic, M., ... & Cardis, E. (2007). Radiation exposure to the population of Europe following the Chernobyl accident. Radiation Protection Dosimetry, 123(4), 515-528.

Lewis, H. W. (1986). The accident at the chernobyl'nuclear power plant and its consequences: USSR state committee on the utilization of atomic energy. Environment: Science and Policy for Sustainable Development, 28(9), 25-27. See also Yablokov, A. V., Nesterenko, V. B., Nesterenko, A. V., & Sherman-Nevinger, J. D. (Eds.). (2010). Chernobyl: Consequences of the Catastrophe for People and the Environment (Vol. 39). John Wiley & Sons.

Tuttle, R. M., & Becker, D. V. (2000, April), supra note 184.

Steinhauser, G., Brandl, A., & Johnson, T. E. (2014). Comparison of the Chernobyl and Fukushima nuclear accidents: a review of the environmental impacts. Science of the total environment, 470, 800-817.

Prisyazhiuk, A., Pjatak, O. A., Buzanov, V. A., Reeves, G., & Beral, V. (1991). Cancer in the Ukraine, post-Chernobyl. Lancet;(United Kingdom), 338(8778), Kazakov, V. S., Demidchik, E. P., Astakhova, L. N., Baverstock, K., Egloff, B., Pinchera, A., ... & Williams, D. (1992). Thyroid cancer after Chernobyl; and reply. Nature (London);(United Kingdom), 359(6390) & Baverstock, K., Egloff, B., Pinchera, A., Ruchti, C., & Williams, D. (1992). Thyroid cancer after Chernobyl. Nature, 359(6390), 21-22.

Plokhy, S. (2018), supra note 185.

Tuttle, R. M., & Becker, D. V. (2000, April), supra note 188.

Report. United Nations & Lewis, H. W. (1986), supra note 192.

Stang, E. (1996). Chernobyl-System accident or human error?. Radiation protection dosimetry, 68(3-4), 197-201.

Natvig, B., & Gåsemyr, J. (1996). On probabilistic risk analysis of technological systems. Radiation protection dosimetry, 68(3-4), 185-190.

Stang, E. (1996), supra note 199.

Macleod, F. (2016). Chernobyl–30 years on. Loss Prevention Bulletin, 251, 18-23.

Daniloff, N. (2004). Chernobyl and its political fallout: A reassessment. DEMOKRATIZATSIYA-WASHINGTON-, 12(1), 117-132. The feature of a concrete container was part of the design of the Western nuclear installations.

Ibid. See also Plokhy, S. (2018), supra note 185.

Brewin, T. B. (1993). Radiation, Chernobyl and the media. Medico-Legal Journal, 61(4), 204-215.

Holt, E. (2010). Debate over health effects of Chernobyl re-ignited. The Lancet, 375(9724), 1424-1425.

Other sources, such as Hollnagel, E., & Fujita, Y. (2013). The Fukushima disaster–systemic failures as the lack of resilience. Nuclear engineering and technology, 45(1), 13-20 & Thielen, H. (2012). The Fukushima Daiichi nuclear accident—an overview. Health physics, 103(2), 169-174, claim that the 130 kilometres east of the japanese city Sendai.

Weightman, M., Jamet, P., Lyons, J. E., & Samaddar, S. (2011). IAEA International Fact Finding Expert Mission of the Fukushima Dai-Ichi NPP Accident Following the Great East Japan Earthquake and Tsunami. Tokyo, Fukushima Dai-ichi NPP, Fukushima Dai-ni NPP and Tokai Dai-ni NPP, Japan, 24 May–2 June 2011. The Great East Japan Earthquake Expert Mission. Mission Report.

GEOLOGYSCIENCE, “10 Most Powerful Earthquakes in Earth History”, available at: https://geologyscience.com/natural-hazards/10-most-powerful-earthquakes-in-earth-history/. Accessed February 2024.

Hamada, N., & Ogino, H. (2012). Food safety regulations: what we learned from the Fukushima nuclear accident. Journal of environmental radioactivity, 111, 83-99.

Hamada, N., Ogino, H., & Fujimichi, Y. (2012). Safety regulations of food and water implemented in the first year following the Fukushima nuclear accident. Journal of radiation research, 53(5), 641-671.

Steinhauser, G., Brandl, A., & Johnson, T. E. (2014), supra note 194. See also Wakeford, R. (2011). And now, Fukushima. Journal of Radiological Protection, 31(2), 167.

Acton, J. M., & Hibbs, M. (2012). Why Fukushima was preventable (p. 50). Washington, DC: Carnegie endowment for international peace.

Ibid.

Steinhauser, G., Brandl, A., & Johnson, T. E. (2014), supra note 194.

Acton, J. M., & Hibbs, M. (2012), supra note 213.

Ibid.

Tanabe, F. (2012). Analyses of core melt and re-melt in the Fukushima Daiichi nuclear reactors: Fukushima NPP Accident Related. Journal of Nuclear Science and Technology, 49(1), 18-36.

Wakeford, R. (2011), supra note 212.

Ibid.

Steinhauser, G., Brandl, A., & Johnson, T. E. (2014), supra note 194.

Ibid. Acton, J. M., & Hibbs, M. (2012), supra note 213.

Ibid.

Funabashi, Y., & Kitazawa, K. (2012). Fukushima in review: A complex disaster, a disastrous response. Bulletin of the Atomic Scientists, 68(2), 9-21. Each explosion preceded the next creating a domino effect that obstructed the effective reaction and response measures that would prevent the radiation releases.

Acton, J. M., & Hibbs, M. (2012), supra note 213.

Wakeford, R. (2011) supra note 212.

Morino, Y., Ohara, T., & Nishizawa, M. (2011). Atmospheric behavior, deposition, and budget of radioactive materials from the Fukushima Daiichi nuclear power plant in March 2011. Geophysical research letters, 38(7).

Thielen, H. (2012). The Fukushima Daiichi nuclear accident—an overview. Health physics, 103(2), 169-174.

Ibid.

Ibid.

Ibid.

TEPCO [Tokyo Electric Power Company, Inc.] (2012), “Fukushima Nuclear Accident Analysis Report”, available at: tepco.co.jp/en/press/corp-com/release/betu12_e/images/120620e0104.pdf.

Acton, J. M., & Hibbs, M. (2012), supra note 213.

Funabashi, Y., & Kitazawa, K. (2012). Fukushima in review: A complex disaster, a disastrous response. Bulletin of the Atomic Scientists, 68(2), 9-21.

Yamashita, S., Carr, Z., & Repacholi, M. (2007). Long-term health implications of the Chernobyl accident and relevant projects of the World Health Organization. Health physics, 93(5), 538-541 & Yamashita, S. (2014). Fukushima nuclear power plant accident and comprehensive health risk management—global radiocontamination and information disaster. Tropical Medicine and Health.

Normile, D. (2016). Epidemic of fear. See also Yamashita, S., Suzuki, S., Suzuki, S., Shimura, H., & Saenko, V. (2018). Lessons from Fukushima: latest findings of thyroid cancer after the Fukushima nuclear power plant accident. Thyroid, 28(1), 11-22.

Ohtsuru, A., Tanigawa, K., Kumagai, A., Niwa, O., Takamura, N., Midorikawa, S., ... & Clarke, M. (2015). Nuclear disasters and health: lessons learned, challenges, and proposals. The Lancet, 386(9992), 489-497 & Tanigawa, K., Hosoi, Y., Hirohashi, N., Iwasaki, Y., & Kamiya, K. (2012). Loss of life after evacuation: lessons learned from the Fukushima accident. The Lancet, 379(9819), 889-891.

Hollnagel, E., & Fujita, Y. (2013). The Fukushima disaster–systemic failures as the lack of resilience. Nuclear engineering and technology, 45(1), 13-20. The over-confidence of the Soviet operators had many facets, the most important of which was their endeavour not to disclose the accident to the rest of the world.

Ibid.

Imanaka, T. (2020). Comparison of radioactivity release and contamination from the Fukushima and Chernobyl nuclear power plant accidents. Low-Dose Radiation Effects on Animals and Ecosystems, 249.

Naito, W., Uesaka, M., Yamada, C., & Ishii, H. (2015). Evaluation of dose from external irradiation for individuals living in areas affected by the Fukushima Daiichi Nuclear Plant accident. Radiation Protection Dosimetry, 163(3), 353-361. See also Oughton, D. (2016). Societal and ethical aspects of the Fukushima accident. Integrated environmental assessment and management, 12(4), 651-653.

International Energy Agency. (2009). World energy outlook (p. 17). Paris: OECD/IEA.

Van Rijnsoever, F. J., Van Mossel, A., & Broecks, K. P. (2015). Public acceptance of energy technologies: The effects of labeling, time, and heterogeneity in a discrete choice experiment. Renewable and Sustainable Energy Reviews, 45, 817-829.

Wagner, A., Grobelski, T., & Harembski, M. (2016). Is energy policy a public issue? Nuclear power in Poland and implications for energy transitions in Central and East Europe. Energy Research & Social Science, 13, 158-169.

Ibid.

Kasperson, R. E., & Ram, B. J. (2013). The public acceptance of new energy technologies. Daedalus, 142(1), 90-96.

Carlson, A. E., & Fri, R. W. (2013). Designing a durable energy policy. Daedalus, 142(1), 119-128. Contrary to the deficit model, the primary theoretical model within PUS (Public Understanding of Science) posits that the common populous is characterized by a perceive lack of knowledge, contrasted with scientists who are presumed to possess an ample reservoir of knowledge and information on the respective field. For further information see Gross, A. G. (1994). The roles of rhetoric in the public understanding of science. Public understanding of science, 3(1), 3 & Wynne, B. (1991). Knowledges in context. Science, Technology, & Human Values, 16(1), 111-121.

Kasperson, R. E., & Ram, B. J. (2013), supra note 246.

Renn, O. (1994). Public acceptance of energy technologies.

Abdulla, A., Vaishnav, P., Sergi, B., & Victor, D. G. (2019). Limits to deployment of nuclear power for decarbonization: Insights from public opinion. Energy policy, 129, 1339-1346.

Stoutenborough, J. W., Sturgess, S. G., & Vedlitz, A. (2013). Knowledge, risk, and policy support: Public perceptions of nuclear power. Energy Policy, 62, 176-184.

Fischhoff, B., Slovic, P., Lichtenstein, S., Read, S., & Combs, B. (1978). How safe is safe enough? A psychometric study of attitudes towards technological risks and benefits. Policy sciences, 9, 127-152.

Ramana, M. V. (2011). Nuclear power and the public. Bulletin of the Atomic Scientists, 67(4), 43-51.

Kitada, A. (2016). Public opinion changes after the Fukushima Daiichi Nuclear Power Plant accident to nuclear power generation as seen in continuous polls over the past 30 years. Journal of Nuclear Science and Technology, 53(11), 1686-1700.

Guo, Y., & Ren, T. (2017). When it is unfamiliar to me: Local acceptance of planned nuclear power plants in China in the post-Fukushima era. Energy Policy, 100, 113-125.

Ibid.

Bird, D. K., Haynes, K., van den Honert, R., McAneney, J., & Poortinga, W. (2014). Nuclear power in Australia: A comparative analysis of public opinion regarding climate change and the Fukushima disaster. Energy Policy, 65, 644-653.

Visschers, V. H., & Siegrist, M. (2013). How a nuclear power plant accident influences acceptance of nuclear power: Results of a longitudinal study before and after the Fukushima disaster. Risk Analysis: An International Journal, 33(2), 333-347.

Culley, M. R., Ogley‐Oliver, E., Carton, A. D., & Street, J. C. (2010). Media framing of proposed nuclear reactors: An analysis of print media. Journal of Community & Applied Social Psychology, 20(6), 497-512.

Bird, D. K., Haynes, K., van den Honert, R., McAneney, J., & Poortinga, W. (2014), supra note 257. See also Frewer, L. J., Howard, C., & Shepherd, R. (1998). Understanding public attitudes to technology. Journal of Risk Research, 1(3), 221-235.

Visschers, V. H., Keller, C., & Siegrist, M. (2011). Climate change benefits and energy supply benefits as determinants of acceptance of nuclear power stations: Investigating an explanatory model. Energy policy, 39(6), 3621-3629.

Ho, J. C., Kao, S. F., Wang, J. D., Su, C. T., Lee, C. T. P., Chen, R. Y., Chang, H.L., Ieong, M.C., Chang, P. W. (2013). Risk perception, trust, and factors related to a planned new nuclear power plant in Taiwan after the 2011 Fukushima disaster. Journal of Radiological Protection, 33(4), 773.

Guo, Y., & Ren, T. (2017), supra note 255.

Sun, C., & Zhu, X. (2014). Evaluating the public perceptions of nuclear power in China: Evidence from a contingent valuation survey. Energy Policy, 69, 397-405 & Stoutenborough, J. W., Sturgess, S. G., & Vedlitz, A. (2013). Knowledge, risk, and policy support: Public perceptions of nuclear power. Energy Policy, 62, 176-184.

Stoutenborough, J. W., & Vedlitz, A. (2014). The effect of perceived and assessed knowledge of climate change on public policy concerns: An empirical comparison. Environmental Science & Policy, 37, 23-33 & Stoutenborough, J. W., & Vedlitz, A. (2016). The role of scientific knowledge in the public's perceptions of energy technology risks. Energy Policy, 96, 206-216.

Alhakami, A. S., & Slovic, P. (1994). A psychological study of the inverse relationship between perceived risk and perceived benefit. Risk analysis, 14(6), 1085-1096 & Finucane, M. L., Alhakami, A., Slovic, P., & Johnson, S. M. (2000). The affect heuristic in judgments of risks and benefits. Journal of behavioral decision making, 13(1), 1-17.

Corner, A., Venables, D., Spence, A., Poortinga, W., Demski, C., & Pidgeon, N. (2011). Nuclear power, climate change and energy security: Exploring British public attitudes. Energy Policy, 39(9), 4823-4833.

Guo, Y., & Ren, T. (2017), supra note 255.

He, G., Mol, A. P., Zhang, L., & Lu, Y. (2013). Public participation and trust in nuclear power development in China. Renewable and Sustainable Energy Reviews, 23, 1-11.

Huang, L., Zhou, Y., Han, Y., Hammitt, J. K., Bi, J., & Liu, Y. (2013), supra note 115. Even though other sources support that social trust in governments has dwindled hindering collective agreement on public policies. See Nam-Speers, J., Berry, F. S., & Choi, D. (2023). Examining the role of perceived risk and benefit, shared concern for nuclear stigmatization, and trust in governments in shaping citizen risk acceptability of a nuclear power plant. The Social Science Journal, 60(4), 695-714.

Harris, J., Hassall, M., Muriuki, G., Warnaar-Notschaele, C., McFarland, E., & Ashworth, P. (2018). The demographics of nuclear power: Comparing nuclear experts’, scientists’ and non-science professionals’ views of risks, benefits and values. Energy research & social science, 46, 29-39.

Ibid. Through the term “scientists” the present paper does not allude strictly to nuclear experts but rather generally professionals employed across the STEM disciplines.

Barke, R. P., & Jenkins‐Smith, H. C. (1993). Politics and scientific expertise: scientists, risk perception, and nuclear waste policy. Risk Analysis, 13(4), 425-439.

Sjöberg¹, L., & Drottz-Sjöberg, B. M. (2008). Attitudes towards nuclear waste and siting policy: experts and the public. Nuclear Waste Research: Siting, Technology and Treatment, 47.

Harris, J., Hassall, M., Muriuki, G., Warnaar-Notschaele, C., McFarland, E., & Ashworth, P. (2018), supra note 271.

Ibid.

For the public acceptance factors see Guo, Y., & Ren, T. (2017), supra note 255.

Weart, S. R. (2012). The rise of nuclear fear. Harvard University Press.

William Leiss, O. C. (2013). Stigma and the Stigmatization of Place: A Paper commissioned by the Canadian Nuclear Safety Commission.

The stigmatization is often intensified by the spread of misinformation and inaccurate data. Sawano, T., Ozaki, A., Hori, A., & Tsubokura, M. (2019). Combating ‘fake news’ and social stigma after the Fukushima Daiichi Nuclear Power Plant incident—the importance of accurate longitudinal clinical data. QJM: An International Journal of Medicine, 112(7), 479-481 & Kwesell, A., & Jung, J. Y. (2019). A multidimensional analysis of stigma: Findings from a qualitative study of Fukushima residents following Japan's 2011 nuclear disaster. Journal of International Crisis and Risk Communication Research, 2(2), 233-258.

Flynn, J. (2003). 14 Nuclear stigma. The social amplification of risk, 326.

William Leiss, O. C. (2013), supra note 279 & Miles, J. I. (2019). The phenomenon of Living Close to Nuclear power Plants.

Tirone, J. (2023), “Nuclear’s New Wave of Popularity Has to Overcome Age, Economics”, World Nuclear Industry Status Report, Bloomberg (U.S.), available at www.worldnuclearreport.org/Nuclear-s-New-Wave-of-Popularity-Has-to-Overcome-Age-Economics.html.

According to the Power Reactor Information System (PRIS) of the IAEA, 25 of those are currently in suspended operation. See IAEA|PRIS (2025), “Current Status”, available at: https://pris.iaea.org/PRIS/home.aspx. [Accessed May 2025]

World Nuclear Association (2024), “Plans for Nuclear Reactors Worldwide”, available at: https://world-nuclear.org/information-library/current-and-future-generation/plans-for-new-reactors-worldwide.aspx.

Ho, M., Obbard, E., Burr, P. A., & Yeoh, G. (2019). A review on the development of nuclear power reactors. Energy Procedia, 160, 459-466.

World Nuclear Association (2024), supra note 285.

Proctor, D. (2023), “22 Countries, Including U.S., Pledge to Triple Nuclear Power Capacity”, POWER, available at: www.powermag.com/22-countries-including-u-s-pledge-to-triple-nuclear-power-capacity/.

Wald, M.L. (2023), “Stop Calling Nuclear Reactors ‘Aging’”, The Breakthrough Institute, available at: https://thebreakthrough.org/blog/stop-calling-nuclear-reactors-aging.

Martón, I., Sánchez, A. I., Carlos, S., Mullor, R., & Martorell, S. (2023). Prognosis of wear-out effect on of safety equipment reliability for nuclear power plants long-term safe operation. Reliability Engineering & System Safety, 233, 109121.

Wald, M.L. (2023), supra note 289.

Smith, K., & Gieré, R. (2017). Why some nations choose nuclear power. Kleinman Centre for Energy Policy, Newsletter, 23.

Office of Nuclear Energy (2020), “What’s the Lifespan for a Nuclear Reactor? Much Longer than you might think”, Energy.gov, available at www.energy.gov/ne/articles/whats-lifespan-nuclear-reactor-much-longer-you-might-think.

Martón, I., Sánchez, A. I., Carlos, S., Mullor, R., & Martorell, S. (2023). Prognosis of wear-out effect on of safety equipment reliability for nuclear power plants long-term safe operation. Reliability Engineering & System Safety, 233, 109121.

Matteo, F., Carlo, G., Federico, P., & Enrico, Z. (2021). Time-dependent reliability analysis of the reactor building of a nuclear power plant for accounting of its aging and degradation. Reliability Engineering & System Safety, 205, 107173.

International Atomic Energy Agency. (2018). Ageing Management and Development of a Programme for Long Term Operation of Nuclear Power Plants. IAEA.

Martón, I., Sánchez, A. I., Carlos, S., Mullor, R., & Martorell, S. (2023), supra note 294.

Clemmer, S., Richardson, J., Sattler, S., & Lochbaum, D. (2018). The Nuclear Power Dilemma. Union of Concerned Scientists.

Wald, M.L. (2023), supra note 289.

Krivanek, R. (2020). Factors limiting lifetime of nuclear power plants with pressurized-water reactors. Nuclear Engineering and Design, 370, 110872.

Donovan, J. (2023), “Decommissioning Conference Ends with Focus on, New Tech, Circular Economy, Youth”, I.A.E.A., available at: www.iaea.org/newscenter/news/decommissioning-conference-ends-with-focus-on-new-tech-circular-economy-youth.

Those are the three decommissioning choices categorized by the International Atomic Energy Agency. World Nuclear Association (2022), “Decommissioning Nuclear Facilities”, available at: https://world-nuclear.org/information-library/nuclear-fuel-cycle/nuclear-wastes/decommissioning-nuclear-facilities.aspx.

In the EU, in particular, 95 of the 104 operational nuclear power plants are Pressurized Light Water Reactors. See Martón, I., Sánchez, A. I., Carlos, S., Mullor, R., & Martorell, S. (2023), supra note 294.

Agar, A. S., & Locatelli, G. (2020). Economics of nuclear power plants. In Nuclear Reactor Technology Development and Utilization (pp. 161-186). Woodhead Publishing.

Clayton, J. C. (1993). The shippingport pressurized water reactor and light water breeder reactor (No. WAPD-T-3007; CONF-9310199-1). Bettis Atomic Power Lab., West Mifflin, PA (United States).

More information about the vessel is provided in the section of the present titled “Nuclear Powered Vessels”.

Cummins, W. E., & Matzie, R. (2018). Design evolution of PWRs: Shippingport to generation III+. Progress in Nuclear Energy, 102, 9-37.

Ho, M., Obbard, E., Burr, P. A., & Yeoh, G. (2019), supra note 286. The Russian version of the Pressurized Water Reactor is the Water-Water Energy Reactors (WWERs). See Krivanek, R. (2020), supra note 300.

Ibid.

Ritchie, H. (2023), “How long does it take to build a nuclear reactor?”, available at: www.sustainabilitybynumbers.com/p/nuclear-construction-time (Accessed on May 2025).

Shykinov, N., Rulko, R. & Mroz, D. (2016), “Importance of advanced planning of manufacturing for nuclear industry”, Canadian Nuclear Safety Commission, Volume 7, Number 2, pp. 42-49.

Farley, P. (2024), “A realistic timeframe for building nuclear”, available at: www.aumanufacturing.com.au/a-realistic-time-frame-for-building-nuclear-by-peter-farley (Accessed on May 2025).

Proctor, D. (2024), “Flamanville 3 Reactor Online in France After 12-Year Delay”, available at: www.powermag.com/flamanville-3-reactor-online-in-france-after-12-year-delay/ (Accessed on May 2025).

Locatelli, G. (2018). Why are megaprojects, including nuclear power plants, delivered overbudget and late? reasons and remedies. arXiv preprint arXiv:1802.07312.

Bayraktar, M., & Pamik, M. U. R. A. T. (2023). Nuclear power utilization as a future alternative energy on icebreakers. Nuclear Engineering and Technology, 55(2), 580-586.

Freire, L. O., & de Andrade, D. A. (2015). Historic survey on nuclear merchant ships. Nuclear Engineering and Design, 293, 176-186.

Carlton, J., SMART, R., & JENKINS, V. (2011). The nuclear propulsion of merchant ships. Nuclear Engineering International, 56(681), 38-40.

Namikawa, S., Mærli, M., Hoffmann, P., & Brodin, E. (2011, May). Nuclear powered ships–findings from a feasibility study. In Proc. 19th Int. Conf. Nuclear Engineering (ICONE19).

Ragheb, M. (2011). Nuclear naval propulsion. In Nuclear Power-Deployment, Operation and Sustainability. IntechOpen.

Zohuri, B., & McDaniel, P. J. (2021). Introduction to energy essentials: insight into nuclear, renewable, and non-renewable energies. Academic Press & Asad, M., Riaz, Z., Mansoor, A., & Hussain, M. (2021, January). An Empirical and Numerical Approach To Develop A Single and Multi-Phase CFD Methodology For Submarines And Ship. In 2021 International Bhurban Conference on Applied Sciences and Technologies (IBCAST) (pp. 856-863). IEEE.

Erickson, A. S. (2021). Australia badly needs nuclear submarines. Foreign Policy, 20.

Forsythe, J. (2009). 3 R's of Nuclear Power: Reading, Recycling, and Reprocessing:... Making a Better Tomorrow for Little Joe. AuthorHouse.

Tekant, M. (2013), "Nuclear Powered Ships," Physics 241, Stanford University, available at: http://large.stanford.edu/courses/2013/ph241/tekant1/.

Ragheb, M. (2012). Nuclear marine propulsion. University of Illinois at Urbana-Champaign.

World Nuclear Association (2023),”Nuclear-Powered Ships”, available at: https://world-nuclear.org/information-library/non-power-nuclear-applications/transport/nuclear-powered-ships.aspx.

O'Rourke, R. (2010). Navy nuclear-powered surface ships: background, issues, and options for Congress. Diane Publishing. The Nautilus revolutionized marine propulsion and, among others, left its mark as the first submarine to navigate the Arctic Ice cap via subsurface routes. See Ragheb, M. (2012), supra note 313.

Ibid.

Ragheb, M. (2012), supra note 324.

Namikawa, S., Mærli, M., Hoffmann, P., & Brodin, E. (2011, May), supra note 318.

Tekant, M. (2013), supra note 323.

Sharma, R. (2023), “India’s Nuclear-Powered Submarines ‘Fall Short’ of 2nd-Strike Capability; Woefully Short of Hitting Any Key Target in China”, The Eurasian Times, available at:  www.eurasiantimes.com/indias-nuclear-powered-submarines-fall-short-of-2nd-strike/. See also Mian, Z., Ramana, M. V., & Nayyar, A. H. (2019). Nuclear submarines in South Asia: New risks and dangers. Journal for Peace and Nuclear Disarmament, 2(1), 184-202.

O'Rourke, R. (2010), supra note 326.

Dedes, E., Turnock, S. R., Hudson, D. A., & Hirdaris, S. (2011). Possible power train concepts for nuclear powered merchant ships.

Henderson, I. (2019). Cold Ambition: The New Geopolitical Faultline. The California Review.

The nations responsible for their development were the U.S., Germany, Japan and the Soviet Union. See O'Rourke, R. (2010), supra note 326.

The prototype of merchant ships was the experimental American-made passenger/cargo NS Savannah that was commissioned in 1962 under the Atoms for Peace program of U.S. President Eisenhower. See Patel, P. (2024), “The case for nuclear cargo ships”, IEEE Spectrum, available at: https://spectrum.ieee.org/nuclear-powered-cargo-ship & Lange, R. S. (1990). Theme Study–Large Vessel NS Savannah. US Department of the Interior, History Division. Washington, DC, 32.

Baer, W., Conover, C. J., Cook, C., Fleischauer, P., Goeller, B., Hederman, W., ... & MERROVV, E. (1976). ANADSS OF FEDERALIY FUNDED DEMONSTRATION PROJECTS: SUPPORTING CASE STUDIES.

Mandra, J.O. (2023), “Jiangnan Shipyard unveils design for the ‘world’s largest’ nuclear-powered containership”, Offshore-Energy, available at: www.offshore-energy.biz/jiangnan-shipyard-unveils-design-for-the-worlds-largest-nuclear-powered-containership/.

Carlton, J., Aldwinkle, J., & Anderson, J. (2013). Future ship powering options: exploring alternative methods of ship propulsion. London: Royal Academy of Engineering.

Gravina, J., Blake, J. I., Shenoi, R. A., Turnock, S. R., & Hirdaris, S. (2013). Concepts for a modular nuclear powered containership.

The NS Sevmorput is projected to be placed out of service within the year 2024 and be replaced. PortNews (2023), “Атомный контейнеровоз «Севморпуть» планируется заменить дизельным судном в 2024 году”, available at: https://portnews.ru/news/357279/.

Baraniuk, C. (2023), “Nuclear-Powered Cargo Ships Are Trying To Stage A Comeback”, WIRED, available at: www.wired.co.uk/article/nuclear-cargo-ships.

Rubel, R. C. (2011). The future of aircraft carriers. Naval War College Review, 64(4), 12-27.

Evans, M. L. (2022). USS Enterprise (CVN-65): The First Nuclear Powered Aircraft Carrier. McFarland.

Hall, I. P., Grubb, K., & Williams, A. Nuclear Aircraft Carrier Inactivation–Approach for Waste Management and Exposure Reduction–14201.

Military.com (n.d.), “Nimitz Class Aircraft Carrier”, available at: www.military.com/equipment/nimitz-class-aircraft-carrier,  Naval Technology (2023), “Gerald R Ford Class Nuclear-Powered Aircraft Carrier, US”, available at: www.naval-technology.com/projects/gerald-r-ford-class/?cf-view & Katz, J. (2023), “Uncharted Waters: Navy navigating first-ever dismantling of nuclear-powered carrier”, Breaking Defense, available at: https://breakingdefense.com/2023/11/uncharted-waters-navy-navigating-first-ever-dismantling-of-nuclear-powered-carrier/.

Eastwood, B.M. (2022), “Problem For The US Navy: China Wants A Nuclear-Powered Aircraft Carrier”, 1945, available at: www.19fortyfive.com/2022/05/problem-for-the-us-navy-china-wants-a-nuclear-powered-aircraft-carrier/.

Mackenzie, C. (2022), “France reveals first look at new nuclear-powered aircraft carrier”, Breaking Defense, available at: https://breakingdefense.com/2022/10/france-reveals-first-look-at-new-nuclear-powered-aircraft-carrier/ & Villanueva Lopez, C.D. (2023), “The French aircraft carrier program PANG (Porte-avions de nouvelle génération)”, available at: www.revistaejercitos.com/en/Articles/the-french-aircraft-carrier-program-pang-porte-avions-de-nouvelle-generation/.

Honrada, G. (2023), “China unveils railgun-armed nuclear-powered supercarrier”, Asian Times, available at: https://asiatimes.com/2023/09/china-unveils-railgun-armed-nuclear-powered-supercarrier/.

Glissman, M., Chang-Armstrong, A., Polansky, G. F., Rademacher, S. E., & Wyss, G. (2023). Space nuclear systems safety design. In Safety Design for Space Systems (pp. 879-919). Butterworth-Heinemann.

Ibid. & World Nuclear Association (2021), “Nuclear Reactors and Radioisotopes for Space”, available at: https://world-nuclear.org/information-library/non-power-nuclear-applications/transport/nuclear-reactors-for-space.aspx [Accessed on April 2024].

The RTG was engaging plutonium-238’s great, natural alpha decaying heat as fuel to produce electricity. Aftergood, S., Hafemeister, D. W., Prilutsky, O. F., Primack, J. R., & Rodionov, S. N. (1991). Nuclear power in space. Scientific American, 264(6), 42-49. Subsequently, the RTG does not employ nuclear fission to generate heat. See Fact Sheet, NASA, Spacecraft Power for Cassini, (July 1999), available at http://saturn.jpl.nasa.gov/spacecraftlsafety/power.pdf.

MacAvoy, J. J. (2004). Nuclear Space and the Earth Environment: The Benefits, Danagers, and Legality of Nuclear Power and Propulsion in Outer Space. Wm. & Mary Envtl. L. & Pol'y Rev., 29, 191.

Forsbacka, M. J., & Helton, D. M. (2023). Evolution of NASA's nuclear flight safety program to infuse risk leadership and assurance framework concepts. Journal of Space Safety Engineering, 10(1), 95-102.

Allahdadi, F. A., Bakhtiyarov, S. I., Wyss, G. D., Polansky, G. F., Sholtis, J. A., & Botts, C. D. (2013). Safety Design for Space Operations: Chapter 6. Nuclear-Powered Payload Safety. Elsevier Inc. Chapters. The term RHU is an acronym for Radioisotope Heat Unit, which along with RTG is another Radioisotope Power System (RPS), to wit a system powering communication and scientific devices within a spacecraft. See Glissman, M., Chang-Armstrong, A., Polansky, G. F., Rademacher, S. E., & Wyss, G. (2023), supra note 350.

Bennett, G. L., Hemler, R. J., & Schock, A. (1996). Space nuclear power-an overview. Journal of propulsion and power, 12(5), 901-910.

Bennett, G. (2006, June). Space nuclear power: opening the final frontier. In 4th International Energy Conversion Engineering Conference and Exhibit (IECEC) (p. 4191).

National Research Council, Division on Engineering, Physical Sciences, Aeronautics, Space Engineering Board, Space Studies Board, & Committee on Priorities for Space Science Enabled by Nuclear Power. (2006). Priorities in space science enabled by nuclear power and propulsion. National Academies Press & Craddock III, J. (2016). Nuclear Power in Space: The TOPAZ Reactor.

MacAvoy, J. J. (2004). Nuclear Space and the Earth Environment: The Benefits, Danagers, and Legality of Nuclear Power and Propulsion in Outer Space. Wm. & Mary Envtl. L. & Pol'y Rev., 29, 191. Nuclear rocket concepts utilizing nuclear thermal propulsion (NTP), nuclear electric propulsion (NEP), a hybrid system of the two or nuclear pulse rockets driven by the energy released through nuclear explosions. See Gurunadh, V., & Guven, U. (2012). Usage of Nuclear Reactors in Space Applications-Space Propulsion and Space Power Concepts. Applied Mechanics and Materials, 110, 2252-2259.

Sanchez-Torres, A. (2011). Radioisotope power systems for space applications. Radioisotopes Application in Physical Sciences, 1, 457-471.

D’Agostino, S (2021), “Is using nuclear materials for space travel dangerous, genius or a little bit of both?”, Bulletin of the Atomic Scientists, available at: https://thebulletin.org/2021/07/is-using-nuclear-materials-for-space-travel-dangerous-genius-or-a-little-of-both/ [Accessed on April 2024].

National Research Council, Division on Engineering, Physical Sciences, Aeronautics, Space Engineering Board, Space Studies Board, & Radioisotope Power Systems Committee. (2009). Radioisotope power systems: an imperative for maintaining US leadership in space exploration. National Academies Press.

Sekiguchi, Y. (2020), “Preventing Nuclear Risks in Outer Space”, available at: https://nuclearnetwork.csis.org/preventing-nuclear-risks-in-outer-space/ [Accessed on April 2024].

Emrich, B. (n.d.), “Promises and Challenges of Nuclear Propulsion for Space Travel”, Presentation, IAEA, available at: https://nucleus.iaea.org/sites/fusionportal/Atoms%20for%20Space/04_Emrich%20Promises%20and%20Challenges%20of%20Nuclear%20Propulsion%20for%20Space%20Travel.pdf [Accessed on April 2024].

Araújo, E. F. D., & Guimarães, L. N. F. (2018). American space nuclear electric systems. Journal of Aerospace Technology and Management, 10, e4418 & Tinsley, T., & White, J. (2023, March). UK Development of Deployable Nuclear Space Power Systems. In 2023 IEEE Aerospace Conference (pp. 1-7). IEEE.

Patel, D., & Jawale, P. M. (2021). Nuclear On-board: Prospects and Challenges of Outer Space Exploration with Nuclear Power Sources. Indian JL & Just., 12, 11.

Landis, T.R. (2023), “Flashback: Boeing B-52G Nuclear Engine Testbed”, Air Force Material Command, available at: www.afmc.af.mil/News/Article-Display/Article/3381692/flashback-boeing-b-52g-nuclear-engine-testbed/.

Venneri, P., & Eades, M. (2021). Space Nuclear Power and Propulsion at USNC-Tech. Nuclear Technology, 207(6), 876-881.

Zhan, L., Bo, Y., Lin, T., & Fan, Z. (2021). Development and outlook of advanced nuclear energy technology. Energy Strategy Reviews, 34, 100630.

Ho, M., Obbard, E., Burr, P. A., & Yeoh, G. (2019), supra note 286.

Abram, T., & Ion, S. (2008). Generation-IV nuclear power: A review of the state of the science. Energy Policy, 36(12), 4323-4330.

Lambert, T., & Nghiem, X. H. (2014). Review of the deployment of and research into generation III & IV nuclear fission reactors for power generation. PAM Review Energy Science & Technology, 1, 90-108.

Nuclear reactors can be also categorized by type of nuclear reaction, moderator material, coolant, fuel phase or use. See Dahiya, S. REVIEW OF NUCLEAR REACTORS.

Reinberger, D., Ajanovic, A., & Haas, R. (2019). The technological development of different generations and reactor concepts. The Technological and Economic Future of Nuclear Power, 243-258.

Pioro, I., & Duffey, R. (2019). Current and future nuclear power reactors and plants. In Managing Global Warming (pp. 117-197). Academic Press.

The first plant was a Pressurized Water Reactor, while the latter plants were Gas Cooled Reactors. Wealer, B., Bauer, S., Hirschhausen, C. V., Kemfert, C., & Göke, L. (2021). Investing into third generation nuclear power plants-Review of recent trends and analysis of future investments using Monte Carlo Simulation. Renewable and Sustainable Energy Reviews, 143, 110836.

World Nuclear Association (n.d.), “Karachi-1, Pakistan”, available at: www.world-nuclear.org/reactor/default.aspx/KANUPP-1.

Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374.

Ingersoll, D. T. (2009). Deliberately small reactors and the second nuclear era. Progress in nuclear energy, 51(4-5), 589-603.

The two principal families of Light Water Reactors (LWR) of the GEN-I heir were the Boiling Water Reactor (BWR) and the Pressurized Water Reactor (PWR). See Radioactivity.eu.com (n.d.), “1970-2009:the rise of nuclear energy”, available at: radioactivity.eu.com/nuclearenergy/generation_ii_reactors. Other reactor designs included in the GEN-II class are Canada Deuterium Uranium (CANDU), the Advanced Gas-cooled Reactor (AGR) [See Farkas, G. (2010). From Gen I to Gen III.] and Vodo-Vodyanoi Energetichesky Reactor (VVER). [See Goldberg, S., & Rosner, R. (2011, March). Nuclear reactors: Generation to generation. Cambridge: American academy of arts and sciences.]

Wealer, B., Bauer, S., Hirschhausen, C. V., Kemfert, C., & Göke, L. (2021), supra note 350.

Ali, O. (2022), “How Does A Gen III Nuclear Power Plant Differ From A Gen II”, AZO CLEANTECH, available at: www.azocleantech.com/article.aspx?ArticleID=1561. The safety features of the GEN-II mirror mainly Western-originating standards for safety. See Goldberg, S., & Rosner, R. (2011, March), supra note 355.

Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374.

The (energy) availability factor (EAF) of a certain reactor is a performance indicator and refers to the percentage of time during which the plant is employed for energy generation. The EAF calculates the maximum volume of power that could have been produced during a specific period minus the planned and unplanned energy losses. See Ibanez, M., Rothwell, G., & Spiegelberg, R. (1999). Evaluating and improving nuclear power plant operating performance. IAEA-TECDOC-1098. Nuclear Power Engineering Section–International Atomic Energy Agency, Pariaman, H., Garniwa, I., Surjandari, I., & Sugiarto, B. (2015). Availability improvement methodology in thermal power plant. Scientific Journal of PPI-UKM, 2(1), 43-52 & Curley, G. M., & Mandula, J. (2008). Performance of Generating Plant: Managing the Changes. Executive Summary and Table of Contents.

The aim of core management is to satisfy the safety standards demanded for the protection of the reactor’s core, while simultaneously ensuring the efficient and cost-effective use of nuclear fuel resources. [See NS-G, I. S. S. N. (2002). 2.5: Core Management and Fuel Handling for Nuclear Power Plants. IAEA, Vienna.]

Cognet, G. (2010). The different generation of nuclear reactors from Generation-1 to Generation-4.

Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374.

Cojan, M. (2012). Considerations Related to LTO for Gen II/III NPP (No. IAEA-CN--194).

Ibid.

National Nuclear Safety Administration (2018), “Fangjiashan NPP”, available at: nnsa.mee.gov.cn/english/npps/list/201805/t20180517_440496.html & World Nuclear Association (n.d.), “Fangjiashan 1, China”, available at: www.world-nuclear.org/reactor/default.aspx/FANGJIASHAN-1.

Cojan, M. (2012), supra note 388 & Power Technology (2016), “Ningde Nuclear Power Plant”, available at: www.power-technology.com/projects/ningde-nuclear-power-plant-china/?cf-view.

Ibid. See also World Nuclear Association (n.d.), “Temelin 1, Czech Republic”, available at: www.world-nuclear.org/reactor/default.aspx/TEMELIN-1.

European Nuclear Society (n.d.), “STUK Confirms Loviisa Can Operate Until 2050”, available at: www.euronuclear.org/news/stuk-confirms-loviisa-npp-can-operate-until-2050/.

Power Technology (2024), “Power plant profile: Browns Ferry 1, US”, available at: www.power-technology.com/data-insights/power-plant-profile-browns-ferry-1-us/ & TENNESSEE VALLEY AUTHORITY (n.d.), “Browns Ferry Nuclear Plant”, available at: www.tva.com/energy/our-power-system/nuclear/browns-ferry-nuclear-plant.

ORGENERGOSTROY (n.d.), “Balakovo NPP”, available at: https://ioes.ru/en/portfolio/44-balakovo-npp.

RADIOACTIVITY.EU.COM (n.d.), “The reactors of tomorrow before those of after tomorrow”, available at: https://radioactivity.eu.com/nuclearenergy/generation_iii_reactors.

Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374.

Ali, O. (2022), supra note 382.

Padmanabhan, V. T. SAFETY ISSUES AND GEN-III NON-COMPLIANCE OF ROSATOM REACTORS.

Goldberg, S., & Rosner, R. (2011, March), supra note 380.

Ibid. See also Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374.

Lambert, T., & Nghiem, X. H. (2014). Review of the deployment of and research into generation III & IV nuclear fission reactors for power generation. PAM Review Energy Science & Technology, 1, 90-108.

Goldberg, S., & Rosner, R. (2011, March), supra note 380.

Robertson, L. K., & Lamont, L. A. (2015, May). An overview of nuclear power. In 2015 5th International Youth Conference on Energy (IYCE) (pp. 1-6). IEEE.

Poullikkas, A. (2013). An overview of future sustainable nuclear power reactors. International Journal of Energy & Environment, 4(5).

Nuclear For Climate Australia (2023), “NUCLEAR POWER PLANT TECHNOLOGIES”, Edition 8, available at: https://nuclearforclimate.com.au/plant-technologies/. [Accessed March 2024] See also Gaio, P. (2006). AP1000. The PWR revisited.

Skone, T. J., & Engineer, P. S. E. (2012). Role of Alternative Energy Sources: Nuclear Technology Assessment. Department of Energy, NET Laboratory, Pittsburgh, PA.

Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374.

Lambert, T., & Nghiem, X. H. (2014), supra note 402.

Fennern, L. (2018). Design evolution of BWRs: Dresden to generation III+. Progress in Nuclear Energy, 102, 38-57.

Teller, A. (2010). The EPR Reactor: Evolution to Gen III+ based on proven technology. PDF). Areva.

Leverenz, R., Gerhard, L., & Göbel, A. (2004). The European Pressurized Water Reactor. A safe and competitive solution for future energy needs & Paterson, A. W. (2017). Journey from Gen III/III+ to Gen IV reactors.

Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374.

Marques, J. G. (2010). Evolution of nuclear fission reactors: Third generation and beyond. Energy Conversion and Management, 51(9), 1774-1780. The ABWR, along with the APWR, the ES-92, the ACPR-1000 and the ALWR are GEN-III reactor. See Poullikkas, A. (2013), supra note 405 & Lambert, T., & Nghiem, X. H. (2014), supra note 402.

There is also the CAP1000, which along with CAP1400, are the Chinese version of the Westinghouse’s trademark AP1000. See Hu, C., Bai, H., Wang, X., Hu, Y. (2024), “Foreword to ‘Outcomes and achievements from researches orienting the future in nuclear fission technology: China (+Taiwan)-GEN III’”, Nuclear Engineering and Design, Volume 421, 113089, ISSN 0029-5493,

https://doi.org/10.1016/j.nucengdes.2024.113089.

Leverenz, R., Gerhard, L., & Göbel, A. (2004). The European Pressurized Water Reactor. A safe and competitive solution for future energy needs.

Li, Y., Chen, C., Xin, P., Chen, Y., & Hou, H. (2017). The Gen-III Nuclear Power Technology in the World. In Proceedings of The 20th Pacific Basin Nuclear Conference: Volume 3 (pp. 321-328). Springer Singapore.

Marques, J. G. (2011). Review of Generation‐III/III+ Fission Reactors. Nuclear energy encyclopedia: Science, technology, and applications, 231-254. The advanced model of AES-92 is the GEN-III+ AES-2006 (also known as VVER-1200+). See Padmanabhan, V. T., supra note 399.

Goldberg, S., & Rosner, R. (2011, March), supra note 380.

Robertson, L. K., & Lamont, L. A. (2015, May), supra note 404.

The design of the Barakah NPP’s units, APR1400, used as reference the South Korean units 3 and 4 at Shin Kori. See Emirates Nuclear Energy Corporation (n.d.), “Frequently Asked Questions: Technology and Safety”, available at: www.enec.gov.ae/barakah-plant/frequently-asked-questions/. [Accessed March 2024]

Power Technology (2016), “Fangchenggang Nuclear Power Plant, Guangxi”, available at: www.power-technology.com/projects/fangchenggang-nuclear-power-plant-guangxi/?cf-view. [Accessed on March 2024]

Power Technology (2024), “Power Plant profile: Novovoronezh II 2, Russia”, available at: www.power-technology.com/data-insights/power-plant-profile-novovoronezh-ii-2-russia/. [Accessed on March 2024]

Previously known as Shin Kori NPP. IAEA (2022), “IAEA Sees Operational Safety Commitment at Saeul Nuclear Power Plant in Republic of Korea, Encourages Continued Improvement”, available at: www.iaea.org/newscenter/pressreleases/iaea-sees-operational-safety-commitment-at-saeul-nuclear-power-plant-in-republic-of-korea-encourages-continued-improvement. [Accessed on March 2024]

The delays and rising cost in on-site construction of nuclear plants has led to the consideration of modularization as a method to increase productivity. See more Wrigley, P. A., Wood, P., O'Neill, S., Hall, R., & Robertson, D. (2021). Off-site modular construction and design in nuclear power: A systematic literature review. Progress in nuclear energy, 134, 103664.

Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374.

Kasperski, T., & Storm, A. (2020). Eternal care: Nuclear waste as toxic legacy and future fantasy. Geschichte und Gesellschaft, 46(4), 682-705.

Van de Graaf, S. (2015, March). The global nuclear renaissance: Has the rhetoric become a reality. PSA 65th Annual International Conference, Political Studies Association, Sheffield.

Horvath, A., & Rachlew, E. (2016). Nuclear power in the 21st century: Challenges and possibilities. Ambio, 45, 38-49.

See Goldberg, S., & Rosner, R. (2011, March), supra note 380.

Robertson, L. K., & Lamont, L. A. (2015, May), supra note 404.

Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374.

Zohuri, B. (2020). Generation IV nuclear reactors. In Nuclear reactor technology development and utilization (pp. 213-246). Woodhead Publishing.

Ibid.

Ibid.

The primary mission of EURATOM pertains to the economy, encompassing the responsibility of establishing the prerequisites for the prompt employment and expansion of nuclear industries. See Treaty Establishing the European Atomic Energy Community (1957), 298 UNTS 167, entered into force 1 January 1958 (Euratom Treaty) (consolidated version Official Journal of the European Union (OJ) C 203 (7 June 2016)).

Zohuri, B. (2020), supra note 433. See also GIF (n.d.), “Welcome to Generation IV International Forum”, Official website, available at: www.gen-4.org/gif/. [Accessed on March 2024] & Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374. The member states of GIF are Argentina, the Republic of Korea, Japan, France, the Russian Federation, Brazil, Canada, the United States, the United Kingdom, the People’s Republic of China, the Republic of South Africa and Switzerland.

Stanculescu, A. (2021). Worldwide status of advanced reactors (GEN IV) research and technology development.

Idaho National Laboratory (n.d.), “Powering the Future”, available at: https://factsheets.inl.gov/FactSheets/GenerationIV.pdf [Accessed on March 2024].

Zohuri, B. (2020), supra note 433, GIF (n.d.), supra note 437 & Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374.

Ibid.

Robertson, L. K., & Lamont, L. A. (2015, May), supra note 404.

KUPITZ, J. (2004). International Project on Innovative Nuclear Reactors and Fuel Cycles (INPRO). SMR, 1555, 5.

IFNEC (n.d.), “Our Mission”, official website, available at: www.ifnec.org/ifnec/jcms/j_6/home [Accessed on March 2024] & World Nuclear Association (2016), “International Framework for Nuclear Energy Cooperation”, available at: https://world-nuclear.org/information-library/current-and-future-generation/international-framework-for-nuclear-energy-coopera.aspx [Accessed on March 2024].

World Nuclear Association (2021), “Fast Neutron Reactors”, available at: https://world-nuclear.org/information-library/current-and-future-generation/fast-neutron-reactors.aspx [Accessed on March  2024].

Perera, J. (2022), “Time for a new focus on fast reactors”, Nuclear Engineering International, available at: www.neimagazine.com/features/featuretime-for-a-new-focus-on-fast-reactors-10380132/ [Accessed on March 2024].

Ibid.

In a closed fuel cycle, contrary to an open cycle, the used fuel rather than being regarded as waste is subject to reprocessing. Taebi, B., & Kloosterman, J. L. (2008). To recycle or not to recycle? An intergenerational approach to nuclear fuel cycles. Science and Engineering Ethics, 14, 177-200.

International Atomic Energy Agency. (2013). Status of Fast Reactor Research and Technology Development. International Atomic Energy Agency, Monti, S. (Ed.). (2015). Fast Reactors and Related Fuel Cycles: Safe Technologies and Sustainable Scenarios (FR13): Proceedings of an International Conference on Fast Reactors and Related Fuel Cycles: Safe Technologies and Sustainable Scenarios (FR13). International Atomic Energy Agency & International Atomic Energy Agency. (2013). Framework for Assessing Dynamic Nuclear Energy Systems for Sustainability: Final Report of the INPRO Collaborative Project GAINS. IAEA.

Kriventsev, V., Monti, S., Batra, C., & Khoroshev, M. (2018). Overview of the IAEA Activities in the Field of Fast Reactor Technology Development: Current State and Future Vision.

Yang, W. S. (2012). Fast reactor physics and computational methods. Nuclear Engineering and Technology, 44(2), 177-198. The designs comprising the Generation IV Energy Systems are presented in depth in the following pages.

Bouchard, J., & Bennett, R. (2008). Generation IV advanced nuclear energy systems. Nuclear Plant Journal, 26(5), 42-45.

Dahiya, S., supra note 373. In order to sustain nuclear fission, thermal reactors utilize slowed or thermal neutrons, while their fuel assemblies usually contain natural or moderately enriched uranium. In thermal reactors a moderator is also required to control the speed of the neutrons that have resulted by the fission reaction. The two classes of thermal reactors, based on their moderator, are Light Water Reactors (LWR), the moderator of which is purified natural water (H2O), and Heavy Water Reactors (HWR), that employ, as the name indicates, heavy water, also known as deuterium oxide (D2O). See Zohuri, B., & Fathi, N. (2017). Thermal-hydraulic analysis of nuclear reactors. Springer International Publishing.

Ibid.

Perera, J. (2022), supra note 446.

Khodarev, E. (1978). Liquid metal fast breeder reactors. IAEA bulletin, 20(6), 29-38.

Zohuri, B., & Fathi, N. (2017), supra note 453.

Ibid.

Lee, S., Yoon, B., & Shin, J. (2016). Effects of nuclear energy on sustainable development and energy security: sodium-cooled fast reactor case. Sustainability, 8(10), 979.

World Nuclear Association (2021), supra note 445.

Herald, M. (2016). Potential Impact of Nuclear Power on Water Resources in the Southeast United States. Pursuit-The Journal of Undergraduate Research at The University of Tennessee, 7(1), 13.

Khodarev, E. (1978), supra note 456.

Lee, S., Yoon, B., & Shin, J. (2016), supra note 459. HWL refers to highly radioactive by-products of the nuclear industry’s activities.

IAEA (n.d.), “Fast Reactors”, available at: www.iaea.org/topics/fast-reactors [Accessed on March 2024]. One of the most ambitious and research on FR model is the sodium-cooled fast reactor. See Kamide, H. (2022), “Sodium-Cooled Fast Reactors”, Introduction, in JSME Series in Thermal and Nuclear Power Generation, Academic Press, Volume 3, Pages 1-8, https://doi.org/10.1016/B978-0-12-824076-2.00001-8.

Dahiya, S., supra note 373.

US Atomic Energy Commission. (1974). Proposed Final Environmental Statement, Liquid Metal Fast Breeder Reactor Program. Atomic Energy Commission, Washington, DC: WASH-1535, 7.

Khodarev, E. (1978), supra note 456.

World Nuclear Association (2021), supra note 445.

Stanculescu, A. (2021), supra note 438.

Dean, K. M. (2023), “Fast reactor technology is an American clean, green and secure energy option”, Argonne National Laboratory, available at: www.anl.gov/article/fast-reactor-technology-is-an-american-clean-green-and-secure-energy-option [Accessed on March 2024]. See also Perera, J. (2022), supra note 446.

Tian, W. (2022). Grand challenges in advanced nuclear reactor design. Frontiers in Nuclear Engineering, 1, 1000754 & Khrennikov, N. (2019). Russian Regulatory Body Approaches for licensing of advanced reactors and related activities. Other nations that also have an extensive historical experience with the above examined type of nuclear reactor are the United States, the United Kingdom, France and, in a lesser extent, Germany and Japan. See Ohshima, H., & Kubo, S. (2016). Sodium-cooled fast reactor. In Handbook of Generation IV Nuclear Reactors (pp. 97-118). Woodhead Publishing.

Kelly, J. E. (2014). Generation IV International Forum: A decade of progress through international cooperation. Progress in Nuclear Energy, 77, 240-246.

International Atomic Energy Agency. (2013), supra note 449 & Kriventsev, V., Monti, S., Batra, C., & Khoroshev, M. (2018), supra note 450.

Klinov, D. A., Gulevich, A. V., Kagramanyan, V. S., Dekusar, V. M., & Usanov, V. I. (2019). Development of sodium-cooled fast reactors under modern conditions: challenges and stimuli. Atomic Energy, 125, 143-148.

Aoto, K., Dufour, P., Hongyi, Y., Glatz, J. P., Kim, Y. I., Ashurko, Y., Hill, R. & Uto, N. (2014). A summary of sodium-cooled fast reactor development. Progress in Nuclear Energy, 77, 247-265. The countries that, since the early 2000s, have proceeded with the formation of a strategy for the materialization of an advanced class of SFRs are France, Russia, the Republic of Korea, Japan, China and India. See Ohshima, H., & Kubo, S. (2016), supra note 471.

Joyce, M. (2018). Chapter 11—Advanced reactors and future concepts. Nuclear Engineering. Butterworth-Heinemann, 263-295.

Chen, J., Zhang, D., Song, P., Wang, X., Wang, S., Liang, Y., Qui, S., Zhang, Y., Wang, M. & Su, G. H. (2018). CFD investigation on thermal-hydraulic behaviors of a wire-wrapped fuel subassembly for sodium-cooled fast reactor. Annals of Nuclear Energy, 113, 256-269.

Kamide, H., Ohshima, H., Kubo, S., & Chikazawa, Y. (2023). Generation-IV Sodium-cooled Fast Reactor (SFR) concepts in Japan. In Handbook of Generation IV Nuclear Reactors (pp. 395-418). Woodhead Publishing.

Joyce, M. (2018), supra note 476.

Stanculescu, A. (2021), supra note 438.

MOX stands for Mixed Oxide Fuel, which results from the combination of depleted uranium and used plutonium, extracted from the core of a reactor. See World Nuclear Association (2017), “Mixed Oxide (MOX) Fuel”, available at: https://world-nuclear.org/information-library/nuclear-fuel-cycle/fuel-recycling/mixed-oxide-fuel-mox.aspx [Accessed on March 2024]

Singh, O. P. (2021). Nuclear reactors of the future. In Physics of Nuclear Reactors (pp. 695-746). Academic Press.

Joyce, M. (2018), supra note 476.

Ibid.

Ohshima, H., & Kubo, S. (2016), supra note 471.

Tian, W. (2022), supra note 471.

King, E. C., & Nelson, D. B. (1955), Liquid sodium–water reactions, Liquid Metal Handbook, Sodium NaK Supplement, Atomic Energy Commission, Bureau of Ships, Washington, DC, 126-133, Aoyagi, M., Takata, T., & Uno, M. (2021). Numerical modeling of radiation heat transfer from combusting droplets for a sodium fire analysis. Nuclear Engineering and Design, 380, 111258. & Carnevali, S., Proust, C., & Soucille, M. (2013). Unsteady aspects of sodium–water–air reaction. Chemical Engineering Research and Design, 91(4), 633-639.

GEN-IV International Forum (n.d.), “Very-High-Temperature Reactor (VHTR)”, available at: www.gen-4.org/gif/jcms/c_42153/very-high-temperature-reactor-vhtr [Accessed on March 2024].

Yan, X. L. (2023). Very High Temperature Reactor. In Handbook of Generation IV Nuclear Reactors (pp. 133-165), Woodhead Publishing.

Petti, D., Gougar, H., Wright, R., Windes, W., Herring, S., Schultz, R., & Humrickhouse, P. (2010), Current Status of VHTR Technology Development (No. INL/CON-10-18035), Idaho National Lab.(INL), Idaho Falls, ID (United States).

Fütterer, M. A., Fu, L., Sink, C., de Groot, S., Pouchon, M., Kim, Y. W., Carre, F. & Tachibana, Y. (2014), Status of the very high temperature reactor system, Progress in Nuclear Energy, 77, 266-281.

Petti, D., Gougar, H., Wright, R., Windes, W., Herring, S., Schultz, R., & Humrickhouse, P. (2010), supra note 490.

Ibid. Even though market prognostications have placed more importance to modest outlet temperatures, between 700 and 850 degrees Celsius, due to their promising application for the next several years. See GEN-IV International Forum (n.d.), supra note 488.

Chapin, D., Kiffer, S., & Nestell, J. (2004). The very high temperature reactor: a technical summary. MPR Associates, Alexandria, VA.

Kallman, B. (2013). The very high temperature reactor. Web, MAR & Sink, C. (2017). Very High Temperature Reactors. US Department of Energy, 25, 2017-02.

de Andrade, D. A., de Almeida, M. C., Alonso, V. M., Paixão, C. M., Arquinto, J., & Kotani, P. O. (2022). Very high temperature reactor (VHTR)-a proposal to generation IV reactors Reactor a temperatura muito elevada (VHTR)-uma proposta para reactores da geração IV. Brazilian Journal of Development, 8(3), 17576-17588.

Chapin, D., Kiffer, S., & Nestell, J. (2004), supra note 494.

Roberts, G. (2013), Nuclear Reactor Basics and Designs for the Future & Kallman, B. (2013). The very high temperature reactor. Web, MAR.

Web, MAR & Sink, C. (2017), supra note 495.

Fukaya, Y., Goto, M., Inoi, H., Ishitsuka, E., Iyoku, T., Kunitomi, K., Nakagawa, S., Nishihara, T., Ho, H.Q., Saikusa, A. and Sakaba, N., 2021. Operation of HTTR. In High Temperature Gas-Cooled Reactors (pp. 257-311). Academic Press.

Mao, C., Yin, Z., Zhang, L., & Ding, H. (2022). Analysis of gamma spectra from burnup measurement in HTR-10. Applied Radiation and Isotopes, 186, 110298.

Petti, D. A., Demkowicz, P. A., & Maki, J. T. (2012). TRISO-coated particle fuel performance. Comprehensive Nuclear Materials, 3(INL/JOU-09-16642).

Xu, Y. (2002). The HTR-10 project and its further development (No. INIS-XA--524).

GEN-IV International Forum (n.d.), supra note 488 & Pioro, I., & Duffey, R. (2019). Current and future nuclear power reactors and plants. In Managing Global Warming (pp. 117-197). Academic Press.

Web, MAR & Sink, C. (2017), supra note 495.

Chen, F. L., & Gougar, H. D. (2018). On behalf of the VHTR System Steering Committee. In The Generation IV International Forum.

Kallman, B. (2013), supra note 495.

de Andrade, D. A., de Almeida, M. C., Alonso, V. M., Paixão, C. M., Arquinto, J., & Kotani, P. O. (2022), supra note 496.

Web, MAR & Sink, C. (2017), supra note 495.

Ibid. See also World Nuclear Association (2020), “Generation IV Nuclear Reactors”, available at: https://world-nuclear.org/information-library/nuclear-fuel-cycle/nuclear-power-reactors/generation-iv-nuclear-reactors.aspx [Accessed on March 2024].

Ibid.

Oka, Y., Koshizuka, S., Ishiwatari, Y., & Yamaji, A. (2010). Super light water reactors and super fast reactors: Supercritical-pressure light water cooled reactors. Springer Science & Business Media.

Dollezhal, N. A., Emelyanov, I. Y., & Aleshchenkov, P. I. (1964). DEVELOPMENT OF SUPERHEATING POWER REACTORS OF BELOYARSK NUCLEAR POWER STATION (BAZS) TYPE (No. A/CONF. 28/P/309). USSR & Wright, J. H., & Patterson, J. F. (1966, April). Status and application of supercritical-water reactor coolant. In Am. Power Conf (pp. 139-149).

Schulenberg, T., Leung, L. K., & Oka, Y. (2014). Review of R&D for supercritical water cooled reactors. Progress in Nuclear Energy, 77, 282-299.

The 374 refers to water’s critical temperature, while the 22.1 refers to the critical point of pressure. See Xu, D., Dong, L., & Ren, J. (2023). Introduction of hydrogen routines. In Hydrogen economy (pp. 45-65). Academic Press.

Yoshida, N., Matsugami, M., Harano, Y., Nishikawa, K., & Hirata, F. (2021). Structure and properties of supercritical water: Experimental and theoretical characterizations. J, 4(4), 698-726.

Nakahara, M. (1997). The structure of water and aqueous electrolyte solutions under extreme conditions. Recent Res. Devel. in Physical Chem., 1, 17-49.

Schienbein, P., & Marx, D. (2020). Supercritical water is not hydrogen bonded. Angewandte Chemie International Edition, 59(42), 18578-18585.

Galli, G., & Pan, D. (2013). A closer look at supercritical water. Proceedings of the National Academy of Sciences, 110(16), 6250-6251. At the supercritical stage water constantly changes states, so its liquid and gas forms are at such a level inseparable. See Yoshida, N., Matsugami, M., Harano, Y., Nishikawa, K., & Hirata, F. (2021), supra note 516.

Schulenberg, T., Leung, L. K. H., Brady, D., Oka, Y., Yamada, K., Bae, Y., & Willermoz, G. (2009). Supercritical water-cooled reactor (SCWR) development through GIF collaboration. In International Conference on Opportunities and Challenges for Water Cooled Reactors in the 21st Century, IAEA Publication IAEA-CN-164-5S06 (p. 67).

Cai, J., Renault, C., & Gou, J. (2014). Supercritical water-cooled reactors. Science and Technology of Nuclear Installations, 2014.

Schulenberg, T., & Leung, L. (2016). Super-critical water-cooled reactors. In Handbook of Generation IV Nuclear Reactors (pp. 189-220). Woodhead Publishing.

Schulenberg, T., & Leung, L. K. (2023). SuperCritical Water-cooled Reactors (SCWRs). In Handbook of Generation IV Nuclear Reactors (pp. 259-284). Woodhead Publishing.

Gabriel, O. O., Alade, A. M., & Chad-Umoren, Y. E. (2013). Science and technology of supercritical water cooled reactors: review and status. Science and Technology, 3(7). LWR thermal efficiency is estimated at around 33%. See Rahman, M. M., Dongxu, J., Jahan, N., Salvatores, M., & Zhao, J. (2020). Design concepts of supercritical water-cooled reactor (SCWR) and nuclear marine vessel: A review. Progress in Nuclear Energy, 124, 103320.

Systems encountered in other reactor models such as moisture separators, steam generators and reheaters are not required features in a SCWR. See Stanculescu, A. (2021), supra note 438.

Schulenberg, T., & Leung, L. (2016), supra note 523.

That cost decrease could reach even one third of the expenditure associated with PWRs according to studies conducted by the Japanese. See World Nuclear Association (2020), supra note 510.

Stanculescu, A. (2021), supra note 438.

Linna, F., & Fawen, Z. (2016). Fuel Assembly Design for Supercritical Water-Cooled Reactor. Journal of Nuclear Engineering and Radiation Science, 2(1), 011014.

Smith, C. F., & Cinotti, L. (2016). Lead-cooled fast reactor. In Handbook of Generation IV Nuclear Reactors (pp. 119-155). Woodhead Publishing.

Ibid.

Stanculescu, A. (2021), supra note 438.

Alemberti, A. (2016). The lead fast reactor: an opportunity for the future?. Engineering, 2(1), 59-62.

Smith, C. F., & Cinotti, L. (2016), supra note 530. Pure lead is primarily considered as the basic coolant of the system but mixtures such as LBE (acronym used for the eutectic alloy of lead and bismuth) have also been suggested for some LFR systems and is considered by GIF as an alternative option. See also Alemberti, A. (2021). Lead cooled fast reactors. Reference Module in Earth Systems and Environmental Sciences, 523-544.

Tarantino, M., Angiolini, M., Bassini, S., Cataldo, S., Ciantelli, C., Cristalli, C., Del Nevo, A., Di Piazza, I., Diamanti, D., Eboli, M., Fiore, A., Grasso, G., Lodi, F., Lorusso, P., Marinari, R., Martelli, D., Papa, F., Sartorio, C., Utili, M. & Venturini, A. (2021). Overview on lead-cooled fast reactor design and related technologies development in ENEA. Energies, 14(16), 5157.

GEN-IV International Forum (n.d.), “Lead-Cooled Fast Reactor (LFR)”, available at: www.gen-4.org/gif/jcms/c_9358/lfr [Accessed on April 2024].

Alemberti, A., Tuček, K., Takahashi, M., Obara, T., Moiseev, A., Tocheny, L., Hwang, I.S., Smith, C., Wu, Y. & Zhou, T. (2017). Development of safety design criteria for the lead-cooled fast reactor.

Smith, C. F., & Cinotti, L. (2016), supra note 530.

Smith, C.F. (2017), “Lead-Cooled Fast Reactor (LFR)”, available at: www.gen-4.org/gif/upload/docs/application/pdf/2017-06/geniv-lfr-cfsmith-final.pdf [Accessed on April 2024]

Stanculescu, A. (2021), supra note 438.

World Nuclear Association (2020), supra note 510 & GEN-IV International Forum (n.d.), supra note 536.

Ciampichetti, A., Bernardi, D., Cadiou, T., Forgione, N., Poli, F., & Pellini, D. (2011). LBE–water interaction in LIFUS 5 facility under different operating conditions. Journal of nuclear materials, 415(3), 449-459, Pucciarelli, A., Barone, G., Forgione, N., Galleni, F., & Martelli, D. (2020). NACIE-UP post-test simulations by CFD codes. Nuclear Engineering and Design, 356, 110392 & Tian, W. (2022)., supra note 471.

LBE has the benefit of a melting/freezing point of 125 degrees Celsius compared to the 327 of lead, but is also more expensive with the availability of bismuth being under inspection in case of the construction of a great LFR fleet. See Smith, C.F. (2017), supra note 539 & Smith, C. F., & Cinotti, L. (2016), supra note 530.

Zhang, J., & Li, N. (2008). Review of the studies on fundamental issues in LBE corrosion. Journal of nuclear materials, 373(1-3), 351-377. Restricting operation in high temperatures and the employment of enhance materials to exclude the potential of corrosion in alleviated temperatures could be sought out as solutions to the corrosion problems. See Alemberti, A., Tuček, K., Takahashi, M., Obara, T., Moiseev, A., Tocheny, L., Hwang, I.S., Smith, C., Wu, Y. & Zhou, T. (2017), supra note 537 & Smith, C.F. (2017), supra note 539.

Buongiorno, J., Loewen, E. P., Czerwinski, K., & Larson, C. (2004). Studies of polonium removal from molten lead-bismuth for lead-alloy-cooled reactor applications. Nuclear Technology, 147(3), 406-417. The production of polonium-210 in lead-based coolants is much smaller when utilizing lead, while the magnitude of production increases 2 to 3 times if engaging LBE.

Dalle Donne, M., & Wirtz, K. (1972). European GCFR program plans. Gesellschaft für Kernforschung mbH.

Weaver, K. (2011). Gas-cooled fast reactors. In Fast Spectrum Reactors (pp. 489-511). Boston, MA: Springer US & Snyder Jr, H. J. (1979). Overview of the GCFR core engineering development program (No. GA-A-15511; CONF-790572-7). General Atomic Co., San Diego, CA (USA).

Ibid.

Ibid.

Gougar, H. D. (2018). Gas-cooled fast reactor research and development roadmap (No. INL/EXT-17-41800-Rev. 6). Idaho National Lab.(INL), Idaho Falls, ID (United States).

Stainsby, R., Peers, K., Mitchell, C., Poette, C., Mikityuk, K., & Somers, J. (2011). Gas cooled fast reactor research in Europe. Nuclear Engineering and Design, 241(9), 3481-3489 & Kvizda, B., Mayer, G., Vácha, P., Malesa, J., Siwiec, A., Vasile, A., Bebjak, S. & Hatala, B. (2019). ALLEGRO Gas-cooled Fast Reactor (GFR) demonstrator thermal hydraulic benchmark. Nuclear Engineering and Design, 345, 47-61.

Stanculescu, A. (2021), supra note 438.

Anzieu, P., Stainsby, R., & Mikityuk, K. (2009). Gas-cooled fast reactor (GFR): overview and perspectives. Paris, France 9-10 September 2009, 127.

Stainsby, R., Peers, K., Mitchell, C., Poette, C., Mikityuk, K., & Somers, J. (2011), supra note 551.

Ibid. See also Gougar, H. D. (2018), supra note 550.

Ibid. See also Stainsby, R., Peers, K., Mitchell, C., Poette, C., Mikityuk, K., & Somers, J. (2011), supra note 547. For the properties of helium as a gas coolant please refer to the paragraph discussing the VHTR system.

Tian, W. (2022), supra note 471.

GEN-IV International Forum (n.d.), “Gas-Cooled Fast Reactor (GFR)”, available at: www.gen-4.org/gif/jcms/c_42148/gas-cooled-fast-reactor-gfr [Accessed on April 2024].

Stanculescu, A. (2021), supra note 438 & Stainsby, R., Peers, K., Mitchell, C., Poette, C., Mikityuk, K., & Somers, J. (2011), supra note 551.

Tian, W. (2022), supra note 471.

The term “classing” refers to the layer, in the form of a tube, separating the fuel from the coolant, to wit the external part of the fuel rods. See Nuclear Power for Everybody (n.d.), “Fuel Cladding – Cladding Tube”, available at: www.nuclear-power.com/nuclear-power-plant/nuclear-fuel/fuel-assembly/fuel-cladding-cladding-tube/ [Accessed on April 2024]. Fuels employing the elements of carbide and nitride are under consideration. See Gougar, H. D. (2018), supra note 550.

Pope, M. A., Lee, J. I., Hejzlar, P., & Driscoll, M. J. (2009). Thermal hydraulic challenges of Gas Cooled Fast Reactors with passive safety features. Nuclear Engineering and Design, 239(5), 840-854.

Gougar, H. D. (2018), supra note 550.

Bostelmann, F., Skutnik, S. E., Walker, E. D., Ilas, G., & Wieselquist, W. A. (2022). Modeling of the molten salt reactor experiment with SCALE. Nuclear Technology, 208(4), 603-624 & US Atomic Energy Commission. Division of Reactor Development. (1972). An Evaluation of the Molten Salt Breeder Reactor: Prepared for the Federal Council on Science and Technology R & D Goals Study (Vol. 1222). US Government Printing Office.

Haubenreich, P. N., & Engel, J. R. (1970). Experience with the molten-salt reactor experiment. Nuclear Applications and technology, 8(2), 118-136.

Robertson, R. C. (1965). MSRE design and operations report part I: Description of reactor design (ORNL-TM-728). Retrieved from US Department of Energy Office of Scientific and Technical Information.

Ramana, R. V. (2022), “Molten salt reactors were trouble in the 1960s-and they remain trouble today”, Bulletin Of The Atomic Scientists, available at: https://thebulletin.org/2022/06/molten-salt-reactors-were-trouble-in-the-1960s-and-they-remain-trouble-today/ [Accessed on April 2024].

Reinberger, D., Ajanovic, A., & Haas, R. (2019), supra note 374 & Forsberg, C. W. (2006, June). Molten-salt-reactor technology gaps. In Proc. 2006 International Congress on Advances in Nuclear Power Plants (ICAPP’06) (pp. 4-8). Citeseer. The MSR was originally meant to attend to the needs of the aircraft nuclear propulsion project.

Midgley, E. & Fisher, M. (2024), “Molten Slat Reactor Technology Development Continues As Countries Work Towards Net Zero”, IAEA, available at: www.iaea.org/newscenter/news/molten-salt-reactor-technology-development-continues-as-countries-work-towards-net-zero [Accessed on April 2024].

Stanculescu, A. (2021), supra note 438 & World Nuclear Association (2021), “Molten Salt Reactors”, available at: https://world-nuclear.org/information-library/current-and-future-generation/molten-salt-reactors.aspx [Accessed on April 2024].

IAEA (n.d.), “Molten salt reactors”, available at: www.iaea.org/topics/molten-salt-reactors [Accessed on April 2024].

Some reactor models utilize an epithermal neutron spectrum, enabling a greater fuel breeding ration in comparison to thermal reactors. Nuclear Power For Everybody (n.d.), “Neutron Energy”, available at: www.nuclear-power.com/nuclear-power/reactor-physics/atomic-nuclear-physics/fundamental-particles/neutron/neutron-energy/ [Accessed on April 2024] & Stanculescu, A. (2021), supra note 438.

Ibid.

GEN-IV International Forum (n.d.), “Molten Salt Reactor (MSR)”, available at: www.gen-4.org/gif/jcms/c_42150/molten-salt-reactor-msr [Accessed on April 2024].

Worrall, A., Betzler, B. R., Flanagan, G., Holcomb, D. E., Hu, J., Kovacic, D. N., Qualls, L. & Worrall, L. G. (2018). Molten salt reactors and associated safeguards challenges and opportunities.

Ibid.

Allibert, M., Aufiero, M., Brovchenko, M., Delpech, S., Ghetta, V., Heuer, D., Laureau, A. & Merle-Lucotte, E. (2016). Molten salt fast reactors. In Handbook of Generation IV Nuclear Reactors (pp. 157-188). Woodhead Publishing.

Serp, J., Allibert, M., Beneš, O., Delpech, S., Feynberg, O., Ghetta, V., Heuer, D., Holcomb, D., Ignatiev, V., Kloosterman, J.L., Luzzi, L., Merle-Lucotte, E., Uhlir, J., Yoshioka, R. & Zhimin, D. (2014). The molten salt reactor (MSR) in generation IV: overview and perspectives. Progress in Nuclear Energy, 77, 308-319 & Boussier, H., Delpech, S., Ghetta, V., Heuer, D., Holcomb, D. E., Ignatiev, V., ... & Serp, J. (2012). The molten salt reactor in generation IV: overview and perspectives. In Proceedings of the Generation4 International Forum Symposium, San Diego, USA.

Stanculescu, A. (2021), supra note 438 & Allibert, M., Aufiero, M., Brovchenko, M., Delpech, S., Ghetta, V., Heuer, D., Laureau, A. & Merle-Lucotte, E. (2016), supra note 577.

Ibid. See also Mausolff, Z., DeHart, M., & Goluoglu, S. (2021). Design and assessment of a molten chloride fast reactor. Nuclear Engineering and Design, 379, 111181.

Forsberg, C., Hu, L. W., Peterson, P., & Sridharan, K. (2015). Fluoride-salt-cooled high-temperature reactor (FHR) for power and process heat (No. DOE/NEUP--11-3272). Massachusetts Inst. of Technology (MIT).

IAEA (n.d.), “Small modular reactors”, available at: www.iaea.org/topics/small-modular-reactors [Accessed on April 2024].

Ibid. Other sources compute that number to exceed 50. See Tian, W. (2022), supra note 471 & NEA (2021), “Small Modular Reactors: Challenges and Opportunities”, OECD Publishing, Paris, available at: www.oecd-nea.org/jcms/pl_57979/small-modular-reactors-challenges-and-opportunities [Accessed on April 2024].

Tian, W. (2022), supra note 471.

Lommers, L. J., Shahrokhi, F., Mayer III, J. A., & Southworth, F. H. (2012). AREVA HTR concept for near-term deployment. Nuclear Engineering and Design, 251, 292-296, Baxi, C. B., Telengator, A., & Razvi, J. (2012). Rotor scale model tests for power conversion unit of GT-MHR. Nuclear Engineering and Design, 251, 344-348, Triplett, B. S., Loewen, E. P., & Dooies, B. J. (2012). PRISM: a competitive small modular sodium-cooled reactor. Nuclear Technology, 178(2), 186-200, Singh, K., Rampall, I., & Rajkumar, J. (2011, January). On the Thermal-Hydraulic Essentials of the H oltec I nherently S afe M odular U nderground R eactor (HI-SMUR) System. In Small Modular Reactors Symposium (Vol. 54730, pp. 95-106), Kyung Min Kim, Byoung In Lee, Donghwi Lee, Hyung Hee Cho, Kyeong Hoon Jeong, Experimental and numerical study on local pressure distributions in a system-integrated modular reactor, Annals of Nuclear Energy, Volume 47, 2012, Pages 216-224, ISSN 0306-4549, https://doi.org/10.1016/j.anucene.2012.05.002, (https://www.sciencedirect.com/science/article/pii/S0306454912001545) & Prasad, S., Abdulla, A., Morgan, M. G., & Azevedo, I. L. (2015). Nonproliferation improvements and challenges presented by small modular reactors. Progress in Nuclear Energy, 80, 102-109.

European Commission (n.d.), “Small Modular Reactors”, available at: https://energy.ec.europa.eu/topics/nuclear-energy/small-modular-reactors_en [Accessed on April 2024].

Details on microreactors are provided in the next sub-section of the present dissertation.

Reitsman, F. (2020), “Overview of Small Modular Reactor Technology Development”, IAEA presentation for GEN-IV International Forum, available at: www.gen-4.org/gif/jcms/c_119057/gen-iv-webinar-series-43-overview-of-small-modular-reactor-technology-development-mr-frederik-reitsma-29-july-2020 [Accessed on April 2024].

Nasiri, S., Ansarifar, G. R., & Esteki, M. H. (2022). Design of the CAREM nuclear reactor core with dual cooled annular fuel and optimizing the thermal-hydraulic, natural circulation, and neutronics parameters. Annals of Nuclear Energy, 169, 108939 & Iglesia, F. (2024), “Argentina’s nuclear projects at risk due to slashing of state funding”, Buenos Aires Herald, available at: https://buenosairesherald.com/politics/argentinas-nuclear-projects-at-risk-due-to-slashing-of-state-funding [Accessed on April 2024].

Akbari-Jeyhouni, R., Ochbelagh, D. R., Maiorino, J. R., D'Auria, F., & de Stefani, G. L. (2018). The utilization of thorium in small modular reactors–part I: Neutronic assessment. Annals of Nuclear Energy, 120, 422-430 & World Nuclear Industry Status Report (2019), “Russia Connects World’s First Floating Mini Nuclear Power Plant to the Grid”, available at: https://www.worldnuclearreport.org/Russia-Connects-World-s-First-Floating-Mini-Nuclear-Power-Plant-to-Grid.html [Accessed on April 2024].

NET ZERO ENERGY (2022), “INTERESTINGENGINEERING.COM World’s First Small Modular Reactor Is Sending Power To The Grid”, available at: https://netzeroenergy.gr/2022/01/05/interestingengineering-com-worlds-first-small-modular-nuclear-reactor-is-sending-power-to-the-grid/ [Accessed on April 2024].

Guan, C., Chai, X., Zhang, T., & Liu, X. (2022). Transient coupling analysis of loss-of-coolant accidents in HTR-PM based on CFD approaches. Annals of Nuclear Energy, 173, 109097.

Pannier, C. P., & Skoda, R. (2014). Comparison of small modular reactor and large nuclear reactor fuel cost. Energy and Power engineering, 2014.

Reitsman, F. (2020), supra note 588.

Medium-sized reactors, ranging from 300 MWe up to 700 MWe, are also considered to be encapsulated within the SMR concept definition. See World Nuclear Association (2024), “Small Nuclear Power Reactors”, available at: https://world-nuclear.org/information-library/nuclear-fuel-cycle/nuclear-power-reactors/small-nuclear-power-reactors.aspx [Accessed on April 2024] & Rowinski, M. K., White, T. J., & Zhao, J. (2015). Small and Medium sized Reactors (SMR): A review of technology. Renewable and Sustainable Energy Reviews, 44, 643-656.

NEA (2021), supra note 583.

Liou, J. (2023), “What are Small Modular Reactors (SMRs)”, IAEA, available at: www.iaea.org/newscenter/news/what-are-small-modular-reactors-smrs [Accessed on April 2024].

Ingersoll, D. T. (2009). Deliberately small reactors and the second nuclear era. Progress in nuclear energy, 51(4-5), 589-603.

IAEA (n.d.), supra note 582.

Natural circulation loops transfer heat from a thermal source to a heat drain with the absence of rotating components facilitating liquid movement through force. See Vijayan, P. K., & Nayak, A. K. (2005). Natural circulation systems: advantages and challenges. Natural Circulation in Water Cooled Power Plants.

The term is part of the terminology associated with natural circulation systems and it indicates the tube connecting the thermal source with the heat sink. See Ibid.

The mechanism of a pressurizer facilitates the comprehension and prognostication of the system’s behaviour, through management of the pressure within the primary coolant circuit. See Chung, Y. J., Yang, S. H., & Bae, K. H. (2018). A steam or gas pressurizer effect on the system pressure characteristics for an integral pressurized water reactor. Annals of Nuclear Energy, 115, 249-255.

Lien, P. H., & Rohatgi, U. S. (2023). Scaling challenges in small modular reactor. Nuclear Engineering and Design, 407, 112309 & Pettersson, K., Chung, H., Billone, M., Fuketa, T., Nagase, F., Grandjean, C., Hache, G., Papin, J., Heins, L., Hozer, Z., In de Betou, J, Kelppe, S., Mayer, R., Scott, H., Voglewede, J., Sonnenburg, H., Sunder, S., Valach, M., Vrtilkova, V.,  Waeckel. N., Wiesenack, W. & Zimmermann, M. (2009). Nuclear fuel behaviour in loss-of-coolant accident (LOCA) conditions.

Subki, H. (2020), “Advances in Small Modular Reactor Technology Developments”, IAEA-NPTD Webinar on Advances in Small Modular Reactor (SMR) Design and Technology Developments A Booklet Supplement to the IAEA Advanced Reactors Information System (ARIS), (p. v). International Atomic Energy Agency (IAEA)

Lloyd, C. A., Roulstone, T., & Lyons, R. E. (2021). Transport, constructability, and economic advantages of SMR modularization. Progress in Nuclear Energy, 134, 103672.

Murakami, T., & Anbumozhi, V. (2022). Small Modular Reactor (SMR) Deployment: Advantages and Opportunities for ASEAN. Economic Research Institute for ASEAN and East Asia, Jakarta, Indonesia.

Testoni, R., Bersano, A., & Segantin, S. (2021). Review of nuclear microreactors: Status, potentialities and challenges. Progress in Nuclear Energy, 138, 103822.

World Nuclear Association (2024), supra note 595.

Goldberg, S., & Rosner, R. (2011, March), supra note 380.

Liu, Z., & Fan, J. (2014). Technology readiness assessment of small modular reactor (SMR) designs. Progress in Nuclear Energy, 70, 20-28 & Reitsman, F. (2020), supra note 588.

Banks, G. D. (2013). SMR Deployment Faces Challenges Despite National Interest A Summary of Findings from the November 14 CSIS Workshop on SMRs. CSIS, December, 18.

McCombie, C., Budnitz, R., Mansouri, N., Rogner, H., Schock, R., Shihab-Eldin, A. (2022), “Small modular reactors: what are the barriers to deployment”, Nuclear Engineering International, available at: www.neimagazine.com/features/featuresmall-modular-reactors-what-are-the-barriers-to-deployment-9651893/ [Accessed on April 2024].

Prasad, S., Abdulla, A., Morgan, M. G., & Azevedo, I. L. (2015), supra note 585.

Reitsman, F. (2020), supra note 588.

Goldberg, S., & Rosner, R. (2011, March), supra note 380.

Upadhyaya, B. R., Lish, M. R., Hines, J. W., & Tarver, R. A. (2015). Instrumentation and control strategies for an integral pressurized water reactor. Nuclear engineering and technology, 47(2), 148-156.

IAEA (.d.), “Integral Pressurized Water Reactor Simulator (SMR)”, available at: www.iaea.org/topics/nuclear-power-reactors/nuclear-reactor-simulators-for-education-and-training/integral-pressurized-water-reactor-simulator [Accessed on April 2024].

Liu, Z., & Fan, J. (2014), supra note 610.

Fetterman, R. J., Harkness, A. W., Smith, M. C., & Taylor, C. (2011, January). An overview of the Westinghouse small modular reactor. In Small Modular Reactors Symposium (Vol. 54730, pp. 75-82).

Westinghouse Nuclear (n.d.), “AP300™ SMR”, available at: www.westinghousenuclear.com/energy-systems/ap300-smr/ [Accessed on April 2024].

Goldberg, S., & Rosner, R. (2011, March), supra note 380, Simpson, J. W. (1995). Nuclear power from underseas to outer space. In Fuel and Energy Abstracts (Vol. 4, No. 36, p. 264) & Nuclear Engineering International (2009), “B&W unveils its new modular reactor”, available at: www.neimagazine.com/news/newsbw-unveils-its-new-modular-reactor [Accessed on April 2024].

Banks, G. D. (2013), supra note 611.

European Commission (n.d.), supra note 586.

NEA (2021), supra note 583.

This specific challenge relates to the entirety of the nuclear sector. See Calian (n.d.), “Small Modular Reactors: Addressing 3 Key Obstacles to Commercialization”, available at: www.calian.com/insights/small-modular-reactors-addressing-3-key-obstacles-to-commercialization/ [Accessed on April 2024].

Ibid.

Thurmann-Moe, L., Unger, B., Kruse, M., Pederson, F., Dobloug., A. & Rød, S. (2023), “SMALL MODULAR REACTORS”, Arthur D. Little, available at: www.adlittle.com/my-en/insights/prism/small-modular-reactors [Accessed on April 2024].

McCombie, C., Budnitz, R., Mansouri, N., Rogner, H., Schock, R., Shihab-Eldin, A. (2022), supra note 612.

Muir, M. (2025), “US and investors gambling on unproven nuclear technology, warn experts”, FINANCIAL TIMES, available at: www.ft.com/content/8a18e722-3efa-404e-9f2a-709eed877f18?accessToken=zwAGQ9KSk1g4kdOKGOciPvpATtOfKnCe7Yd_GA.MEUCIQD8cmJ0H4v6mcQWp3-opHh3szPex9lPMrGYIdqxu0DBDgIgFPdEwavS_qtd4xNS8U7UQ2WBfx2mqtWCBOxzjmwP7fc&sharetype=gift&token=85fb3758-6e90-40fc-b228-0c1a395c0615 (Accessed on November 2025).

Ibid.

Black, G., Shropshire, D., Araújo, K., & van Heek, A. (2023). Prospects for nuclear microreactors: a review of the technology, economics, and regulatory considerations. Nuclear Technology, 209(sup1), S1-S20.

Testoni, R., Bersano, A., & Segantin, S. (2021), supra note 607 & Guillen, D. P., Trellue, H., O'Brien, J., Sabharwall, P., Reid, R. S., Unruh, T., Harrison, T.J. & Sham, T. L. (2019). Development of a non-nuclear microreactor test bed. Transactions of the American Nuclear Society, 121, 1623-1626.

Trellue, H. R., O'Brien, J., Reid, R. S., Guillen, D., & Sabharwall, P. (2020). Microreactor Agile Nonnuclear Experimental Testbed Test Plan (No. LA-UR-20-20824). Los Alamos National Lab.(LANL), Los Alamos, NM (United States); Idaho National Lab.(INL), Idaho Falls, ID (United States).

Microreactors can be constructed faster and then shipped and deployed within a few weeks to the designated site. See Government Accountability Office (2020), “Nuclear Microreactors”, available at: www.gao.gov/assets/gao-20-380sp.pdf [Accessed on April 2024].

Fakhry, F., Buongiorno, J., Rhyne, S., Cross, B., Roege, P., & Landrey, B. (2024). A central facility concept for nuclear microreactor maintenance and fuel cycle management. Nuclear Engineering and Technology, 56(3), 855-865. Alternative terms often used to allude to these nuclear reactors are vSMRs and special-purpose reactors. See Owusu, D., Holbrook, M. R., & Sabharwall, P. (2018). Regulatory and licensing strategy for microreactor technology (No. INL/EXT-18-51111-Rev000). Idaho National Lab.(INL), Idaho Falls, ID (United States).

Huaqi, L., Zeyu, O., Xiaoyan, T., Li, G., Da, L., Xiaoya, K., & Jianqiang, S. (2022). The development of high temperature heat-pipe transient model for system analysis of heat pipe cooled microreactor. Progress in Nuclear Energy, 146, 104145.

Morton, T. J., O'Brien, J. E., & Hartvigsen, J. L. (2020). Functional and operating requirements for the microreactor agile non-nuclear experimental test bed (MAGNET) (No. INL/EXT-20-58104-Rev000). Idaho National Lab.(INL), Idaho Falls, ID (United States).

Buongiorno, J., Carmichael, B., Dunkin, B., Parsons, J., & Smit, D. (2021). Can nuclear batteries be economically competitive in large markets?. Energies, 14(14), 4385 & Antonello, F., Buongiorno, J., & Zio, E. (2023). Insights in the safety analysis of an early microreactor design. Nuclear Engineering and Design, 404, 112203.

Stevens, K. R., Oncken, J. E., Bryan, H. C., Gutowska, I., Ulrich, T. A., Boring PhD, R. L., & Culler, M. J. (2023). Opportunities and Challenges for Remote Microreactor Operations.

Adkins, H., & Maheras, S. (2021). Microreactor Transportability Challenges–21072. WM2021, Pheonix, Arizona, 19 & Zhang, Z., Wang, C., Guo, K., Qiu, S., Su, G. H., & Tian, W. (2024). Microreactors. In Nuclear Power Reactor Designs (pp. 309-347). Academic Press.

Many designs have been conceptualized with the idea of employing HALEU (High-assay, low enriched uranium) as fuel of choice, which requires a 20 % enrichment of Uranium-235. See Government Accountability Office (2020), supra note 634.

Owusu, D., Holbrook, M. R., & Sabharwall, P. (2018), supra note 635.

Government Accountability Office (2020), supra note 634.

Ibid.

Testoni, R., Bersano, A., & Segantin, S. (2021), supra note 632.

Through the term “nuclear fusion”, the present paper refers to and analyses hot fusion, which must be distinguished from “cold fusion” or otherwise referenced to as Low Energy Nuclear Reaction (LENR) [Pitkänen, M. (2017). Cold fusion, low energy nuclear reactions, or dark nuclear synthesis]. As the acronym suggests, the theoretical concept of cold fusion involves the induction of nuclear reactions through decreased energies and temperatures in comparison to traditional nuclear reactions. See Nagel, D. J. (2011). Hot and cold fusion for energy generation. Journal of Condensed Matter Nuclear Science, 4(1), 1-16.

Thiele, L. P. (2024). Sustainability. John Wiley & Sons.

Alcott, B. (2013). The conundrum: How scientific innovation, increased efficiency, and good intentions can make our energy and climate problems worse, David Owen, Riverhead Books, New York (2011), ISBN: 978-1-59448-561-9.

Bradshaw, A. M., Hamacher, T., & Fischer, U. (2011). Is nuclear fusion a sustainable energy form?. Fusion Engineering and Design, 86(9-11), 2770-2773.

Brundtland, G. H. (1985). World commission on environment and development. Environmental policy and law, 14(1), 26-30.

Ayres, R., Van den Berrgh, J., & Gowdy, J. (2001). Strong versus weak sustainability: Economics, natural sciences, and consilience. Environmental Ethics, 23(2), 155-168.

Bradshaw, A. M., Hamacher, T., & Fischer, U. (2011), supra note 649.

Petrescu, R. V., Aversa, R., Kozaitis, S., Apicella, A., & Petrescu, F. I. (2017). Some proposed solutions to achieve nuclear fusion. American Journal of Engineering and Applied Sciences, 10(3).

Haider, Q. (2019), supra note 13.

Morse, E. (2018). Nuclear Fusion. Springer & Takeda, S., & Pearson, R. (2018). Nuclear fusion power plants. Power Plants in the Industry.

Magaud, P., Marbach, G., & Cook, I. (2004). Nuclear fusion reactors. Encyclopedia of Energy, 4, 365-381.

Bethe, H. A. (1939). Energy production in stars. Physical Review, 55(5), 434.

Atkinson, R. D. E., & Houtermans, F. G. (1929). Zur Frage der Aufbaumöglichkeit der Elemente in Sternen. Zeitschrift für Physik, 54(9), 656-665 & Oliphant, M. L. E., Harteck, P., & Rutherford, E. (1934). Transmutation effects observed with heavy hydrogen. Proceedings of the Royal Society of London. Series A, Containing Papers of a Mathematical and Physical Character, 144(853), 692-703.

Sánchez, J. (2014). Nuclear fusion as a massive, clean, and inexhaustible energy source for the second half of the century: brief history, status, and perspective. Energy Science & Engineering, 2(4), 165-176 & Haider, Q. (2019), supra note 13.

Ibid.

Ongena, J., & Ogawa, Y. (2016). Nuclear fusion: Status report and future prospects. Energy Policy, 96, 770-778.

Meschini, S., Laviano, F., Ledda, F., Pettinari, D., Testoni, R., Torsello, D., & Panella, B. (2023). Review of commercial nuclear fusion projects. Frontiers in Energy Research, 11, 1157394.

Barbarino, M. (2020). A brief history of nuclear fusion. Nature Physics, 16(9), 890-893. Other sources suggest that the scientific community’s intial tries to duplicate the inner workings of the sun’s core can be placed earlier chronologically in the 1940s. See Haider, Q. (2019), supra note 13.

Takeda, S., & Pearson, R. (2018), supra note 655.

Meschini, S., Laviano, F., Ledda, F., Pettinari, D., Testoni, R., Torsello, D., & Panella, B. (2023), supra note 662.

Magaud, P., Marbach, G., & Cook, I. (2004), supra note 656 & Guo, Z. (2023). Nuclear fusion: Overview of challenges and recent progress.

Ongena, J., & Ogawa, Y. (2016). Nuclear fusion: Status report and future prospects. Energy Policy, 96, 770-778.

Barbarino, M. (2023), “What is Nuclear Fusion?”, www.iaea.org/newscenter/news/what-is-nuclear-fusion (Accessed on July 2024).

## Mohamed, M., Zakuan, N. D., Tengku Hassan, T. N. A., Lock, S. S. M., & Mohd Shariff, A. (2024). Global Development and Readiness of Nuclear Fusion Technology as the Alternative Source for Clean Energy Supply. Sustainability, 16(10), 4089. For updated information see also INTERNATIONAL ATOMIC ENERGY AGENCY, Fusion Device Information System - FusDIS (2024), https://nucleus.iaea.org/sites/fusionportal/Pages/FusDIS.aspxI (Accessed on July 2024).

Takeda, S., & Pearson, R. (2018). Nuclear fusion power plants. Power Plants Ind. The term aneutronic fusion fuels refers to one of the pair of fuels, together with neutronic ones (Deuterium-Tritium is a neutronic fusion fuel along with Deuterium-Deuterium and Tritium-Tritium), that power fusion reactors. Aneutronic fusion fuels do not result in neutrons as derivatives like their counterparts. See also Nayak, B. (2013). Reactivities of neutronic and aneutronic fusion fuels. Annals of Nuclear Energy, 60, 73-77.

The fusion plasma density is the main catalyst for the categorisation [See Mendoza, M., & Zhan, D. (2022). Investigations Into the General Fusion Company Reactor Concept]. Respectfully, the term plasma refers to a state of matter described as “partially-ionized gas” with electromagnetic properties, which essentially separates the reacting atoms to electrons and nuclei. [See Breeze, P. (2016). Nuclear power. Academic Press, Kembleton, R. (2019). Nuclear fusion: What of the future?. In Managing Global Warming (pp. 199-220). Academic Press & Princeton Plasma Physics Laboratory (n.d.),”About Plasma and Fusion”, U.S. Department of Energy, available at: www.pppl.gov/about/about-plasmas-and-fusion (Accessed on July 2024)].

Meschini, S., Laviano, F., Ledda, F., Pettinari, D., Testoni, R., Torsello, D., & Panella, B. (2023). Review of commercial nuclear fusion projects. Frontiers in Energy Research, 11, 1157394.

INTERNATIONAL ATOMIC ENERGY AGENCY, supra note 669. As to the alternative concepts, the classification according to the IAEA website includes “dense plasma focus, field reversed configuration, inertial electrostatic fusion, levitated dipole, magnetic mirror machine, magnetized target fusion, pinch, reversed field pinch, simple magnetized torus, space propulsor, spheromak.”

Kembleton, R. (2019), supra note 671 & Linke, J., Du, J., Loewenhoff, T., Pintsuk, G., Spilker, B., Steudel, I., & Wirtz, M. (2019). Challenges for plasma-facing components in nuclear fusion. Matter and Radiation at Extremes, 4(5) & Jones, S. (2023). Advanced manufacturing applied to nuclear fusion—challenges and solutions. Journal of Physics: Energy, 5(4), 042001.

Girka, I. (Ed.). (2019). Nuclear Fusion: One Noble Goal and a Variety of Scientific and Technological Challenges. BoD–Books on Demand.

Kumar, S. R., Renuka, G., Bijlwan, S., Abbas, A. H., Sharma, S., & Waghulde, K. B. (2024). Nuclear Fusion Reactors: Challenges and Potential as a Future Energy Source. In E3S Web of Conferences (Vol. 540, p. 13014). EDP Sciences.

Mathew, M. D. (2022). Nuclear energy: A pathway towards mitigation of global warming. Progress in Nuclear Energy, 143, 104080.

Dinçer, H., & Uluer, G. S. (2021). Significant Issues of Nuclear Energy Investment Decisions for Energy Importer Countries. Economics Literature, 3(1), 1-12.

IAEA (2023), “IAEA Annual Projections Rise Again as Countries Turn to Nuclear for Energy Security and Climate Action”, available at: www.iaea.org/newscenter/pressreleases/iaea-annual-projections-rise-again-as-countries-turn-to-nuclear-for-energy-security-and-climate-action [Accessed on July 2024].

Morgan Stanley (2024), “Nuclear Power’s Renaissance”, available at: www.morganstanley.com/ideas/nuclear-energy-investment-outlook-2050 [Accessed on July 2024].

Day, P. (2023), “Investors are turning bullish on nuclear”, Reuters, available at: www.reuters.com/business/energy/investors-are-turning-bullish-nuclear-2023-11-16/ [Accessed on July 2024]. See also Mathew, M. D. (2022). Nuclear energy: A pathway towards mitigation of global warming. Progress in Nuclear Energy, 143, 104080.

European Union (2006), “A European strategy for sustainable, competitive and secure energy.”, available at: https://eur-lex.europa.eu/EN/legal-content/summary/green-paper-a-european-strategy-for-sustainable-competitive-and-secure-energy.html [Accessed on August 2024].

Kashurnikov, S., Prasolov, V., Gorbanyov, V., & Rogulin, R. (2020). Nuclear power production: the future or the past?. International Journal of Energy Economics and Policy, 10(5), 131-141.

Caglar, A. E., Gönenç, S., & Destek, M. A. (2024). The influence of nuclear energy research and development investments on environmental sustainability: evidence from the United States and France. International Journal of Sustainable Development & World Ecology, 1-12.

Engau, C., & Hoffmann, V. H. (2009). Effects of regulatory uncertainty on corporate strategy—an analysis of firms’ responses to uncertainty about post-Kyoto policy. Environmental Science & Policy, 12(7), 766-777.

Marcus, A. (2009). Meeting the Challenges of the Future. In Strategic Foresight: A New Look at Scenarios (pp. 9-25). New York: Palgrave Macmillan US & Rogge, K. S., Schneider, M., & Hoffmann, V. H. (2011). The innovation impact of the EU Emission Trading System—Findings of company case studies in the German power sector. Ecological Economics, 70(3), 513-523.

Taylor, M. (2009), The financing of nuclear power plants. NEA News, 27(2), 1-4..

Ibid.

Stanivukovic, M. (2011). State-investor disputes connected to foreign investments in the nuclear energy sector: A review of the two cases arising under the energy charter treaty. Zbornik Radova, 45, 253.

Haas, R., Thomas, S., & Ajanovic, A. (2019). The historical development of the costs of nuclear power. The technological and economic future of nuclear power, 97-115.

Sheriffah, N. K. A. I. S., & Ahmad, I. (2013). Financing Nuclear Power.

Project financing suggests utilizing the NPP project itself as collateral through a framework of a partnership involving both private and public investors.. See Taylor, M. (2009), supra note 687 & Piranfar, H., & Masood, O. (2012). Measuring risk and financial support for NPPs using Monte Carlo simulation. The Journal of Risk Finance, 13(2), 160-170.

Rotaru, I., Glodeanu, F., & SA, S. N. N. (2006), FINANCING A NPP IN THE FREE MARKET ENVIRONMENT.

The concept will be further discussed in the following paragraphs.

Joyner, D. H. (2014). Nuclear power plant financing post-Fukushima, and international investment law. Journal of World Energy Law and Business, 7(2), 69-92.

Ibid.

Taylor, M. (2009). The financing of nuclear power plants. NEA News, 27(2), 1-4. In the UK for example the EDF invested over 7 billion pounds to the existing power generating fleet from 2009 until 2023. See EDF (2024), “Investment boost to maintain UK nuclear output at current levels until at least 2026”, available at: www.edfenergy.com/media-centre/investment-boost-maintain-uk-nuclear-output-current-levels-until-least-2026#:~:text=EDF's%20plans%20to%20invest%20a,security%20and%20cut%20carbon%20emissions [Accessed on October 2024].

Ibid. See also Joskow, P. L., & Parsons, J. E. (2009). The economic future of nuclear power. Daedalus, 138(4), 45-59.

World Nuclear Association (2024), World Nuclear Association (2024), “Financing Nuclear Energy”, available at: https://world-nuclear.org/information-library/economic-aspects/financing-nuclear-energy [Accessed on August 2024].

Gilmore, A. (2024), “Nuclear energy: appetite growing but challenges remain”, available at: www.netzeroinvestor.net/news-and-views/nuclear-energy-appetite-growing-but-challenges-remain [Accessed on October 2024].

It should be noted that the greatest part of the literature regarding the costs of the second generation of NPPs’ construction circles around France and the United States. See Wealer, B., Bauer, S., Hirschhausen, C. V., Kemfert, C., & Göke, L. (2021). Investing into third generation nuclear power plants-Review of recent trends and analysis of future investments using Monte Carlo Simulation. Renewable and Sustainable Energy Reviews, 143, 110836.

Tehrani, B. S. (2014). Electricity investments and development of power generation capacities: An approach of the drivers for investment choices in Europe regarding nuclear energy (Doctoral dissertation, Ecole Centrale Paris). See also Le Gros, G. (2020). The beginning of nuclear energy in France: Messmer's plan. Revue Generale Nucleaire, 56-59 & Quiggin, J. (n.d.), “The 1970s French experience with nuclear power”, Supplementary Submission, Parliament of Australia, available at: https://www.aph.gov.au/DocumentStore.ashx?id=3453bdb9-177a-435c-bfd8-6bfdc840ad04&subId=668820 [Accessed on August 2024].

Similarly to other European power utilities EDF used to be a state-owned company with a vertical consolidation. See OECD/Nuclear Energy Agency (2009), “appendix 1: Background on financing NPPs in selected countries”, in the Financing of Nuclear Power Plants, OECD Publishing, Paris. Available at: https://doi.org/10.1787/9789264079229-9-en

World Nuclear Association (2024), supra note 699.

Ibid.

Ialenti, V. (2021). Mankala Chronicles: Nuclear Energy Financing and Cooperative Corporate Form in Finland. Nuclear Technology, 207(9), 1377-1393.

Grubler, A. (2010). The costs of the French nuclear scale-up: A case of negative learning by doing. Energy Policy, 38(9), 5174-5188.

Haas, R., Thomas, S., & Ajanovic, A. (2019), supra note 690.

Csik, B. J. (1999). The challenge of financing nuclear power plants.

The last plant that connected to the French grid was the PWR Civaux 2, which was connected for the first time on the 24th of December of 1999. See World Nuclear Association (2024), “Nuclear Power in France”, available at: https://world-nuclear.org/information-library/country-profiles/countries-a-f/france [Accessed on September 2024].

Ritchie, H. (2024), “France’s nuclear fleet gives it one of the world’s lowest-carbon electricity grids”, Our World In Data, available at: https://ourworldindata.org/data-insights/frances-nuclear-fleet-gives-it-one-of-the-worlds-lowest-carbon-electricity-grids [Accessed on September 2024].

Worthington, B. (2022), “I campaigned against nuclear energy in the 2000s. Now I’ve changed my mind”, Prospect magazine, available at: www.prospectmagazine.co.uk/ideas/technology/60200/i-campaigned-against-nuclear-energy-in-the-2000s.-now-ive-changed-my-mind [Accessed on September 2024] & World Nuclear Association (2024), “Nuclear power in the United Kingdom”, available at: https://world-nuclear.org/information-library/country-profiles/countries-t-z/united-kingdom [Accessed on September 2024].

Haves, E. (2021), “Nuclear Power in the UK”, UK Parliament, House of Lords Library, available at: https://lordslibrary.parliament.uk/nuclear-power-in-the-uk/ [Accessed on September 2024].

NUCLEAR AMRC (2024), “UK nuclear new build developers”, available at: https://namrc.co.uk/intelligence/uk-new-build/developers/ [Accessed on September 2024].

OECD/Nuclear Energy Agency (2009), supra note 703.

World Nuclear News (2012), “RWE, EOn pull plug on UK nuclear plans”, available at: www.world-nuclear-news.org/Articles/RWE,-EOn-pull-plug-on-UK-nuclear-plans [Accessed on November 2024].

Caglar, A. E., Gönenç, S., & Destek, M. A. (2024). The influence of nuclear energy research and development investments on environmental sustainability: evidence from the United States and France. International Journal of Sustainable Development & World Ecology, 1-12.

Dooley, J. J. (2008). US federal investments in energy R&D: 1961-2008 (No. PNNL-17952). Pacific Northwest National Lab.(PNNL), Richland, WA (United States).

EIA (2023), “Nuclear Explained: U.S nuclear industry”, available at: www.eia.gov/energyexplained/nuclear/us-nuclear-industry.php [Accessed on October 2024].

Michael Grunwald (2009), “Three Mile Island at 30: Nuclear Power’s Pitfalls”, TIME, available at http://www.time.com/time/nation/article/0,8599,1888119,00.html & IAEA (2008), “FINANCING OF NEW NUCLEAR POWER PLANTS”, IAEA NUCLEAR ENERGY SERIES, NO. NG-T-4.2

Goldemberg, J. (2009), “Nuclear energy in developing countries”, Daedalus, available at: https://www.amacad.org/publication/daedalus/nuclear-energy-developing-countries [Accessed on August 2024].

Canadian Nuclear Society (n.d.), “Why is Canada so influential in nuclear history”, available at: www.cns-snc.ca/learn-nuclear/basics-of-nuclear/why-is-canada-so-influential-in-nuclear-history/ [Accessed on October 2024].

The first commercial CANDUs were connected to the grid and began operating in the 1970s, however the development of the design was underway since 1951 and a demonstration model was connected to the grid earlier in 1962. See World Nuclear Association (2024), “Nuclear Power in Canada”, available at: https://world-nuclear.org/information-library/country-profiles/countries-a-f/canada-nuclear-power [Accessed on October 2024] and Ibid. The design was initially constructed to fill the gap in lack of enrichment and thus was focused on the utilisation of natural uranium. See Ho, M., Obbard, E., Burr, P. A., & Yeoh, G. (2019), supra note 286.

Steed, R. G. (2006). Nuclear power: in Canada and beyond. GeneralStore PublishingHouse.

Wilde, C., Nickerson, K., Deleon, J. (2018), “Nuclear Energy in Canada - Energy Market Assessment”, National Energy Board Report, available at: www.cer-rec.gc.ca/en/data-analysis/energy-commodities/electricity/report/archive/2018-nuclear-energy/2018nclrnrg-eng.pdf [Accessed on November 2024].

Ibid.

Hurst, D. G. (1997). Canada Enters the Nuclear Age: a technical history of Atomic Energy of Canada Limited as seen from its research laboratories. McGill-Queen's Press-MQUP.

Joskow, P. L., & Parsons, J. E. (2009). The economic future of nuclear power. Daedalus, 138(4), 45-59.

Patel, S. (2018), “THE BIG PICTURE: Abandoned Nuclear Power Projects”, available at: www.powermag.com/interactive-map-abandoned-nuclear-power-projects/ (Accessed on May 2025).

Chirica, T., Pall, S., Lebedev, A., & Dobrin, M. (2003). Financing Nuclear Projects. Case Study: Unit 2 Cernavoda NPP.

Joyner, D. H. (2014), supra note 695.

Damodaran, A. (1996). Corporate finance. Hoboken: Wiley.

Lach, S., Neeman, Z., & Schankerman, M. (2021). Government financing of R&D: A mechanism design approach. American Economic Journal: Microeconomics, 13(3), 238-272.

Pinto, J. M. (2017). What is project finance?. Investment management and financial innovations, 14(1.1), 200-210.

Ibid.

Joyner, D. H. (2014), supra note 695.

Sheriffah, N. K. A. I. S., & Ahmad, I. (2013), supra note 691.

Perreard, J. H., & Crépin, A. (2011). Financing nuclear power plants.

Ibid. & Gompers, P., & Lerner, J. (2010). Equity financing. Handbook of entrepreneurship research: An interdisciplinary survey and introduction, 183-214.

Baltacı, N., & Ayaydın, H. (2014). Firm, country and macroeconomic determinants of capital structure: Evidence from Turkish banking sector.

Taylor, M. (2009), supra note 697.

The agreement in a FPTK contract entails the delivery of the project for which the contract was executed in a specific date, up to standard for the intended use and without a price escalation. See Guha, S. K. (2020). Turnkey Construction Contracts in Construction and Infrastructure Projects: An Introductory Overview.

Taylor, M. (2009), supra note 697.

Sainati, T., Locatelli, G., & Smith, N. (2019). Project financing in nuclear new build, why not? The legal and regulatory barriers. Energy policy, 129, 111-119.

Pehuet Lucet, F. (2019). Conditions and possibilities for financing new nuclear power plants. The Journal of World Energy Law & Business, 12(1), 21-35.

Haywood, L., Leroutier, M., & Pietzcker, R. (2023). Why investing in new nuclear plants is bad for the climate. Joule, 7(8), 1675-1678.

Sainati, T., Locatelli, G. & Smith, N. (2019), supra note 744.

PRIS (n.d), IAEA, Status Report-Under Construction, available at: https://pris.iaea.org/PRIS/WorldStatistics/UnderConstructionReactorsByCountry.aspx [Accessed on May 2025].

McKie, R. E. (2020). An environmental harm perspective to examine our understanding of UK nuclear energy expansion. The Extractive Industries and Society, 7(2), 556-564.

According to its official website Urenco operates globally by providing uranium enrichment services. See www.urenco.com/about [Accessed on October 2024].

GOV.UK (2024), “UK first in Europe to invest in next generation of nuclear fuel”, available at: www.gov.uk/government/news/uk-first-in-europe-to-invest-in-next-generation-of-nuclear-fuel [Accessed on October 2024].

EDF (2024), supra note 697.

GOV.UK (2021), “New finance model to cut cost of new nuclear power stations”, available at: www.gov.uk/government/news/new-finance-model-to-cut-cost-of-new-nuclear-power-stations#:~:text=The%20Nuclear%20Energy%20(Financing)%20Bill,Tunnel%20and%20Heathrow%20Terminal%205. [Accessed on September 2024].

International Energy Agency (2024), “Investments in small modular reactor technology”, available at: www.iea.org/policies/12643-investments-in-small-modular-reactor-technology Accessed on October 2024 & Natural Resources Canada (2024), “Government of Canada Advances Small Modular Reactor Research and Development With $13.6-Million Investment”, Government of Canada, available at: www.canada.ca/en/natural-resources-canada/news/2024/10/government-of-canada-advances-small-modular-reactor-research-and-development-with-136-million-investment.html# (Accessed on October 2024)

Ibid.

Natural Resources Canada (2024), “Government of Canada Announces $50 Million for Ontario’s Expansion of Clean, Reliable and Affordable Nuclear Energy”, Government of Canada, available at: www.canada.ca/en/natural-resources-canada/news/2024/02/government-of-canada-announces-50-million-for-ontarios-expansion-of-clean-reliable-and-affordable-nuclear-energy.html [Accessed on October 2024].

Ibid.

Ontario Newsroom (2024), “Ontario Welcomes $80 Million Nuclear Manufacturing Investment in Cambridge”, available at: https://news.ontario.ca/en/release/1004463/ontario-welcomes-80-million-nuclear-manufacturing-investment-in-cambridge [Accessed on October 2024].

International Energy Agency (2022), “’France 2030’ Investment Plan”, available at: www.iea.org/policies/14279-france-2030-investment-plan [Accessed on November 2024].

World Nuclear Association (2024), “Nuclear Power in France”, available at: https://world-nuclear.org/information-library/country-profiles/countries-a-f/france#:~:text=In%20March%202023%20France's%20Parliament,2%20PWRs%20at%20three%20sites. [Accessed on November 2024]

Zimmermann, F., & Keles, D. (2023). State or market: Investments in new nuclear power plants in France and their domestic and cross-border effects. Energy Policy, 173, 113403.

Westinghouse Electric Company (2024), “Westinghouse Celebrates Milestone Achievement as AP1000® Technology Powers Plant Vogtle Unit 4 into Commercial Operation”, available at: https://info.westinghousenuclear.com/news/westinghouse-celebrates-milestone-achievement-as-ap1000-technology-powers-plant-vogtle-unit-4-into-commercial-operation [Accessed on November 2024]. The previous reactor to star operation was the unit 2 of Watts Bar that was connected to the greed in 2016. However, its construction dated back to 1973 and was met with over two decades of suspension. See World Nuclear News (2024), “Vogtle 4 Reaches First Criticality”, available at: www.world-nuclear-news.org/Articles/Vogtle-4-reaches-inital-criticality [Accessed on November 2024].

Department of Energy (2024), “Biden-Harris Administration Announces $900 Million to Build and Deploy Next-generation Nuclear Technologies”, available at: www.energy.gov/articles/biden-harris-administration-announces-900-million-build-and-deploy-next-generation-nuclear [Accessed on November 2024] & CBS News (2024), “Amazon and Google have plans for fuelling their data centers: Nuclear Power”, available at: www.cbsnews.com/news/amazon-nuclear-reactor-investment-google-kairos-power/ [Accessed on November 2024].

Gara, A. and Moore, M. (2025), “US government and Westinghouse strike $80bn nuclear reactor deal”, FINANCIAL TIMES, available at: www.ft.com/content/e8a5a61c-f2d2-48d5-ad73-e9e0115cefef?accessToken=zwAGQ9I_qVjAkdPopaYc8tJI1dOtc- (Accessed on November 2025).

Olick, D. (2024), “Amazon goes nuclear, to invest more than $500 million to develop small modular reactors”, CNBC, available at: www.cnbc.com/2024/10/16/amazon-goes-nuclear-investing-more-than-500-million-to-develop-small-module-reactors.html [Accessed on November 2024].

World Nuclear Association (2024), “Nuclear Power in the USA”, available at: https://world-nuclear.org/information-library/country-profiles/countries-t-z/usa-nuclear-power

Johnson, S. & Russo, J. (2024), “China continues rapid growth of nuclear power capacity”, U.S Energy Information Administration, available at: www.eia.gov/todayinenergy/detail.php?id=61927 [Accessed on December 2024] & World Nuclear Association (2024), “Nuclear Power in China”, available at: https://world-nuclear.org/information-library/country-profiles/countries-a-f/china-nuclear-power [Accessed on December 2024]

Ezell, S. (2024), “How Innovative Is China in Nuclear Power?”, Information Technology & Innovation Foundation, available at: https://itif.org/publications/2024/06/17/how-innovative-is-china-in-nuclear-power/ [Accessed on December 2024]

Ibid.

Sharma, P., Roshna, N., Vora M., Kanwar, H. (2024), “Can India show the developing world a unique path to net zero?”, Wood Mackenzie, available at: www.woodmac.com/horizons/india-net-zero-path/ [Accessed on December 2024]. See also D’Souza, S.M. (2024), “India’s Quest for Nuclear Energy: In Pursuit of Clean Energy Goals, Despite Protests”, The Diplomat, available at: https://thediplomat.com/2024/08/indias-quest-for-nuclear-energy-in-pursuit-of-clean-energy-goals-despite-protests/ [Accessed on December 2024].

Ibid. See also India Today (2024), “Budget 2024: India to boost nuclear energy, develop Bharat Small Reactors”, available at: www.indiatoday.in/science/story/budget-2024-india-to-boost-nuclear-energy-develop-bharat-small-reactors-2570578-2024--07-23 [Accessed on December 2024]

Asian Power (2024), “India’s nuclear power capacity doubles in a decade”, available at: https://asian-power.com/news/indias-nuclear-power-capacity-doubles-in-decade [Accessed on December 2024]

World Nuclear News (2024), “Russia’s draft energy plan sets out new nuclear expansion”, available at: https://world-nuclear-news.org/Articles/Russia-s-plans-for-11-new-nuclear-reactor-plants [Accessed on December 2024].

World Nuclear Association (2024), “Nuclear Power in Russia”, available at: https://world-nuclear.org/information-library/country-profiles/countries-o-s/russia-nuclear-power [Accessed on December 2024].

Bellona (2024), “Rosatom’s output dropped over the last year. We look at three reasons why”, available at: https://bellona.org/news/nuclear-issues/2024-03-rosatoms-output-dropped-over-the-last-year-we-look-at-three-reasons-why#:~:text=Abroad%2C%20at%20the%20beginning%20of,%2C%20except%20maybe%201%2D2. [Accessed on December 2024]

Fusion Industry Association, “The Global Fusion Industry in 2023”, United States. 2023. Available online: https://www. fusionindustryassociation.org/wp-content/uploads/2023/07/FIA%E2%80%932023-FINAL.pdf (Accessed on August 2024).

World Nuclear News (2024), “Fusion funding and jobs growing fast, says key industry report”, available at: https://world-nuclear-news.org/Articles/Funding-and-jobs-growing-fast-in-fusion,-says-key [Accessed on August 2024].

Dalton, D. (2024) “Nuclear Fusion / Total Investment Stands At $7.1 Billion, But Funding Seen As Major Challenge”, NUCNET, available at: www.nucnet.org/news/total-investment-stands-at-usd7-1-billion-but-funding-seen-as-major-challenge-7-4-2024 [Accessed on August 2024].

Fusion Industry Association (n.d.), “Congress Provides Record Funding For Fusion Energy”, available at: www.fusionindustryassociation.org/congress-provides-record-funding-for-fusion-energy/ [Accessed on August 2024].

Kelley, A. (2024), “Officials unveiled new steps in the government’s fusion energy growth plan, which emphasizes public-private partnerships and the development of a fusion pilot power plant in the 2040s”, available at: www.nextgov.com/emerging-tech/2024/06/biden-administration-announces-new-investments-fusion-energy/397192/ & Burgan, C. (2024), “DoE Sets $180M Funding to Drive Fusion Energy Development”, MeriTalk, available at: www.meritalk.com/articles/doe-sets-180m-funding-to-drive-fusion-energy-development/ [Accessed on August 2024]

Shaw, A. (2024), “Germany announces nuclear fusion funding programme”, Power Technology, available at: www.power-technology.com/news/germany-announces-nuclear-fusion-funding-programme/ [Accessed on August 2024].

Bowie, A. (2023), “Towards Fusion Energy 2023”, available at: www.gov.uk/government/publications/towards-fusion-energy-the-uk-fusion-strategy [Accessed on November 2024].

World Nuclear Association (2024), “Emerging Nuclear Power Countries”, available at: https://world-nuclear.org/information-library/country-profiles/others/emerging-nuclear-energy-countries [Accessed on November 2024].

World Nuclear Association (2024), “Nuclear Power in Belarus”, available at: https://world-nuclear.org/information-library/country-profiles/countries-a-f/belarus [accessed on November 2024].

World Nuclear Association (2024), “Nuclear Power in the United Arab Emirates”, available at: https://world-nuclear.org/information-library/country-profiles/countries-t-z/united-arab-emirates [Accessed on November 2024].

Zvijac, D. (2017). Risk and Reward in Investment Decisions.

Dracoulis, G. (2012). NUCLEAR ENERGY–RISK AND REWARD. In Catastrophic Complexity. Aon Benfield Australia Ltd. Despite that fact, people are still sceptical when it comes to nuclear energy, even though all the severe accidents have resulted in relatively low consequences.

Olsen, R. A. (1997). Investment risk: The experts' perspective. Financial Analysts Journal, 53(2), 62-66.

Sachse, K., Jungermann, H., & Belting, J. M. (2012). Investment risk–The perspective of individual investors. Journal of Economic Psychology, 33(3), 437-447.

Zvijac, D. (2017), supra note 786.

Takizawa, S., Omori, R., Suzuki, A., & Ono, K. (2001). Analysis of critical electricity price for the investment for constructing a nuclear power plant using real options approach. Journal of nuclear science and technology, 38(10), 907-909.

Ibid.

Ibid.

Fan, Y., & Zhu, L. (2011). The Investment Evaluation of Third-Generation Nuclear Power-From the Perspective of Real Options. NUCLEAR POWER–DEPLOYMENT, OPERATION AND SUSTAINABILITY, 69.

Ibid. See also Brennan, M. J., & Schwartz, E. S. (1985). Evaluating natural resource investments. Journal of business, 135-157.

Fernandes, B., Cunha, J., & Ferreira, P. (2011). The use of real options approach in energy sector investments. Renewable and sustainable energy reviews, 15(9), 4491-4497.

Liu, L., & Cheng, M. (2022). Benefit and risk evaluation of inland nuclear generation investment in Kazakhstan combined with an analytical MGT method. Industrial Management & Data Systems.

Vlcek, T., Jirusek, M., & Henderson, J. (2015). Risk assessment in construction process in nuclear sector within the Central and Eastern Europe. International Journal of Energy Economics and Policy, 5(2), 482-493.

Ibid.

Kessides, I. N. (2010). Nuclear power: Understanding the economic risks and uncertainties. Energy Policy, 38(8), 3849-3864.

Seibert, P., Arnold, D., Mraz, G., Arnold, G., Gufler, K., Kromp-Kolb, H., Kromp, w., Sutter, P. & Wenisch, A. (2012). Severe accidents of nuclear power plants in Europe: possible consequences and mapping of risk. In 4th International Disaster and Risk Conference IDRC, Davos, 26–30 August & Sehgal, B. R. (Ed.). (2011). Nuclear safety in light water reactors: severe accident phenomenology. Academic Press.

The term NIMBY is an acronym that refers to the phrase Not In My Back Yard. See Dai, J., Li, S., Bi, J., & Ma, Z. (2019). The health risk-benefit feasibility of nuclear power development. Journal of Cleaner Production, 224, 198-206.

Whitfield, S. C., Rosa, E. A., Dan, A., & Dietz, T. (2009). The future of nuclear power: Value orientations and risk perception. Risk Analysis: An International Journal, 29(3), 425-437.

Hammond, E. (2015). Nuclear power, risk, and retroactivity. Vand. J. Transnat'l L., 48, 1059.

Kessides, I. N. (2010), supra note 800.

Adler, D. B., Jha, A., & Severnini, E. (2020). Considering the nuclear option: Hidden benefits and social costs of nuclear power in the US since 1970. Resource and Energy Economics, 59, 101127.

Vlcek, T., Jirusek, M., & Henderson, J. (2015). Risk assessment in construction process in nuclear sector within the Central and Eastern Europe. International Journal of Energy Economics and Policy, 5(2), 482-493.

Weinberg, A. M. (2004). On “immortal” nuclear power plants. Technology in Society, 26(2-3), 447-453.

Adler, D. B., Jha, A., & Severnini, E. (2020), supra note 806.

Sadekin, S., Zaman, S., Mahfuz, M., & Sarkar, R. (2019). Nuclear power as foundation of a clean energy future: A review. Energy Procedia, 160, 513-518.

Ibid.

IEA (2025), “The Path to a New Era for Nuclear Energy”, report, available at: www.iea.org/reports/the-path-to-a-new-era-for-nuclear-energy (Accessed on February 2025).

PRIS IAEA. The Power Reactor Information System (PRIS). Available online: https://pris.iaea.org/PRIS/home.aspx (accessed on 8 November 2024), Fernández-Arias, P., Vergara, D., & Orosa, J. A. (2020). A global review of PWR nuclear power plants. Applied Sciences, 10(13), 4434 & Murphy, C. A., Schleifer, A., & Eurek, K. (2021). A taxonomy of systems that combine utility-scale renewable energy and energy storage technologies. Renewable and Sustainable Energy Reviews, 139, 110711.

IEA (2025), “A new era for nuclear energy beckons as projects, policies and investments increase”, available at: www.iea.org/news/a-new-era-for-nuclear-energy-beckons-as-projects-policies-and-investments-increase (Accessed on February 2025).

Amy Ouyang, “A Nuclear Renaissance Around the Corner? (Part I),” Macro Polo, May 16, 2024, https://macropolo.org/analysis/a-nuclear-renaissance-around-the-corner-part-i/ &  “China Makes $31 Billion Nuclear Push With Record Approvals,” Bloomberg, August 19, 2024,https://www.bloomberg.com/news/articles/2024-08-20/china-approves-record-11-new-nuclear-power-reactors.

Kunsch, P. L., & Friesewinkel, J. (2014). Nuclear energy policy in Belgium after Fukushima. Energy policy, 66, 462-474, World Nuclear Association (2025), “Nuclear Power in Belgium”, available at: https://world-nuclear.org/information-library/country-profiles/countries-a-f/belgium (Accessed on April 2025)

Euractiv.it (2025), “Italy to reintroduce nuclear power by 2030”, available at: www.euractiv.com/section/politics/news/italy-to-reintroduce-nuclear-power-by-2030/ (Accessed on April 2025) & Proctor, D. (2025), “Italy Passes Law to Bring Back Nuclear Energy”, POWERMAG, available at: www.powermag.com/italy-passes-law-to-bring-back-nuclear-energy/ (Accessed on April 2025).

World Nuclear Association (2025), “Nuclear Power in Japan”, available at: https://world-nuclear.org/information-library/country-profiles/countries-g-n/japan-nuclear-power (Accessed on April 2025).

Nordhaus, T., & Lloyd, J. (2022). RESURGENCE. FINANCE & DEVELOPMENT.

Shelton, J. (2025), “German Poll: Majority for return to nuclear energy”, available at: www.dw.com/en/german-poll-majority-for-return-to-nuclear-energy/a-72139350 (Accessed on April 2025).

NEA (2022), The Strategic Plan of the Nuclear Energy Agency 2023-2028, OECD Publishing, Paris.

Ibid.

International Atomic Energy Agency (2023), “IAEA Medium Term Strategy 2024-2029”, available at: www.iaea.org/sites/default/files/23/02/mts2024_2029.pdf (Accessed on April 2025).

Ibid.

Ibid.

Nuclear Business Platform (2025), “10 Major Nuclear Energy Developments to Watch in 2025”, available at: www.nuclearbusiness-platform.com/media/insights/10-major-nuclear-energy-developments-to-watch-in-2025 (Accessed on April 2025).

World Nuclear News (2025), “EU funding for French enrichment plant expansion”, available at: www.world-nuclear-news.org/articles/eu-funding-for-french-enrichment-plant-expansion (Accessed on April 2025).

IAEA. (2024). Climate change and nuclear power 2024: Financing nuclear energy in low carbon transitions. International Atomic Energy Agency.

The Global Stocktake constitutes a reference point for Member States of the Paris Agreement, as it enables the observation of the collective progress and the stagnation regarding the goals set forth through the Agreement. See United Nations Climate Change (n.d.), “Global Stocktake”, available at: https://unfccc.int/topics/global-stocktake (Accessed on May 2025).

IAEA (2024), supra note 828.

NEA (2022), supra note 821.

Ibid.

Ibid.

Apostoaei, A. V. (2021). Exploring the Viability of Investment in Small Modular Nuclear Reactors (SMRs): Mitigating Climate Change through Advancements in Energy Generation.

Nordquist, D. (2024), “Embracing an All-of-the-Above Strategy for Energy and Economic Development”, Carnegie Endowment for International Peace, available at: https://carnegieendowment.org/research/2024/10/nuclear-power-united-states-energy?lang=en (Accessed on April 2025).

Gilbert, A., Sovacool, B. K., Johnstone, P., & Stirling, A. (2017). Cost overruns and financial risk in the construction of nuclear power reactors: A critical appraisal. Energy Policy, 102, 644-649.

Platias, A. (2024), “Η γεωπολιτική της πυρηνικής ενέργειας”, POLICY JOURNAL, available at: https://www.academia.edu/123975645/Η_Γεωπολιτική_της_Πυρηνικής_Ενέργειας_Υπάρχουν_προϋποθέσεις_για_πυρηνική_αναγέννηση_ (Accessed on November 2025).

Black, G., Shropshire, D., Araújo, K., & van Heek, A. (2023). Prospects for nuclear microreactors: a review of the technology, economics, and regulatory considerations. Nuclear Technology, 209(sup1), S1-S20.

Gamkrelidze, N. & Covatariou, A. (2024), “Why COP-29 Proved Nuclear Energy is Essential for a Green Future”, Belfer Center for Science and International Affairs, Harvard Kennedy School, available at: www.belfercenter.org/research-analysis/why-cop-29-proved-nuclear-energy-essential-green-future#in-this-section-nav-3 (Accessed on May 2025).

Lamouroux, C. L. (2024), “Facing the Nuclear Waste Challenge: Strategies for Effective Management”, available at: www.nuclearsolutions.veolia.com/sites/g/files/dvc2436/files/document/2024/07/CLLREESEEJune2024.pdf (Accessed on April 2025).

Platias, A. (2024), supra note 837.

Muellner, N., Arnold, N., Gufler, K., Kromp, W., Renneberg, W., & Liebert, W. (2021). Nuclear energy-The solution to climate change?. Energy Policy, 155, 112363.

Ibid.

Dath, C. A., Niane, A., Ndao, A. S., & Faye, N. A. B. (2018). Challenges and Opportunities of Small Uranium Mines in the SMR Development Era.

European Parliament (2023), “Nuclear Energy in the European Union”, Briefing, available at: www.europarl.europa.eu/RegData/etudes/BRIE/2023/751456/EPRS_BRI(2023)751456_EN.pdf (Accessed on April 2025).

IAEA (2009), Policies and Strategies for Radioactive Waste Management; IAEA Nuclear Energy Series, NW-G-1.1; IAEA: Vienna, Austria, 68p, Available online: http://www.pub.iaea.org/MTCD/publications/PDF/Pub1396_web.pdf (accessed on 19 September 2022).

Fernández-Arias, P., Vergara, D., & Antón-Sancho, Á. (2023). Global Review of International Nuclear Waste Management. Energies, 16(17), 6215.

World Nuclear Association (2022), “Radioactive Waste – Myths and Realities”, https://world-nuclear.org/information-library/nuclear-fuel-cycle/nuclear-wastes/radioactive-wastes-myths-and-realities.aspx (Accessed October 2023)

Ojovan, M. I. (2023). Nuclear waste disposal. Encyclopedia, 3(2), 419-429.

Yüksel, S., Mikhaylov, A., & Ubay, G. G. (2021). Factors causing delay in the installation of nuclear power plants. Strategic Approaches to Energy Management: Current Trends in Energy Economics and Green Investment, 75-88 & Lamouroux, C. L. (2024), supra note 840.

Rao, K. R. (2001), Radioactive waste: The problem and its management. Current Science, 81(12), 1534-1546.

Fernández-Arias, P., Lampropoulos, G., Antón-Sancho, Á., & Vergara, D. (2024). Progress, Challenges, and Sustainable Perspectives in Nuclear Energy Strategies. Applied Sciences, 14(24), 11864.

Fernández-Arias, P., Vergara, D., & Antón-Sancho, Á. (2023). Bibliometric review and technical summary of PWR small modular reactors. Energies, 16(13), 5168.

Golay, M. W. (2000). Improved nuclear power plant operations and safety through performance-based safety regulation. Journal of hazardous materials, 71(1-3), 219-237, Trampus, P. (2019). Role and importance of NDE in nuclear power plant life extension. Procedia Structural Integrity, 16, 161-168 & Arel, H. Ş., Aydin, E., & Kore, S. D. (2017). Ageing management and life extension of concrete in nuclear power plants. Powder Technology, 321, 390-408.

Ho, S. S., Looi, J., Chuah, A. S., Leong, A. D., & Pang, N. (2018). “I can live with nuclear energy if…”: exploring public perceptions of nuclear energy in Singapore. Energy Policy, 120, 436-447 & Dittmar, M. (2012). Nuclear energy: Status and future limitations. Energy, 37(1), 35-40.

Mondal, K., Martinez, O., & Jain, P. (2024). Advanced manufacturing and digital twin technology for nuclear energy. Frontiers in Energy Research, 12, 1339836, Blevins, J., & Yang, G. (2020). Machine learning enabled advanced manufacturing in nuclear engineering applications. Nuclear Engineering and Design, 367, 110817, Kelly, J. E. (2014). Generation IV International Forum: A decade of progress through international cooperation. Progress in Nuclear Energy, 77, 240-246 & Jewell, J., Vetier, M., & Garcia-Cabrera, D. (2019). The international technological nuclear cooperation landscape: A new dataset and network analysis. Energy Policy, 128, 838-852.

Muellner, N. et al. (2021), supra note 842, Dehner, G., McBeth, M. K., Moss, R., & van Woerden, I. (2023). A zero-carbon nuclear energy future? Lessons learned from perceptions of climate change and nuclear waste. Energies, 16(4), 2025 & Nasouri, M., & Delgarm, N. (2022). Bushehr Nuclear Power Plants (BNPPs) and the perspective of sustainable energy development in Iran. Progress in Nuclear Energy, 147, 104179.

Yoon, J. (2025), “What if the AI race isn’t about chips at all?”, FINANCIAL TIMES https://www.ft.com/content/e4c9ac58-d64e-487a-b06d-e71be47f31c9?accessToken=zwAGQ9I-0Dq4kdPkyaxY1k5IetOwbecb5H8xyQ.MEQCIBL1KwNO8uUb_tCYbM4mr13VWe7njdcDAAPUWv4mo7M3AiBzeCOdp1svyWklCWi1WdTn-5GwLgT2OznU0zbaTb8gzQ&sharetype=gift&token=353dc532-1cc1-40e7-ac97-182cb57f0b21 (Accessed on November 2025).

Bistline, J., James, R., & Sowder, A. (2019). Technology, policy, and market drivers of (and barriers to) advanced nuclear reactor deployment in the United States after 2030. Nuclear technology, 205(8), 1075-1094.

Morgan, M. G., Abdulla, A., Ford, M. J., & Rath, M. (2018). US nuclear power: The vanishing low-carbon wedge. Proceedings of the National Academy of Sciences, 115(28), 7184-7189.

Markard, J., Bento, N., Kittner, N., & Nuñez-Jimenez, A. (2020). Destined for decline? Examining nuclear energy from a technological innovation systems perspective. Energy Research & Social Science, 67, 101512.

Ibid.

Woo, J., Lim, S., Lee, Y. G., & Huh, S. Y. (2018). Financial feasibility and social acceptance for reducing nuclear power plants: A contingent valuation study. Sustainability, 10(11), 3833.

Ibid.

Ibid.

Donovan, J. (2023), “Nuclear Energy Makes History as Final COP28 Agreement Calls for Faster Deployment”, IAEA, available at: www.iaea.org/newscenter/news/nuclear-energy-makes-history-as-final-cop28-agreement-calls-for-faster-deployment (Accessed on May 2025).

Gamkrelidze, N. & Covatariou, A. (2024), supra note 839.

Muir, M. (2025), supra note 629.

Gamkrelidze, N. & Covatariou, A. (2024), supra note 839.

Ho, M., Obbard, E., Burr, P. A., & Yeoh, G. (2019), supra note 286.

Ibid.

Terlikowski, P., Paska, J., Pawlak, K., Kaliński, J., & Urbanek, D. (2019). Modern financial models of nuclear power plants. Progress in Nuclear Energy, 110, 30-33.

Ibid.